EN

EN

EUROPEAN COMMISSION Strasbourg, 5.4.2022
SWD(2022) 96 final PART 2/2

COMMISSION STAFF WORKING DOCUMENT

IMPACT ASSESSMENT REPORT

Accompanying the document Proposal for a
REGULATION OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL on fluorinated greenhouse gases, amending Directive (EU) 2019/1937 and repealing Regulation (EU) No 517/2014

{COM(2022) 150 final} - {SEC(2022) 156 final} - {SWD(2022) 95 final} - {SWD(2022) 97 final}

EN

EN

117 A5 Evaluation of Regulation (EU) No 517/2014 A5.1 Introduction A5.1.1 Purpose and scope This evaluation assesses if Regulation (EU) No 517/2014 on fluorinated greenhouse gases (hereafter: the Regulation)151 is fit for purpose by examining its effectiveness, efficiency, coherence, relevance and EU added value. The assessment covers the period of application from 2015 to today (i.e. until most recent available data) and the geographic scope is the EU-28 (including UK). The Commission has reviewed the Regulation due to the new climate objectives under the European Green Deal as well as in order to better tackle some implementation challenges notably related to illegal imports. In addition, it is also necessary to ensure that the Regulation can safeguard EU compliance with new international obligations under the Montreal Protocol on substances that deplete the ozone layer (hereafter: the Montreal Protocol). This evaluation also responds to Article 21(2) of the Regulation that requires the Commission to publish a comprehensive report on its effects no later than 31 December 2022, including in particular:  A forecast of the continued demand for hydrofluorocarbons (HFCs152) up to and beyond 2030;  An assessment of the need for further action by the Union and its Member States in light of existing and new international commitments regarding the reduction of fluorinated gas emissions;  An overview of European and international standards, national safety legislation and building codes in Member States in relation to the transition to alternative refrigerants;

151 Including its implementing act: Commission Implementing Regulation (EU) 2019/661 of 25 April 2019; Commission Implementing Regulation (EU) 2016/879 of 2 June 2016; Commission Implementing Regulation (EU) 2015/2068 of 17 November 2015; Commission Implementing Regulation (EU) 2015/2067 of 17 November 2015; Commission Implementing Regulation (EU) 2015/2066 of 17 November 2015; Commission Implementing Regulation (EU) 2015/2065 of 17 November 2015; Commission Implementing Regulation (EU) No 1191/2014 of 30 October 2014 amended by Commission Implementing Regulation (EU) 2017/1375 of 25 July 2017, Commission Implementing Regulation (EU) 2018/1992 of 14 December 2018 and Commission Implementing Regulation (EU) 2019/522 of 27 March 2019; Commission Regulation (EC) No 304/2008 of 2 April 2008; Commission Regulation (EC) No 306/2008 of 2 April 2008; Commission Regulation (EC) No 307/2008 of 2 April 2008; Commission Regulation (EC) No 1497/2007 of 18 December 2007; Commission Regulation (EC) No 1497/2007 of 18 December 2007; Commission Regulation (EC) No 1516/2007 of 19 December 2007 152 HFCs (hydrofluorocarbons) are the most common type of fluorinated greenhouse gases, used in particular in cooling appliances (i.e. refrigeration, air conditioning including heat pumps)

118  A review of the availability of technically feasible and cost-effective alternatives to products and equipment containing fluorinated greenhouse gases for products and equipment not listed in Annex III, taking into account energy efficiency.
The results of this evaluation feed into the impact assessment of the future Regulation. The evaluation and impact assessment have been undertaken “back-to-back”, with a joint stakeholder consultation process.
A5.2 Background to the intervention A5.2.1 Description of the intervention and its objectives A5.2.1.1 The problem Fluorinated greenhouse gases (F-gases) are man-made synthetic substances that include hydrofluorocarbons (HFCs), perfluorocarbons (PFCs), sulphur hexafluoride (SF6) and other fluorinated compounds. They are produced for use in certain products and equipment, e.g. for refrigeration and air conditioning (AC: including heat pumps153) equipment, insulation foams, aerosol sprays, fire protection equipment, electricity transmission and can also be used as solvents. All F-gases contribute to climate change as they often have very high global warming potentials (GWP154) once emitted into the atmosphere. The most commonly used F-gases have a warming effect (“climate forcing”) that is several thousand times higher than that of CO2. To be able to compare F-gas emissions with other greenhouse gas emissions, quantities of F-gases are mostly expressed in terms of the impact they would have after 100 years if they were CO2 emissions. Thus F-gas emissions can be expressed in both tonnes of CO2 equivalent (tCO2e) and their weight in metric tonnes (t).
Emissions can occur at various stages e.g. when F-gases are being produced by the chemical industry, transported, stored, filled into (products and) equipment or when they leak during the lifetime or decommissioning of (products and) equipment. Some uses are also outright emissive in nature, e.g. aerosol sprays and solvents.
Production and consumption of F-gases, specifically HFCs, increased considerably from 1990 because they were widely employed as substitutes for ozone depleting substances (ODS), which needed to be phased out globally under the Montreal Protocol to protect the ozone layer. As a result, the emissions of F-gases in the EU almost doubled from 1990 to 2014 – in contrast to emissions of all other greenhouse gases, which decreased. However, today there are suitable alternatives to the use of F-gases with a very low climate impact in most sectors and applications. These include the so-called natural alternatives such as hydrocarbons (e.g. propane, butane, cyclopentane), ammonia, CO2 or water. There are also synthetic alternatives such as the hydro(chloro)fluoroolefins

153 In general when air conditioning (AC) is mentioned it should be understood as including heat pumps. 154 GWP is a metric for determining the relative contribution of a substance to climate warming. The GWP of a substance is set relative to the warming effect of CO2 (GWP=1) over a timeframe of 100 years

119 (hereafter H(C)FOs)155. These are often blended with HFCs in order to lower the overall GWP of the mixture.
A5.2.1.2 The international context The impact of the F-gas Regulation is relevant for international obligations under both the Paris Agreement on Climate Change and the Montreal Protocol.
The most common F-gas emissions are monitored by the United Nations Framework Convention on Climate Change (UNFCCC) and the Paris Agreement under which the EU must report on the status of the reduction commitments made and on legislative efforts to achieve greenhouse gas (GHG) emission reductions. The EU’s mechanism for monitoring and reporting the different types of greenhouse gas emissions is laid down in Regulation (EU) No 525/2013 (“Monitoring Mechanism Regulation”, MMR).156
Due to rising HFC emissions Parties to the Montreal Protocol decided in 2016 to implement a global HFC phase-down which will reduce HFC production and consumption by more than 80 % over the next 30 years (Kigali Amendment). This implies that each Party must comply with an HFC consumption and production reduction schedule as well as licensing import/export and reporting on HFCs. It is estimated that The Kigali Amendment alone will save up to 0.4°C of additional warming by the end of the century and thus contribute significantly to the Paris Agreement goal to stay well below 2°C warming of the climate and pursue efforts to limit it to 1.5°C.
A5.2.1.3 EU legislation on fluorinated greenhouse gases The EU’s first legislation aiming at reducing F-gas use and emissions predates the Kigali Amendment by a decade and established the EU as a frontrunner in this policy area. The 2006 F-gas Regulation157 focused to a large degree on containment or “better management” of F-gases, i.e. avoiding that emissions occur during use of products and equipment and at their end of life. This was reflected in e.g. provisions on certification and training of technicians dealing with F-gases, leakage checking of equipment, company record keeping and F-gas recovery requirements at end of life, labelling of F- gas containers and equipment as well as company reporting. The only major sector addressed by a use prohibition in 2006 was the automobile sector (passenger cars), which is regulated separately by Directive 2006/40 /EC (“MAC Directive”) and not subject to this evaluation158.
The current F-gas Regulation came into force in 2015. It introduced an EU HFC phase-down and has a significantly higher level of ambition than the 2006 Regulation. It was specifically designed to ‘make a significant contribution to reducing

155 H(C)FOs, which chemically are unsaturated H(C)FCs meaning there is an double bond in the molecule making them more prone to degradation, break down rapidly in the atmosphere which lowers their warming effect as compared to HFCs 156 Regulation (EU) No 525/2013 accessible under https://eur-lex.europa.eu/legal- content/EN/TXT/?uri=CELEX:32013R0525
157 Regulation (EC) No 842/2006 158 Prohibiting the use of HFCs with a GWP > 150 in air conditioning of new passenger cars type approved after 2011 and all new passenger cars after 2017 regardless of type approval date.

120 GHG emissions in the EU’ by 80 to 95% in 2050 compared to 1990 levels though the following specific objectives:
 Discouraging the use of F-gases with high GWP in the EU where suitable alternatives exist;  Encouraging the use of alternative substances or technologies when they result in lower GHG emissions without compromising safety, functionality and energy efficiency, and achieving higher market shares for these technologies;  Preventing leakage from equipment and proper end-of-life treatment of F-gases in applications;  Facilitating convergence towards a potential future agreement to phase down HFCs under the Montreal Protocol;  Enhancing sustainable growth, stimulating innovation and developing green technologies by improving market opportunities for alternative technologies and gases with low GWP. To ensure a proportionate contribution to the (outdated) climate targets, policy measures that could reduce emissions at abatement costs of less than 50 € per tCO2e abated were included, as this was the cost threshold considered economy wide in the Low Carbon Roadmap for 2050159 at that time (2011). Modelling showed that the selected measures would result in a reduction of 60% in 2030 compared to 2005, meaning F-gas emissions should decrease by 70 MtCO2e to ca. 35 MtCO2e. Care was also taken to limit undesirable effects on SMEs and employment, the administrative burden for companies and authorities and to preserve the competition in the internal market to the extent possible.
New measures set out in the Regulation included a measure that is gradually reducing the amount (in tCO2e) of HFCs that importers and producers may place on the market every year (“EU HFC phase-down”), and a number of placing on the market bans for products and equipment with F-gases in sectors where alternatives are available. All measures from 2006 were retained and some were slightly extended.
The “HFC phase-down” is implemented through annual quotas to importers and producers of HFCs. The total amount of quota is reduced in 3-yearly steps from 2015 to 2030 and will end up at 21% of the starting point. However, gases used for certain special purposes are not subject to the quota system.160 Furthermore, since 2017 manufacturers and importers of cooling equipment filled with HFCs, must ensure that the amount of HFCs is accounted for under the quota system. To do so equipment importers can e.g. obtain an equivalent amount of authorisations from a quota holder to use his quota. The scarcity of HFC supply results in higher HFC prices, which in turn promotes:

159 COM (2011) 112 A Roadmap for moving to a competitive low carbon economy in 2050 160 Exemptions exist for imports for destruction, for feedstock use in producing other chemicals, for re-export of bulk gases, for the use in metered dose inhalers (MDIs, e.g. asthma sprays), for use in the semiconductor industry and for use in military applications.

121 a shift towards climate-friendly alternatives, better leakage prevention to avoid refilling with the expensive gases as well as increased recycling/reclamation of HFCs. The intervention logic (Figure 15) illustrates the causality of the Regulation in delivering expected results and impacts, by linking them to objectives, actions, and outputs. The intervention logic starts from the needs that the Regulation is intended to address and its general objective (to ‘make a significant contribution to reducing GHG emissions in the EU’ by 80 to 95% in 2050 compared to 1990) and specific and operational objectives. Inputs from various actors and a range of activities are leading to a number of outputs, e.g. a functioning quota system, licensing, labelling, leakage prevention and recovery, training and certification of service personnel. These outputs are expected to deliver the effects (e.g. emission reduction and increased use of alternatives) and impacts (e.g.  climate targets and green growth).

Figure 15. Logical framework of the Regulation External factors may also influence the delivery of the stated objectives. Such factors include: other regulatory frameworks (both internationally or at EU/national level); wider changes in the global F-gas market, both on the demand and supply side, including the way in which equipment and substances are traded (e.g. a growing online market); R&D on climate-friendly technologies in other markets; broader stakeholder interests and wider public concerns (including political pressure linked to climate change). Since the Regulation was adopted pursuant to Article 192 (1) of the Treaty on the Functioning of the European Union (TFEU), it does not prevent EU Member States from maintaining or introducing more stringent measures that are compatible with the TFEU, provided the Member State notifies the EU Commission of any such measures.

122 A5.3 Baseline and points of comparison (“Counterfactual scenario”)
To determine the effects of the Regulation, the baseline scenario (current Regulation in place) is compared to the counterfactual scenario (old rules preceding the Regulation). The counterfactual scenario takes into account the previous (2006) F-gas Regulation and the (2007) MAC Directive (the latter covering F-gas use in passenger cars). The previous Regulation included comprehensive measures on containment and recovery, which reduce losses of F-gases from products and equipment, both during the use phase of the equipment and its end-of-life, in particular for cooling equipment in the sectors of refrigeration and stationary air conditioning. In addition, it is expected that new equipment would be less leaky due to better technologies and that equipment lifetime emission rates would be declining. On the other hand there would be only limited reduction in HFC use (new demand) and related future emissions because the measures having this aim were rather limited in scope161.
Future F-gas demand and emissions are also influenced by external factors such as population growth, economic and technical developments and lifestyle changes (e.g.  increased use of comfort cooling and heating as well as a shift towards heat pumps). A positive correlation between population size and F-gas use is generally assumed. However, for some subsectors, the demand is assumed to reach a point of saturation that is defined by a maximum number of units per person. For example, for passenger cars, the model assumes that the density of cars, and thus mobile air conditioning units, will not exceed 75 % of the population of a given country. These external factors affect the counterfactual and the baseline in similar ways. In the counterfactual scenario, the overall F-gas demand in the years from 2015 (i.e. from when the Regulation was in force)162 would have increased by 4% in metric tonnes, but would have decreased by about 5% in CO2e (

161 E.g. use in windows, shoes, tyres, one-component foams, aerosol generators for entertainment purposes, non-refillable containers, direct evaporation systems, fire protection with PFCs; as well as use in larger installations of magnesium die-casting 162 It is useful to look at the counterfactual from 2010 to see when differences to the baseline scenario start appearing. As many of the envisaged changes, albeit not the detail, became known already from the time of the Commission proposal in 2012, some market players may have already reacted before 2015 to these early signals. This is actually confirmed by a comparison with the baseline where (very) small differences in demand already appear in 2013/2014 (see Annex A11.1.2)

123 Table 21). This difference between metric vs. CO2e indicates a slight tendency towards an increased use of lower GWP gases. F-gas emissions, which often occur years later after being charged into the equipment163, would still increase slightly in the same period, from 123 to 126 MtCO2e. The composition of the various F-gases is shown in Figure 16. Hence, the high quantities of HFCs (and other F-gases) emitted would have continued mostly unabated without the current Regulation.

163 As a result, demand reductions do not quickly translate into emission reductions. There is a significant “lag time” of several years

124 Table 22: Yearly sums of the modelled demand and emissions of F-gases in the counterfactual scenario between 2010 and 2019 for the EU Counterfactual scenario F-gas demand F-gas emissions Year Kt Mt CO2 eq kt Mt CO2 eq 2010 89 221 55 119 2011 91 224 57 121 2012 91 227 57 122 2013 89 216 58 122 2014 89 208 59 123 2015 90 213 60 123 2016 91 214 61 125 2017 92 203 62 127 2018 92 198 63 126 2019 93 198 63 126 Sum (2014 to 2019) 548 1,233 368 750 Source: AnaFgas modelling

Figure 16: Modelled demand and emissions of F-gases by gas/gas group in the counterfactual scenario between 2010 and 2019 for the EU Source: AnaFgas modelling

125 A5.4 Implementation / State of Play A5.4.1 Description of the current situation
A5.4.1.1 Affected stakeholders The F-gas policy affects a diverse group of stakeholders in different ways, e.g.:  Producers and importers of F-gases: Primarily affected by the HFC phase-down quota mechanism and related provisions including requirements on registration as well as import/export licensing, annual reporting, sectoral prohibitions and labelling of F-gas containers.  Exporters of F-gases: Compliance with licence need for export (registration requirement) and annual reporting requirements.
 Bulk gas distributors: Affected by labelling requirements and sectoral prohibitions.  Manufacturers and importers of products and equipment: Primarily affected by quota system and documenting compliance (“declaration of conformity”) for import as well as placing on the market restrictions for new equipment, labelling and annual requirements for reporting.  Operators of equipment: Must ensure compliance with requirements on containment (i.e. leakage checks and repair, end-of-life) and engagement of certified service technicians for the installation, servicing, maintenance, repair and decommissioning of the equipment and the recovery of F-gases, keeping of records and sectoral prohibitions.  Service technicians/companies: Affected by provisions on containment (i.e.  leakage checks and repair) and certification needs that includes training and an evaluation process in order to carry out installation, servicing, maintenance or repair of the equipment containing or relying on F-gases.  Feedstock users: Must comply with the reporting requirements. Feedstock use164 is not part of the HFC phase-down but losses need to be minimised (Article 7(1) and evidence needs to be provided that trifluoromethane (HFC-23) generated as a by-product is destroyed or recovered for further use (Article 7(2)) (and not emitted).  Reclamation & destruction facilities: Need to comply with reporting requirements, but reclaimed quantities of F-gases are not covered by the HFC phase-down scheme.  Training providers & certification bodies: Need to offer training and evaluation/certification processes in line with the minimum requirements set by the relevant implementing acts and the national programmes set up on this basis.

164 Feedstock use means the use of a chemical substance in chemical production processes where the substance is entirely used up to synthesise other substances

126 A5.4.1.2 EU supply of F-gases Supply of F-gases to the EU market165 is likely to result in future emissions when gases leak from equipment during their use or at the end of useful life of the equipment. In climate terms, supply was relatively stable until 2017, at quantities above 200 MtCO2e (Figure 17). The year 2014 was exceptional as it was characterised by very large imports and stock building of HFCs in preparation for the EU phase-down that began in 2015. The supply of F-gases decreased drastically in the years 2018 (27% reduction from 2017) and once again in 2019 (42% reduction from 2017). The relative contribution of the other F-gases (i.e. PFCs, SF6, NF3 and other gases listed in Annex II) to supply therefore rose to 24% in 2020, from levels of 15% in 2015 (in tCO2e). Among the Annex II gases, the supply in tonnes of H(C)FOs (unsaturated HFCs and HCFCs) has increased significantly since 2017, but in terms of climate impact they amounted to less than 0.1 MtCO2e per year due to their low GWP.

Figure 17. EU supply of F-gases Note: From 2007 to 2013, only HFCs, PFCs and SF6 had to be reported on and imports in products and equipment (ca. 11%) were not included. Source: [EEA 2021 F-gases reporting data] A5.4.1.3 Intended use of F-gases The most common F-gases are HFCs used in RAC equipment (about two-thirds of F- gases in climate terms). Electrical equipment (SF6), electronics manufacture (HFC-23,

165 “Supply” is a parameter calculated on the basis of available data on imports, stocks, production etc. that indicates the actual use of F-gases by EU industry. It includes gases imported in products in equipment as well as those exported in products and equipment. It is similar to the “demand” derived from modelling, which is however based rather on the yearly gas “requirements” of filling new and old equipment. “Demand” also does not include gases filled into exported equipment.

127 PFCs, SF6, NF3) and use as aerosol sprays (including MDIs: HFCs) make up most of the remainder of F-gas usage, see Figure 18.

Figure 18: Intended uses of the total EU supply of F-gases in 2019 (in CO2e) Source: [EEA 2020 public report] A5.4.1.4 EU emissions of F-gases From 2004 until 2014, F-gas emissions had been increasing year-on-year. Since then, emissions have started to fall, in particular those related to HFCs (which represent ca. 85% of total F-gas emissions), while PFCs and SF6 emissions appear to have remained relatively stable in recent years, see Figure 19.

Figure 19: F-gas emissions in the EU-28 by substance group
Source: AnaFgas modelling (2021) A5.4.2 State of Implementation A5.4.2.1 Implementation at EU level of the HFC phase-down and reporting The Commission implements the HFC phase-down at EU level. The quotas are based on a formula that ensures that the annual quantity of quota is reduced in accordance with the phase-down schedule and it takes into account three elements: 0 20 40 60 80 100 120 140 2005 2006 2007 2008 2009 2010 2011 2012 2013 2014 2015 2016 2017 2018 Emissions in Mt CO2 eq HFCs PFCs SF6 NF3 Unspecified mix of HFCs and PFCs

128  An individual reference value (incumbent companies only). The Commission must establish new reference values for companies every 3 years, which means that new entrants are gradually becoming incumbents.
 A pro-rata quota share to new entrants and incumbents (from 2018) that have declared that they need (more) quota from a reserve. The Commission invites incumbents and new entrants every year to declare if they need quota from the reserve. The share of the total quota allocated from the reserve started out at 11%. The more declarations there are, the lower the individual quota.  In case a company has exceeded its quota in a given year, the Commission imposes a penalty corresponding to a reduction in quota of 2 times the exceedance for that company the next year(s). The phase-down steps are expressed in declining percentages of a maximum amount that partly depends on what happened in previous years. Thus the total quota amount cannot be precisely predicted years in advance.
The Commission calculates and allocates annual quotas to HFC bulk importers and producers for free by uploading the quotas in the F-gas Portal and Licensing system (the Registry). This Registry is open 24-7 and complemented by manuals and a help desk that is answering thousands of requests every year. The Registry includes: - Registrations of importers, producers and exporters of bulk HFCs. The Registry includes their trade licence and keeps track of their annual quota, their authorisations given to equipment importers and potential quota exceedances (ex post).
- Registrations of HFC equipment importers. It keeps track of their acquired authorisations to use quota and includes a delegation module for equipment importers that allows them to pool their authorisations and a function to find quota holders that may wish to authorise (part of) their quota (match making). - Registrations of all companies that have reporting obligations. The annual company reporting data is collected and stored in the European Environment Agency’s (EEA) Business Data Repository (BDR). Reporters can find an auditor carrying out independent verification of the yearly (bulk and equipment) reports.
- Member States competent authorities and custom have access to the Registry. Figure 20 shows the amount of quota allocated each year (blue dot) and the way the quota was used by HFC producers and importers to either place bulk HFCs on the market (green) or to authorise an equipment importer to use the quota (purple). While some quota holders exceeded their quota, the total allowable quota ceiling was respected in all years.

129

Figure 20: Placing on the market (POM) of HFCs in the EU Source: EEA, Annual report on fluorinated greenhouse gases 2020 There are, however, some issues relating to the implementation of the phase-down which are outlined in the effectiveness section (A5.6.1). A5.4.2.2 Implementation at MS level The Member States are in general responsible for enforcing all measures of the Regulation, which includes custom controls and market surveillance and setting effective, proportionate and dissuasive penalties. Italy and Romania received a formal notice in July 2019 for failing to establish and notify national penalties as required by 1 July 2017. In response, the two notifications were received in late 2019 and early 2020, respectively. Since HFC prices are high in the EU (due to the phase-down), it is rather profitable to circumvent the quota system and penalties for illegal imports must be relatively high to be dissuasive. Industry and an NGO are questioning the dissuasiveness of penalties in some Member States. The Commission has reminded Member States repeatedly of the need to continue to reassess their penalties in the light of EU HFC price developments and the Commission opened an EU pilot in October 2021 for Romania due to the perceived insufficiency of penalties on quota non-compliance.
Industry and an NGO are also concerned about the different levels and/or insufficiency of controls at customs or market surveillance level. Authorities on the other hand pointed to a lack of clarity of the rules that complicated putting in place efficient controls. To increase clarity, best practice guidelines for enforcing F-gas rules at customs were developed in 2020 by a group of Member States under the Customs 2020 programme.
0 50 100 150 200 250 300 POM of HFCs (Mt CO2 eq) Bulk HFC POM 2007-2013 Quota-relevant bulk HFC POM Issued authorisations to use quota Maximum quantity of HFC phase-down

130 Member States updated their relevant training, attestation and certification bodies for technical personnel. Such programmes already existed as a result of the previous Regulation and needed only to be marginally extended in scope, e.g. to include refrigerated trucks and trailers and information about alternatives to F-gases.
A requirement to collect emissions data is done in different ways by Member States. Some rely on inventories and expert studies and some have established equipment registers. Member States are not (yet) commonly using those data for their UNFCCC reporting.
Member States are also encouraged by the Regulation to develop producer responsibility schemes for the recovery, recycling, reclamation and destruction of HFCs. There are a number of schemes in place to support HFC recovery at end of life, including take-back schemes (DK, FR, NL), deposit-refund schemes (DK), or refrigerant tax rebates (ES). Further schemes are planned by EE and MT. Where these schemes have been implemented, they are generally considered to be working well by stakeholders, but direct data on their performance is lacking. Some producers felt these schemes create the risk of free-riders. There are also voluntary take-back schemes organised by industry on SF6 equipment (e.g. DE, ES). Some Member States have implemented additional measures such as tax schemes (e.g.  DK, ES, FR), additional requirements for F-gas related customs controls (e.g. EE) or leakage checks (e.g. FI, PO, SE), additional national reporting requirements and databases (e.g. CZ, EE, HU, IT, PL), better control over the distribution chain of HFCs (DE) or measures to support the market uptake of low GWP alternatives (e.g. FI, DE, SE), and voluntary agreements on SF6 (DE, ES). A5.5 Methodology A5.5.1 Short description
The work was supported by an external study and work by external experts carried out between April 2020 and October 2021 (Oeko-Recherche et al., 2021166).
Eleven evaluation questions were developed to guide the analytical work on the five evaluation criteria. The questions and a detailed evaluation matrix that includes sub- questions, assessment criteria, indicators and data analysis approach as well as sources and collection methods are given at the end of this annex (A5.8).
An extensive literature review was conducted to inform the assessment based on the evaluation criteria. It involved an in-depth review of a range of sources, including current or previous work being undertaken by project partners; from reports and other evidence at pan-European level and national level studies, scientific articles, position papers, meeting proceedings and legal texts. In total, over one hundred literature sources have been reviewed in detail, providing evidence related to all of the evaluation criteria.

166 Support contract for an Evaluation and Impact assessment for amending Regulation (EU) No 517/2014 on fluorinated greenhouse gases (CLIMA.A2/ETU/2019/0016): Evaluation Final Report)

131 The technical input from a series of Commission reports, required by Article 21 of the Regulation, were also taken into account.167
Another important source for this evaluation is the annual company reporting data related to production, imports (including equipment), exports, destruction, and feedstock use of F-gases. These data are compiled and comprehensively analysed in annual reports produced by the EEA.168
A5.5.2 Modelling to derive baseline and counterfactual scenario In order to quantify the effect of the Regulation, a bottom-up stock model at sub-sectoral basis was set up to calculate yearly demand and emissions of F-gases in metric tonnes and CO2e for all relevant sectors and sub-sectors. The model is based on the AnaFgas (abbreviation for ‘Analysis of Fluorinated greenhouse gases in the EU’) model described in Schwarz et al. (2011)169, but was updated with the most recent data available in the course of this work. In the following, AnaFgas refers to the updated model used for this evaluation. A detailed description of the model can be found in Annex A4. Demand is defined as quantities of gas required for first filling of new equipment and re- filling of existing equipment in a given year.
Emissions are defined as quantities being released from existing equipment (lifetime emissions) and emissions at end-of-life (disposal emissions), as well as manufacturing, by-product and fugitive emissions from the production of halocarbons, semiconductors and aluminium. The AnaFgas model assumes specific emission factors for the different sectors and sub-sectors, as well as scenarios. A full list of parameters used to identify these emissions can be found in the external study.

167 REPORT FROM THE COMMISSION on barriers posed by codes, standards and legislation to using climate-friendly technologies in the refrigeration, air conditioning, heat pumps and foam sectors, COM/2016/0749 final (https://eur-lex.europa.eu/legal- content/EN/TXT/?uri=CELEX:52016DC0749); REPORT FROM THE COMMISSION of assessing the 2022 requirement to avoid highly global warming Hydrofluorocarbons in some commercial refrigeration systems, C(2017) 5230 final (https://ec.europa.eu/clima/sites/default/files/f- gas/legislation/docs/c_2017_5230_en.pdf);

REPORT FROM THE COMMISSION assessing the quota allocation method in accordance with Regulation (EU) No 517/2014, COM(2017) 377 final (https://ec.europa.eu/clima/sites/default/files/f-gas/legislation/docs/com_2017_377_en.pdf);

REPORT FROM THE COMMISSION on the availability of refrigerants for new split air conditioning systems that can replace fluorinated greenhouse gases or result in a lower climate impact, C(2020) 6637 final (https://ec.europa.eu/clima/sites/clima/files/news/docs/c_2020_6637_en.pdf);

REPORT FROM THE COMMISSION assessing the availability of alternatives to fluorinated greenhouse gases in switchgear and related equipment, including medium-voltage secondary switchgear, C(2020) 6635 final (https://ec.europa.eu/clima/sites/clima/files/news/docs/c_2020_6635_en.pdf); and

REPORT FROM THE COMMISSION on the availability of hydrofluorocarbons on the Union market, C(2020) 8842 final (https://ec.europa.eu/clima/sites/clima/files/f- gas/docs/20201216_c_2020_8842_en.pdf) 168 https://www.eea.europa.eu/publications/fluorinated-greenhouse-gases-2020
169 https://ec.europa.eu/clima/sites/default/files/f-gas/docs/2011_study_en.pdf

132 The baseline and counterfactual scenarios were calculated for the period from 2010 to 2019. This is useful to cover the period before any changes could take an effect and discover when a discrepancy is first discovered170. The counterfactual scenario is an update of the “with measures” (WM) scenario from the preparatory study for a review of Regulation (EC) No 842/2006 by Schwarz et al. (2011) which takes into account the actual data on e.g. developments in technology, sales and stocks, population growth and gross domestic product (the WM was forward looking and based on assumptions). Also, it was necessary to include data for Croatia (not included in WM). This update implies that the counterfactual is consistently higher than the WM scenario by 6-8%.
A5.5.3 Macro-economic analysis An evaluation of economic effects was undertaken using descriptive analysis, looking at the change of value added for the NACE sector “Manufacture of non-domestic cooling and ventilation equipment (28.25)”171 over time. This sector is considered as most representative of the EU industry sectors affected by the Regulation, representing approximately 80 % of HFC demand. A counterfactual scenario is constructed by applying three steps: First, economic development of the sector 28.25 with regard to the development observed for total industry by establishing a time series for the coefficient between sectoral and total development172. Second, the trend for this coefficient prior to the revision of the Regulation is derived from a simple linear trend analysis for the years 2010 to 2014173. Finally, the pre-revision trend is extrapolated into the future (2015+) to arrive at the counterfactual development for the years 2015 to 2018. Impacts on employment were analysed using an analogous methodology. As above, the change of employment for the NACE sector “Manufacture of non-domestic cooling and ventilation equipment (28.25)” over time has been analysed.
A5.5.4 Assessment of adjustment costs to industry In the assessment of the costs to Businesses a distinction is made between:

170 As is apparent from Figure 22, first signs of an impact on demand are seen from 2013 and 2014. This is assumed to be due to “early birds” market players that react already to the writing on the wall, i.e. the measures proposed in the Commission proposal in 2012 and the discussions during the negotiations. However, these effects are of course very small. 171 According to the statistical classification of economic activities in the European Community of the NACE codes (https://ec.europa.eu/eurostat/documents/3859598/5902521/KS-RA-07-015- EN.PDF), this class includes: manufacture of refrigerating or freezing industrial equipment, including assemblies of components; manufacture of air-conditioning machines, including for motor vehicles; manufacture of non-domestic fans; manufacture of heat exchangers; manufacture of machinery for liquefying air or gas; manufacture of attic ventilation fans (gable fans, roof ventilators, etc.). This class excludes: manufacture of domestic refrigerating or freezing equipment, see NACE code 27.51; manufacture of domestic fans, see NACE code 27.51 172 ”Total industry” includes NACE codes B mining and quarrying, C manufacturing, D electricity, gas, steam and air conditioning supply and E water supply; sewerage, waste management and remediation activities. 173 Any effects before 2015 that may be linked to the Regulation as seen for demand (see section A5.5.2) are so small that cost differences would not be picked up by this analysis.

133  F-gas using industries, i.e.  the operators of equipment
(end-users) usually relying on F-gases (or low-GWP alternatives), and  Businesses involved in the supply chain of the gases, i.e. producers and importers of gases; gas distributors and service companies.

Equipment manufacturers are also impacted but any costs incurred are taken into account as higher equipment prices for the F-gas using industry.
The total expenditure (totex) for all F-gas using industries has been calculated for the period 2015 -2019 using the AnaFGas model both for the baseline and counterfactual scenario. It takes into account:  Capital expenditure (capex), which includes the equipment operators’ investment in new hardware. In all F-gas application sectors where the gases are not directly emitted on application, the cost of the first fill of F-gases is also considered as capex, e.g. the first fill of refrigerants into refrigeration equipment  Operational expenditure (opex), which includes the cost of refill of gases into equipment (to balance losses from leakage), the cost for electricity or fuel needed to operate the equipment and maintenance costs affected by the Regulation (i.e.  additional cost for leak checks and repairs as imposed on HFC installations by the Regulation, and for installations using CO2, NH3 or hydrocarbons as refrigerants instead of HFCs)..
The difference in total costs between the two scenarios are the ‘operative compliance costs’ of the Regulation. These have been averaged over the evaluation period and divided by the average totex of the counterfactual scenario to provide a relative increase or decrease in totex for F-gas using sectors. For a meaningful assessment of F-gas using industries compliance, the adjustment costs are divided into:
 costs of technological change which are borne by those equipment operators that invest in alternatives to the established HFC-based technologies; and  costs related to HFC price increases174 which are borne by operators of existing (HFC-based) equipment which need to be refilled subject to increased HFC prices as well as operators of new installations that still buy HFC-based technologies. However, the costs for users related to any increase in the price of HFCs are ‘offset’ (in cost-benefit analysis terms) by equivalent additional benefits to businesses in the supply chain of HFCs, i.e.:
 producers and importers175 of HFCs that can sell the gases to the gas distributors at considerably higher prices than they could have done without the Regulation.

174 Based on the EU HFC price monitoring an average HFC premium of 8 €/t CO2e at gas distributor selling price level, or 16 €/t CO2e at service company selling level for the 2015-2019. 175 Importers of bulk HFCs receive quota for free. However, importers of pre-charged RAC equipment do have to acquire quota authorisation from quota holders. Thus, equipment importers are

134 Given the free allocation of quota under the Regulation, these additional revenues come without176 associated costs.
 service companies that usually charge their customers (i.e. operators of equipment in need of refill) a levy in proportion to bulk prices (e.g. a fixed mark-up on bulk prices) and thus pass on and add to any upstream price increase. The same principle applies for gas distributors, situated between producers/importers and e.g. service companies in the HFC supply chain. On average, prices per kg of gas sold at service level are approximately twice the price of gases sold by distributors177. Consequently, the gas price increase is having distributional effects and the overall net cost to business is zero. Total adjustment costs are therefore limited to the changes in investment and operating costs related to technological changes.
A5.5.5 Administrative costs Industrial stakeholders were asked to provide information on administrative costs that are additional to those that were already incurred as a consequence of the 2006 Regulation. The Regulation affects many different types of companies (gas producers, distributors, importers, equipment manufacturers, service companies, end users etc.) and in many different ways (different measures affect different companies (types)). Thus, the data collected needed to be complemented by further analysis. This detailed analysis, assumptions made and data considered are given in Annex A14. By way of example, one adjustment that had to be made was due to the fact that the stakeholder consultation focussed primarily on interviews and feedback from large business organisations. Costs were therefore adjusted for small and medium firms based on levels of activity. For some measures, the costs for large companies were expected to be equivalent to the costs borne by small and medium companies. The final number of estimated working days was calculated based on the aggregated working days for each company. A cost of EUR 230 per day was applied to calculate a total estimated cost (based on an assumed average annual salary of around EUR 50,000, and annual days worked - around 220). For the EU Commission the costs were estimated by DG CLIMA. The data for the EEA are based on EEA time recording and invoice information from EEA’s contractors. All 27 Member States were asked to fill out a questionnaire related to the administrative costs associated with the implementation and enforcement of the Regulation. The questionnaire provided the option of reporting either time or financial expenses (average number of annual working days or average annual cost in €) and invited information on the certainty of estimates. The respondents were not able to provide answers to all the

basically in the same situation like EU original equipment manufacturers (OEMs): Both have to pay GWP-based a premium on the HFCs charged / to be charged into equipment. Findings of the Öko- recherche HFC prices management support that authorisation cost have been approximately at the same level as HFC prices increases experienced by EU OEMs. 176 Except for small admin cost related to quota management. 177 Source: EU HFC price monitoring conducted by Öko-Recherche

135 questions and the figures obtained include a combination of time effort and monetary expenditure estimates. The level of certainty ranges from ‘definitive’ to ‘rough estimates.’ Nonetheless, a good base of data was collected from the competent authorities on which an estimate of administrative costs could be made. In total 13 Member States provided information on administrative burden178, with six noting upfront costs. To arrive at total costs, the data from those Member States that provided cost data were aggregated and extrapolated to an overall total using the number of reporting companies in each Member State179. This approach, considering the total number of reporting companies, has been applied to the majority of measures as this was considered to provide the most accurate basis for extrapolating the costs. However, where appropriate, in some cases the extrapolation has been based upon the number of reporting importers within Member States. A5.5.6 Consultations The consultation exercise was carried out in parallel with those for the impact assessment of potential changes to the Regulation. The main consultation activities were the following:  Stakeholder feedback received on the Initial Impact Assessment.  Public consultation from 15 September to 29 December 2020. A total of 241 responses and 44 attachments were provided which are available on ‘Have your say’180.  34 additional semi-structured targeted stakeholder interviews (16 Member States competent authorities, 2 customs authorities, 1 NGO and 16 EU business associations/companies). In addition, two competent authorities and two customs authorities provided written responses to the interview questions.  A full-day stakeholder workshop (virtual) on 6 May 2021 with 355 participants, primarily industry stakeholders representing relevant business organisations and associations, but also NGOs and public authorities were represented. Additional written feedback could be provided until 24 May (69 submissions received). A summary of the stakeholder consultation activities and findings is presented in the Consultation Synopsis report (Annex A2). A5.5.7 Limitations and robustness of findings
A5.5.7.1 Limitations related to the data available The following limitations on data were detected:
 Reporting data used to examine the effectiveness of placing on the market restrictions only covers imports (not EU produced equipment) and does not

178 13 Member States provided data based on time effort required, and 9 Member States provided data on financial costs. 179 EEA report - Fluorinated greenhouse gases: Data reported by companies on the production, import, export and destruction of fluorinated greenhouse gases in the European Union, 2007- 2019, 2020, 2020, EEA
180 https://ec.europa.eu/info/law/better-regulation/have-your-say

136 provide a precise sector split. Also, reporting data for placing on the market restrictions only goes up to 2020, so one cannot judge the impact of prohibitions which fall after this date.  No comprehensive data is available on labelling compliance, which is difficult to separate from related obligations e.g. under the Classification, Labelling and Packaging (CLP) and the Registration, Evaluation, Authorisation and Restriction of Chemicals (REACH) Regulations.  No comprehensive data is available on recycled and reclaimed F-gas quantities. Reporting data for recovery and reclamation only exists for importers, producers and exporters, hence the data is not complete.  Compliance with the leak checking requirements under Article 4 and Article 5 of the Regulation is difficult to assess first-hand as there are no comprehensive studies in this area and existing databases are not publicly available or are confidential. No consistent data set tracking leakage rates pre-implementation are available.  It is not feasible to make an accurate estimate of the level of illegal imports.181 As a consequence, the levels of demand and emissions presented throughout the reporting and modelling analysis on demand and emissions do not capture any quantities from illegal imports. A5.5.7.2 Limitations related to the AnaFgas model The following limitations of the AnaFgas model should be noted:  The AnaFgas model assumes yearly re-fillings of emitted quantities, which is not necessarily the case over the lifetime of equipment, and thus the modelled yearly demand can deviate in the short term (i.e. on an annual basis) from actual demand while accurately predicting the longer term trends (i.e. multi-annual).  For the assessment of the cost of technological change, generalisations were made by representing each modelled sector by one typical installation size, assuming to represent the full sector. Thus, the full variety of existing installation types and sizes cannot be fully covered. Assumptions on parameters affecting investment and operating costs rely on expert judgement and industry input.
 A clear separation of the impacts of the different individual measures of the Regulation on e.g. the demand for HFCs or F-gas emissions is not always possible. By way of example, observed reduction effects on HFC demand and emissions in the model cannot be cleanly ascribed to specific prohibitions, the overall phase-reductions or smaller leakage rates due to the containment provisions. Generally, specific effects of measures can only be extracted from the model when no confounding effects of other measures are present. For other F- gases that are not HFCs, on the other hand, direct effects of prohibitions can be more easily extracted from the model results (as they are not covered by the phase-down and containment measures mostly do not apply).

181 https://ec.europa.eu/clima/sites/default/files/f- gas/legislation/docs/report_illegal_trade_hcf_en.pdf

137 A5.5.7.3 Macroeconomic and cost analysis Finally, the following approximations were made in the analysis:  Stakeholder costs cannot be split by business size, Member State or measure with any degree of confidence. Technical compliance costs were assessed by application sub-sectors, which hardly correlate with business sizes  There is little published data or studies on the administrative burden placed on different stakeholders by the Regulation. To close this gap, data was requested from stakeholders repeatedly but data collected remained limited, in particular regarding costs to industry, both due to limitations in the evidence available on costs per undertaking, the number of undertakings affected and the type of companies affected by different measures and in different ways. These gaps were filled by expert judgement to provide quantitative estimations. In addition, cost data collected was predominantly provided by larger firms and as a proxy, the costs for small and medium firms were scaled down.  The analysis of macro-economic effects is based on a simple analysis of trade flows, production and employment in the most relevant F-gas sectors used as a proxy for the rest of the market. This approach was deemed appropriate as effects at this level and over the relatively short timeframe (2015-2020) are small and very difficult to detect at the economy-wide level. The results are in line with the main conclusions on efficiency that were based on the analysis of compliance and administrative costs. A5.6 Analysis and answers to the evaluation questions A5.6.1 Effectiveness The overall objective of the Regulation was to provide a cost-efficient contribution to reach the EU’s previous climate targets, i.e. to reach at least a 60% reduction in emissions by 2030. The modelling exercise confirms that the demand and resulting emissions savings are a result of the Regulation, as compared to the counterfactual scenario (compare Figure 22). The drop in demand (13% in CO2e) is more striking than that of emissions (6% in CO2e), because emissions occur years after gases are put into equipment (from leakage, losses at end-of-life etc.). The largest changes are observed in refrigeration (62% of emission reductions), and to some degree in air conditioning, while a transition is also going on in other HFC using sectors. Forward modelling indicates that emissions will continue to fall significantly but the 2030 emission goal set for the Regulation may not be fully reached (see efficiency). Still it can be concluded that overall the measures in the Regulation have worked rather effectively. The degree to which the four specific objectives are being met is summarised below.

A5.6.1.1 Objective 1: Discourage the use of F-gases with high GWP in the EU and encourage the use of alternative substances or technologies
The development of the F-gas supply to the EU market is an indication of the extent to which the Regulation managed to discourage the use of F-gases. For HFCs, the supply

138 declined by 37% in metric tonnes and 47% in terms of CO2 equivalents between 2015 and 2019. A significant share of the decline in HFC supply was due to a lower use of a few types of high GWP HFCs and HFC mixtures (R134a182, R404A and R410A) and a shift to natural alternatives and the synthetic alternatives, H(C)FOs. Users of natural refrigerants have the advantage that they are not restricted in any way under the Regulation, but this also means that data on their consumption is not collected. The supply of the synthetic alternatives, H(C)FOs, has grown to about 18,000 tonnes (2019 data; from 1,300 tonnes in 2014). In addition, while the amounts of HFCs imported inside of products and equipment have remained rather constant in metric tons since 2016, the GWP of these HFCs dropped by 33 % from 2015 to 2019 (see Figure 21). This is a clear indication that this sector has shifted from using higher warming HFCs (e.g. R410A) to HFCs with a medium-high GWP (e.g. R32). These findings indicate that the HFC phase-down (i.e. the quota system) combined with placing on the market (POM) and use prohibitions worked rather well.

Figure 21. Development of average GWP in HFC supply By design, the HFC phase-down restricts supply in CO2 equivalents. Prices of high GWP HFCs increased significantly in mid-2017 and early 2018 reaching a peak of 6 to 13 times higher than the original price in 2015183. The observed price increases for the different HFCs roughly reflected their GWP184 and were passed on from the upper to the lower levels of the refrigerant supply chain. Prices of high GWP HFCs in the 3rd quarter of 2021 continue to be two to seven times higher (compared to 2014) depending on the supply chain level and therefore continue to be an incentive for innovation. Since, prices for HFC alternatives have remained rather stable climate-friendly technologies have become more competitive. Stakeholders agreed that the HFC phase- down in combination with prohibitions has proven to be an effective measure. Some

182 The ability to reduce supply for HFC-134a is partly due to a lower need for this gas in the production of new passenger cars from 2017. This is an effect of the MAC Directive which is both taken into account in the counterfactual and the baseline scenario.
183 https://ec.europa.eu/clima/document/download/11f89677-c97e-420d-97b7-97b9ad14618a_en 184 The higher the GWP of the HFC the more quota is needed for the same metric quantity. Thus the higher the GWP of the HFC the higher is the price increase for the gas. 1000 1200 1400 1600 1800 2000 2200 2015 2016 2017 2018 2019 Average GWP

139 stakeholders suggested that the phase-down has been the most important measure of the Regulation as it provides flexibility and clarity and is driving change. The phase-down also incentivised the reclamation of F-gases in the EU, resulting in a low, but steady increase of these activities. Based on the reported data under the Regulation185, reclaimed HFCs made up 8 % of the amount produced in 2019, equalling 3 % of the EU supply of virgin HFCs (or 9 % and 4 % respectively in CO2e). This means that quantities reclaimed have roughly tripled since 2014. This is assumed to be a direct consequence of gases having a higher value as a result of the quota system, making reclamation activities more attractive. A reclaimed gas is of the same quality as virgin gas but does not require any quota to be placed on the EU market. HFCs make up the vast majority of reclaimed F-gases in metric tonnes (97 %), with SF6 contributing approximately 20 % in tCO2e of reclaimed gas. As not all reclamation facilities are required to report today, the real numbers are expected to be higher. The placing on the market and use prohibitions were implemented successfully as seen by the reporting data, and were considered to be effective by stakeholders. Prohibitions related to F-gas products and equipment appear to be mostly complied with (on the basis of Article 19 reporting data). The successful technological transition reflects that prohibitions were introduced where suitable alternatives were available. This is supported by the fact that no derogations on the basis of Articles 11(2) and 11(3) were made. The prohibitions efficiently avoided the use of HFCs in certain applications where this was easy and economical to do, while facilitating the availability of HFCs where finding alternatives is more difficult or costly in the context of scarce overall HFC quantities due to the HFC phase-down measure. Stakeholders also broadly agreed on the effectiveness of the control of use restrictions in meeting the objectives of the Regulation. Still, there appears to be further potential to reduce HFCs, in particular in the area of AC. Furthermore, some emissive types of uses that could be avoided are currently not restricted, e.g. uses of HFCs for cooling skin in beauty clinics and some inhalation anaesthetics in hospitals. Moreover, the Regulation has not promoted a transition for uses that are not covered by the phase-down (exempted or non-HFC) and/or prohibitions. As regards the exempted uses, HFCs amounts (in CO2e) for metered dose inhalers (MDIs) has even increased by about 45% since 2015. Feedstock use (for which there are normally no alternatives) was rather constant in that period and amounts related to export exemptions have been fluctuating. Semiconductor and military uses remained moderate and accounted for only 3 % of total quota exemptions in 2019. Some stakeholders noted that the quota exempted uses were a cause for concern. Others signalled that pharmaceutical undertakings are moving to lower GWP propellants (the first undertakings have announced their intention to commercialise the first lower GWP MDIs by the end of 2025).

185 Currently only producers, importers, and exporters are reporting on reclamation activities. Any company that does not fall into any of these company types but carries out reclamation is currently not obliged to report. The data is therefore incomplete.

140 As regards other gases, SF6 and PFCs represented 18 % of F-gas emissions in terms of CO2e due to their very high GWP (ranging from 7 000 to 23 000), but there are few restrictions on their current use. In particular, in the case of SF6 for use in electrical transmission, suitable alternatives have been developed, intensively researched or even placed on the market in the past years, but the Regulation is not sufficiently promoting the deployment of these new alternatives. Also, there is concern that use of SO2F2 in pest control of timber for export, is not currently covered by the Regulation,
Consequently, the Regulation has been less effective in promoting a transition to climate friendly alternatives for quota exempted uses, some special HFC uses and for F-gases other than HFCs. A5.6.1.2 Objective 2: Prevent leakage from equipment and proper end of life treatment of F- gases in applications Because there is still a large bank of existing equipment and products that contain F- gases, prevention of leakages remains key to achieving significant emission reductions. To this end, the Regulation is building on the rules put into place by the previous F-gas Regulation as they had already proven to be effective. Data available from surveys in a number of Member States has shown the importance of regular leakage checks and associated servicing activities, especially in the commercial refrigeration sector, as HFC leakage rates from cooling equipment have declined (further) in recent years. Data from a comprehensive Polish database shows that leakage rates have declined in all cooling equipment (refrigeration, air conditioning) from 12.6% average in 2016 to 3.0 % in 2020. This trend also appears to have been generally observed in Germany and Slovakia. Such reductions result in both savings on adding new (expensive) gas and better energy efficiency of the equipment. Similarly, some data suggests that recovery rates may also have gone up in recent years.186 Roughly two-thirds of quantities were reported to have been recovered from maintenance activity and one-third from equipment at end-of-life in France. In Poland about 30% of recovered refrigerant was reclaimed in 2019, which increased to 44% in 2020. These levels are thought to rank highest within the EU. Reclamation activities are strongly linked to the availability of facilities within the country, as cross-border shipments are difficult to organise. High shares of reclamation are thus expected in France, Belgium, Czech Republic, Germany, the Netherlands and (looking back) the UK.
The Regulation was less effective in preventing leaking emissions of other uses and substances other than HFCs. Firstly, SF6 emissions will continue unabated and for many years to come due to the long lifetimes of the equipment in place (40-50 years). Secondly, a requirement to prevent emissions during production, transport and storage applies only to producers and not to other relevant actors. Thirdly, the Regulation will stop the additional use of HFCs in foams by 2023, but does not ensure the safe disposal and recovery of HFCs already used in insulation material. The Regulation states that

186 Reported quantities of reclaimed gas have been going up 4 times between 2014 and today, but these data are not complete as not all companies are required to report currently.

141 recovery of F-gases is required at end-of-life from foams where it is “technically feasible and does not entail disproportionate cost”. However, in practice costs, whatever they are, are often used as an excuse for not recovering the gas and it is difficult for authorities to enforce this provision strictly. As a result, HFCs in insulation foams are likely to be released into the atmosphere in the future. Finally, current emission prevention requirements only concern F-gases listed in Annex I of the Regulation. Thus such requirements do not apply to other fluorinated gases listed in Annex II (or relevant gases not listed in the Regulation), such as NF3, H(C)FOs, fluorinated ethers and alcohols and other perfluorinated compounds. A5.6.1.3 Objective 3: Facilitate convergence towards a potential future agreement to phase down HFCs under the Montreal Protocol The Regulation clearly demonstrated to other countries that ambitious action on HFCs is possible and enabled a joint EU negotiation position and the tabling of an EU amendment proposal to the Montreal Protocol that provided crucial impetus for the negotiations. The Commission and the EU Member States were vocal supporters and advocates of the proposed Kigali Amendment during its negotiation, on the basis of the established best-practice rules of the Regulation. Prior to the implementation of the Regulation, there was no international agreement tackling the growing use of HFCs and there were little effective HFC measures elsewhere in the world187. Some industry and NGO stakeholders have labelled the Regulation ‘the world’s gold standard’ and there is consensus that the F-gas Regulation had a positive impact on reaching an agreement internationally.
A5.6.1.4 Objective 4: Enhance sustainable growth, stimulate innovation and develop green technologies by improving market opportunities for alternative technologies and gases with low GWP The Regulation has been a strong trigger for innovation in the relevant sectors. Dozens of new, more climate-friendly blends, especially mixtures consisting of HFCs and H(C)FOs, have entered the EU market since 2015. In addition, the number of companies working with natural refrigerants increased from 400 to 650 in the period 2013 to 2016 and, for example, in the commercial refrigeration sector, over 80% of companies increased their levels of investment in R&D between 2011 and 2016.188 The same source concluded that overall the Regulation has led to an increase in businesses switching to HFC-free technologies, with additional suppliers entering the market following its implementation, and that Europe is now a global leader in the adoption of low-GWP alternatives, not least due to the favourable policy environment. By way of example, by 2019:  Europe had adopted around 2,200 low-charge ammonia systems, relative to a global total of 4,000.

187 With the exception of Switzerland and the EEA countries. Japan introduced legislation on HFCs shortly after the EU. 188 Shecco (2016): F-Gas Regulation Shaking up the HVAC&R Industry.

142  Europe had installed over 40,000 transcritical CO2 systems, considerably more than the rest of the world combined.  Hydrocarbons (in particular propane) in plug-in display cases has emerged as a viable refrigerant for supermarkets and smaller convenience stores. By early 2017, it was reported that there were around 700,000 hydrocarbon integral units in European supermarkets.

The report also observed that the large number of (new) suppliers has helped to increase the efficiency of the alternative technologies. These findings are fully reflected in the responses of stakeholders. 84 % of the respondents in the OPC reported that the Regulation has had a positive or very positive impact on the stimulation of innovation and development of green technologies. Further to this, stakeholders have noted the Regulation has provided certainty for undertakings although, initially considerable awareness raising on the rules of the Regulation and their meaning for stakeholders and the use of technologies proved to be necessary to support the uptake of the new technologies. It is expected that innovation and development of green technologies will continue to grow as a result of the tightening quota system and the prohibitions that will come into effect in the coming years. Stakeholders largely agree that the Regulation has been quite effective. The vast majority of OPC respondents suggested the Regulation has had either a ‘positive’ or ‘very positive’ impact on: contributing to the EU’s climate targets, facilitating agreement to phase down HFCs under the Montreal Protocol, discouraging the use of F-gases with high GWP in the EU, and preventing leakage and ensuring proper end-of-life treatment.

A5.6.1.5 Identified Challenges to an effective implementation Despite the relatively high effectiveness, there are also a number of challenges:
 There remain barriers to the use of climate-friendly alternatives due to safety codes that have not been updated in line with technological progress. They therefore inhibit a more widespread use of alternatives even though this is not warranted on safety grounds (see also A5.6.4.3.4).
 An insufficient number of service personnel qualified to install equipment with climate-friendly alternatives may have reduced the uptake of such technologies. This was pointed out already in a report by the Commission in 2016.189 The European installers association AREA confirmed that this problem persists: Only 3.5-7% of certified F-gas personnel was trained on the alternatives (ammonia, CO2, hydrocarbons, HFOs). This is better than the situation in 2016 (0-2.3%) but still very far from sufficient. Only half of the current training centres in the EU offering any training on alternative refrigerants and they are unevenly

189 http://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX:52016DC0748

143 spread throughout the Union.190 Industrial stakeholders including the service personnel strongly advised to remedy the lack of training and certification for alternatives.  There is evidence of imports of HFCs outside the quota system although it is not feasible to provide an accurate estimate of the extent of these illegal activities. A Commission study confirmed that there are discrepancies between Chinese export data labelled as intended for the EU market and the actual EUROSTAT import data. 191 There are also increasing imports to EU neighbourhood countries that could, illegally, be diverted to enter the Union market. Based on these findings, and assuming that all unexplained quantities would indeed become HFC illegally sold in the EU (while there are also other factors that could explain at least some of these discrepancies such as trade re-routing and higher growth rates in neighbouring states), stakeholders such as the large chemical producers claim that illegal gases could be up to 30% of the total allowed quota. While the exact extent cannot be determined as numbers on smuggling is not available, it is apparent from increasing illegal HFC quantities discovered through border controls that this is happening. OLAF has investigated a number of illegal smuggling activities and identified a number of modus operandi of illegal traders as well as shortcomings in the Fgas Regulation. The industry has set up a noticeboard where illegal activities can be reported and a private investigation firm has been following up, and discovering wrongdoing. Industrial stakeholders (gas producers, importers, distributors, service companies and endusers) confirm the existence of illegal gases on the market. The refilling of ACs in passenger cars, where smaller bottles are usually used, is experiencing high quantities of HFCs from dubious origins. Internet sales are also often cited. A number of actions to prevent the latter activities are ongoing, including by industry itself, but the current legal situation due to the Regulation (e.g. lack of detail on custom and market surveillance role, lack of detail on obligations of economic operators) is limiting an effective enforcement and border controls.  Some company owners with several affiliates (including single actors setting up and registering multiple mailbox companies), benefit disproportionately from the reserve by getting multiple quota shares. As a consequence, the number of bulk importers increased by a factor of more than twenty between 2012 and 2019 (data from DG CLIMA’s HFC registry). The Commission adopted an Implementing Regulation in 2019 that clarified the rules and this resulted in a decrease in the number of applications for quota from the new entrant reserve for 2020 and 2021. Still, there appears to be a large number of quota holders with no apparent link to the F-gas business, including mailbox firms and multiple companies registered under the same address (data from DG CLIMA’s HFC registry). This results in very low quota shares from the reserve to the real F- gas traders. It also makes it more challenging to prevent illegal imports.

190 All data from OekoRecherche, 2021 191 https://ec.europa.eu/clima/document/download/8b970e78-c5c3-41fd-b846-c75c1b6b045b_en

144  While substances replacing HFCs generally have negligible climate impacts, some of them could potentially have undesirable eco-toxicological effects that require further monitoring. It concerns the generation of environmentally persistent and accumulative trifluoroacetic acid (TFA) as a breakdown product of H(C)FOs in the atmosphere and its subsequent accumulation in the aqueous environment (see Quadrennial Report of the Scientific Advisory Panel to the Montreal Protocol192). The H(C)FOs are listed in Annex II of the Regulation, and are currently not covered by measures aiming at preventing their emissions. Given that they are common substitutes for many RAC equipment including ACs in passenger cars, their emissions are rising strongly (see A11.2).  All Member States have introduced penalties for non-compliance with the Regulation. However, penalties are quite heterogeneous and their level may not be dissuasive enough considering the possible economic gains achievable through illegal activities. This implies that the same violation for importing illegally into the EU single market is penalised differently depending on in which Member State the goods enter. Moreover, the different judicial approaches and legal mechanisms related to the penalties are making it difficult to ensure that penalties in all Member States serve the purpose of being dissuasive. To industrial stakeholders and NGOs, low penalties is one of the major issues facilitating the illegal trade, as rogue traders could pay the low fines and still make a profit off selling the illegal gases. Also, European-wide operating networks could direct their activities towards Member States where penalties are minor. Based on information provided by Member States, DG CLIMA has collected available information on penalties. While that is a less than straightforward exercise, in particular in Member States with a federal organisation, the collected data confirms the large differences in penalties applied, both from an administrative view and, where relevant, the applicability of criminal sanctions.
 A large share of quota holders are not subject to independent verification of reported data. Independent and appropriate verification is crucial for effective enforcement of the phase-down. However, the amount of quota allocated per company from the reserve in 2019 dropped below the mandatory verification threshold of 10,000 tonnes of CO2e (because of the high number of quota declarations). This meant that 78% of the quota holders in 2021 (12.6% of amounts reported) did not need to have the reported amounts verified independently (data from CLIMA’s HFC registry). Thus under-reporting is less likely to be caught as it would normally require individual inspections to establish. Furthermore, the mandatory verification obligation is not very prescriptive, thus the quality of reports provided by companies varies. This is apparent from reports submitted to DG CLIMA during the yearly compliance

192 https://csl.noaa.gov/assessments/ozone/2018/downloads/2018OzoneAssessment.pdf

145 checking exercise. A study by the Dutch enforcement agency has come to similar results.

A5.6.2 Efficiency A5.6.2.1 Benefits The Regulation has provided benefits in terms of F-gas emissions saved and better energy efficiency. Some economic and social benefits also appear likely. A5.6.2.1.1 Emissions saved The Regulation has saved F-gas emissions in the order of 44 million tonnes of CO2e cumulatively up to and including 2019 (EU-28). In the baseline scenario, emissions started to fall from 2015 onwards, and demand shows even earlier effects in anticipation of the new rules (Figure 22). In contrast, in the counterfactual scenario emissions continue to increase slightly until 2017 and remain stable thereafter. Until 2030, significant decreases in emissions are expected under the baseline scenario (430 MtCO2e emissions less than counterfactual scenario193). Still they are expected to fall short of the emission savings anticipated originally (60% in the 2012 impact assessment). The highest absolute emission savings were achieved in the refrigeration sector, but the highest relative reductions were achieved in the foam sector194.

193 By 2050, emission savings by the Regulation is estimated to be 1991 MtCO2e vs. the counterfactual 194 In the foam sector the industry has moved rapidly to alternatives from 2017, thus anticipating the 2020 and 2023 prohibitions.

146

Figure 22. Total demand and emissions of F gases in the period of 2010 to 2019 in the baseline and the counterfactual scenario in metric tonnes and CO2e

A5.6.2.1.2 Energy use Based on research on the technology employed, detailed documentation for the sub- sectors was compiled on energy efficiency assumption for the alternative technologies. Generally, new products on the market employing F-gas alternatives are achieving at least the same energy efficiency as comparable products based on F-gas technology.195 In some cases, adaptations may be required to ensure this is the case: for example, insulating foams may require some additional space for hydrocarbons as an alternative to HFCs, to achieve the same insulating efficiency. At sectoral level small energy savings in the refrigeration and air-conditioning (RAC) sector in the evaluation period 2015 to 2019 can be attributed to technological changes brought about by the Regulation. Given the low intensity of energy savings (about 0.1 %) of final energy use, no quantification of linked indirect emission reductions was attempted. Stakeholders corroborated these calculated energy savings: Some highlighted that energy-efficiency of home appliances for heating, ventilation, and air conditioning equipment has indeed improved over the implementation period (although this is also attributable to synergies with other EU legislation, e.g. Eco-design and Energy Labelling). In summary, reductions of direct emissions (F-gases) and indirect

195 Shecco report “Toward energy - efficient refrigeration with natural refrigerants” and the 2015 Gluckman Consulting UNEP Ozone Secretariat Fact Sheets

147 emissions (energy efficiency) were achieved in parallel and synergies with e.g. eco- design rules have been exploited. A5.6.2.1.3 Economic benefits The effects of the Regulation on production and gross value added (GVA) are more likely to have been positive than negative. Value added decreased more strongly during the financial and economic crisis in 2008/2009 in the manufacturing of non-domestic cooling and ventilation equipment and recovered more slowly than total industry. However, it has performed better with higher growth rates since 2014 and the introduction of the Regulation appears to align with a period of expansion for the sector above the trend observed for industry as a whole. Furthermore, compared to the counterfactual scenario, actual value added (baseline) appears to have grown faster in the RAC sector since 2014, see Figure 23. The need for replacement due to high leakages, the phase-down and prohibitions under the Regulation may have contributed to additional investment supporting that trend.

Figure 23: Value Added (VA) manufacturing of non-domestic cooling and ventilation equipment – actual development and counterfactual scenario (EU 28) Other variables may have influenced the sector over this period, such as demand for heat pumps due to energy efficiency policies in the building sectors, general growth in demand for climate cooling, rising living standards or other climate change or energy efficiency policies that lead to demand and investment responses. As described above, there are however clear indications that the Regulation has increased R&D and investment by industry and developed a wide range of new alternatives which can promote economic growth (see effectiveness).
With respect to trade, the Regulation did not significantly affect the production of F- gases in the EU and EU exports. However, it did have an impact on the imports of F- gases into the EU: Reacting to the switch in demand from HFCs to, partly, natural refrigerants, imports of HFCs and H(C)FOs, measured in tonnes of gas, were about 7% lower than they would have been without the Regulation. Given the higher cost for H(C)FOs, however, the value of HFCs and H(C)FOs imports was about 16% higher. 0 0.05 0.1 0.15 0.2 0.25 0.3 0.35 0.4 0.45 0.5 0 5 000 10 000 15 000 20 000 25 000 2008 2009 2010 2011 2012 2013 2014 2015 2016 2017 2018 Coefficient (VA sector 28.25/VA total industry) Million Euro Manufacture of non-domestic cooling and ventilation 28.25 (EU 28) Counterfactual scenario Coefficient Value Added 28.25/Value added total industry Linear regression (2010-2014) - second axis y = 0.0008x + 0.1635

148 These limited (if any) economic impacts were corroborated by respondents to the OPC, the majority of whom suggested the Regulation has had a neutral effect on EU competitiveness. A5.6.2.1.4 Social benefits Sectoral employment has performed better than total industry with higher growth rates since 2014 (see rising red (coefficient) trendline in Figure 24). Employment performed slightly worse than the counterfactual trend scenario in 2014 and picked up thereafter with substantially better performance than the counterfactual scenario in the years 2017 and 2018. Although it appears that the Regulation may have had a positive effect on employment, the precise effect is highly uncertain as it has also been affected by other (external) factors (see preceding section).

Figure 24: Employment - Manufacturing of non-domestic cooling and ventilation equipment – actual development and counterfactual scenario (EU 28) Employment impacts were not directly raised by stakeholders but some noted that there is a lack of qualified technicians that can handle climate-friendly equipment. Out of the certified personnel, who have been trained in line with the minimum requirements for handling F-gases, only a minority are competent and experienced in handling the F-gas alternatives that are often characterised by being either flammable, toxic or require higher pressures.

A5.6.2.2 Costs A5.6.2.2.1 Adjustment costs for end-users The estimated annual net adjustment cost for end-users related to technological change was 461 million € per year (Table 22) and covers additional investment and operating cost for using low(er) GWP technologies in comparison to established high- GWP HFC technologies. The refrigeration users bore over 75% of total cost, stationary

149 air-conditioning 11 % and mobile air-conditioning about 1%. Foam and propellants, solvents and fire protection take on 5-6 % each. Data at sub-sector level are given in Annex A12.1. However, the majority of the costs to end-users were linked to higher HFC prices for those users that did not (or not yet) fully switch to low-GWP alternatives196. That share was gradually reduced over the years as climate friendly alternatives were increasingly being introduced. Moreover, the expenses were distributed over a large number of users (still) buying new HFC equipment or topping up existing equipment (approximately 150,000 large supermarket refrigeration systems, 10 million small commercial refrigeration units, 100 million air conditioning systems in buildings and 200 million air conditioning units in older vehicles). Moreover, similar higher benefits occurred in the HFC supply chain when they were selling the gas (distributional effect).
The RAC sector accounted for approximately 94 % of the total adjustment costs in 2015- 2019. That is equivalent to about 0.3 % - 2.3 % of total expenditure (totex). In the foam sector, the cost increase was substantially higher at about 18 %.197 For the HFC use as propellant, solvent or fire suppression agent, the cost increase is about 0.01 %.198
There were also other types of costs effects of Regulation due to the requirement of reducing emissions on production (Article 7) and recovery of F-gases (Article 8; only refrigerated trucks and trailers were added with the Regulation). The linked estimated costs are €0.4 million and €5.9 million, respectively (see Annex A14.1). Table 23: Average annual compliance cost of Regulation to industry 2015-2019 (costs difference between counterfactual and baseline)

Gross equipment operators compliance cost thereof:
cost of HFC price increases thereof: Cost of technological change Share of compliance cost in total costs

Mio € / a Mio € / a Mio € / a % of equipment operators’ totex in counterfactual scenario Refrigeration 1 075
723
352
2.3% Stationary AC 581
530
50
0.7% Mobile AC 374
370
4
0.3% Foam 69
44
25
18.3%

196 The HFC-price related share of the compliance cost at F-gas user level is based on an average 2015- 2019 HFC premium of 8 €/t CO2 eq at OEM purchase price level, or 16 €/t CO2 eq at service company selling level, concluded from the regular EU HFC price monitoring conducted by Öko- Recherche. 197 It should be noted that in the present analysis only focus on a rather small part of the overall EU foam sector and if the cost increases were seen in relation to the complete EU foam sector the percentage would be far lower. 198 The cost of HFCs is very low in relation to total product cost. This is partly because there are no additional costs for propellants used in MDIs (exempted from the HFC phase-down). If product costs for MDIs are not considered, an average price increase of about 13 % is calculated for the few applications in those sectors that still use HFCs.

150 Propellants, Solvents & fire protection 69
40
29
0.01% Other HFC sectors - - - NA SF6 sectors - - - NA Total 2 169
1 707
461

Source: AnaFgas cost modelling
A5.6.2.2.2 Cost efficiency of the emission reductions Abatement costs compared to the emissions saved were lower than expected in the 2012 Impact Assessment. As HFC price increases lead to distributional effects rather than overall costs, a meaningful comparison of total cost to industry vs the achieved emission reductions takes into account cost of technological change only.
The average emission reduction costs calculated as the ratio of the annualised technological cost relative to the lifetime averaged emissions savings observed until 2019 were on average about 6.4 €/tCO2e and are thus far below the 16 €/tCO2e that was estimated for the 2030 time-horizon in the 2012 Impact Assessment.
At sectoral level, the low-GWP alternative technologies in stationary air-conditioning equipment were on average less costly than the traditional HFC-based options (negative costs). For refrigeration, the average emission reduction cost was 10 €/ tCO2e. For mobile air conditioning the average emission reduction cost was 94 € /tCO2e199. This relatively high number is due to the fact that there were very few emission savings observed so far (mostly for air conditioning systems for trucks and buses). For the foam and propellant / solvents / fire protection sectors, technological emission reduction costs are calculated as 8 and 10 €/ tCO2 e, respectively. Data for the calculation of emission reduction cost at sub-sector level are presented in Annex A12.2. For those sub-sectors that did not reduce emissions at all compared to the counterfactual scenario, a calculation of emission reduction cost is not possible. Table 24: Average emission reduction cost 2015-2019

199 These costs would represent ca. 0.6% on average of total expenditure of mobile AC (excluding passenger cars)

151

Lifetime-integrated emission reductions of new equipment installed in 2015- 2019 average Cost of technological change of lifetime- integrated emission reductions of new equipment installed in 2015-2019 average Calculated emission reduction cost
for technological change

Mt CO2 eq
Mio €
€ / t CO2 eq Refrigeration 13.0 125 10 Stationary AC 5.5 -25 -5 Mobile AC 0.1 12 94 Foam 0.0 0 8 Propellants, Solvents & fire protection 2.5 24 10 Other HFC sectors - - NA SF6 sectors - - NA Total 21.2 137 6.4 Note: Data on subsector level are presented in the Annex to EQ5 in Annex 9. Source: AnaFgas cost modelling

A5.6.2.2.3 Distribution of costs across business size
A high share of SMEs is likely to be found among equipment importers and service companies. For both, however, no particular strong disadvantage is assumed: Equipment importers basically face the same premium on HFCs in equipment as EU manufacturers. On the other hand service companies benefit from higher margins on HFC prices and, with the increasing use of alternatives, they are needing more skilled personnel to work with H(C)FOs and natural refrigerants. Since 2006 they have been required to obtain certifications for installations of F-gas equipment. A5.6.2.2.4 Distribution of costs across EU regions
In the sub-sectors of domestic refrigeration, commercial refrigeration, transport refrigeration, mobile air-conditioning as well as for aerosols, a large number of installations have been affected by the 2014 revision and the type of equipment is relatively equally distributed among Member States. Investments in replacement technologies will, however, show some variations: The use of natural refrigerants has been common in Northern European countries for many years, especially CO2 technology in commercial refrigeration, so that a large number of installations have been running on alternatives for years. Furthermore, the structure of applications differs between Member States especially in the commercial refrigeration sector as small shop formats are more common in Southern Europe requiring different types of refrigeration and air conditioning systems than hypermarkets and large shopping malls.
Stationary air conditioning units as well as air conditioning systems in buses and trams are more frequently used in southern Member States than in temperate climates in the north. Therefore, for these subsectors higher direct net costs will occur for Southern European countries. On the other hand, heating-only heat pumps are more frequently used in the northern EU region.
The assessment shows that the southern EU region, representing approximately 35% of EU28 population has borne about 37.5% of total end-users’ compliance cost. The

152 northern EU region, representing about 65% of the EU 28 population, has borne about 62.5% of total cost. Hence, even if some regional effects may have taken place due to the reasons above, the overall economic impacts are not that different between North and South, with the latter bearing just a marginally larger share of the cost burden.
A5.6.2.2.5 Split of costs by measure Business on average did not perceive the costs of the measures as exceedingly high. Stakeholders clearly identified the ‘Restrictions on use and equipment’ and ‘HFC quota system’ as the measures with the highest costs on industry (Table 24) while also recognising that these are most effective measures in terms of saving emissions and that their costs were justified on the basis of their benefits (e.g. OPC). Most other measures (training/certification, producer responsibility, reporting) were seen to represent at most medium-level costs, while costs for labelling were considered less important. Responses on the basis of company size did not differ very strongly. A majority of business associations and companies agreed that the costs of the individual measures were justified to achieve the objectives, i.e. that the benefits of action had outweighed the costs (a result which matched overall responses across all stakeholder groups). Table 25 : Costs for businesses as determined on the basis of answers to the OPC rating costs from 1 (marginal costs) to 5 (very high costs))

Containment Training and certification Recovery and producer responsibility schemes Labelling Restrictions on use and equipment HFC quota system Reporting and verification Micro (1 to 9 employees)

2.39

3.13

2.89

2.03

3.31

3.37

3.06
Small (10 to 49 employees)

2.89

3.00

3.13

2.20

3.17

3.50

3.00
Medium (50 to 249 employees)

2.83

2.97

3.04

2.27

3.00

3.41

2.85
Large (250 or more)

3.17

2.95

3.02

2.16

3.40

3.76

2.73
All Business

2.89

3.00

3.01

2.16

3.25

3.54

2.87
All

2.88

3.01

2.96

2.13

3.23

3.38

2.84
A5.6.2.2.6 Administrative costs to undertakings Additional200 administrative costs arise from the need (i) to keep records on refrigerants and for certification of service personnel in cooling equipment of trucks and trailers, (ii) for extended labelling requirements, (iii) to prove compliance with the quota system for new cooling equipment using HFCs, (iv) to comply with the quota system for bulk HFCs, and (v) for reporting and verification of annual company data. Different measures apply to different company types, and the range of costs can vary, e.g. between large and small

200 On top of those costs already incurred from measures of the previous 2006 Regulation.

153 companies. In Annex A14.1 the rationale and assumptions made for the estimation of cost related to each measure are given. The highest total administrative costs are related to ensuring that HFCs filled in new HFC cooling equipment are being counted under the quota system (4.8 million € in total), followed by record keeping (3 million €; due to a relatively high number of companies affected), and reporting and verification (2.4 million €). Note that adjustment costs related to equipment and bulk gas under the quota system (e.g. quota (authorisation) purchasing) are not included in these numbers. The smallest total costs are incurred for extended labelling requirements (0.3 million €). In total, 14.1 million € are recurrent additional annual administrative costs for industry.
Table 26. Additional administrative costs for industry resulting from the different measures
Measure Companies impacted ca. Average burden (person days) Total Costs (million €) Keeping records 25,750 0.5*
3.0 Obtain certification 9,400 1* 2.2 Label equipment 4,700 L:1, M: 0.5, S: 0.25 0.3 Ensure HFC equipment under quota system 2,900 L:27, M:13.5, S 6.75 4.8 Ensure HFC gas under quota system 1,700 L:15, M:7.5, S: 3.75 1.5 Reporting & verification 3,000 L:13, M:6.5, S:3.25 2.4 TOTAL

14.1
L: large companies; M: medium-sized companies; S: small companies *: As it is more difficult for smaller companies to comply, the burden was not scaled down from that established for larger companies A5.6.2.2.7 Administrative costs to Member State competent authorities The total yearly costs across all Member State competent authorities and across all measures is estimated to be a total of ca. 58,000 person days p.a. to ensure enforcement or compliance with the Regulation. The Member States provided quantitative feedback on a number of measures, but the costs associated vary widely not least due to the different number of stakeholders affected. A detailed overview is provided in Annex A14.3.1. These figures may not fully include the most significant cost item of ‘conducting national inspections or checks’ (e.g. linked to emission prevention and leakage). The latter is difficult to determine since these controls are jointly carried out with other general environmental inspection activities (e.g. Industrial Emissions Directive, Ozone Regulation), and checks are coordinated and carried out at local or regional level. National authorities also report a wide range of costs when it comes to the efforts linked to guidance and awareness raising, which may have represented the highest costs besides compliance related actions. In addition, one-off costs are incurred for establishing training and certification schemes (truck and trailers201), and producer responsibility schemes (encouraged in Article 9) where these are set up (only encouraged by the Regulation). A further cost is associated

201 Member State responses were likely not limited to truck and trailers, but refer to all certification programmes put in place by the 2006 F-gas Regulation

154 with the storing of company refrigerant management records (Article 6) in a national database to determine emissions (Article 20). This action is not required under the Regulation, but is the way some Member States chose to implement these articles. The cost effort varies strongly depending on how these actions were implemented, see Annex A14.3.1. A5.6.2.2.8 Administrative costs to the European Commission
Five full-time equivalents (person days) are needed to run the quota system and other central elements of the Regulation (DG CLIMA). An overview of the administrative costs incurred is provided in Annex A14.3.2. The most significant number of working days are associated with IT related aspects of the HFC Registry (an additional 1.5 person days), implementing the quota system and its registry, as well as providing information on the implementation of the Regulation (including compliance) to stakeholders. External support to DG CLIMA for implementing the Regulation amounted to ca €185,000 per year on average from 2014 to 2019. The costs incurred by other services in the Commission, e.g. in DG TAXUD and OLAF are estimated to be up to 2 person days in total. The staff resources required under the old Regulation was 2 person days.
A5.6.2.2.9 Administrative costs to the European Environment Agency (EEA)
The EEA has up to 1 person days internal staff for the collection, analysis and publication of company reporting data. There has been a gradual increase in administrative costs since 2012, which is linked to the big increase in quota holders. In addition, 409 person days of external support are needed (2019). The greatest number of workdays are linked to external IT consultancy supporting the F-gas webform, see Annex A14.3.2. A5.6.2.2.10 Areas of unnecessary burden or excessive costs Many stakeholders agreed that the Regulation is efficient. Only very few mentioned areas that were not including: that (i) the threshold for mandatory independently verified reporting is too high; the (ii) verification requirements are unclear (especially for smaller undertakings) and leave too much room for interpretation which is resulting in a low/ variable quality; there is (iii) no obligation for registered undertakings to submit a ‘NIL’202 report if they have nothing to report, thus it is unclear if they have nothing to report or if their report is missing. At a more general level, equipment manufacturers, importers and operators expressed dismay that they were footing the bill, while others benefitted from the quota system (distributional effects). An analysis showed that about 60 % of the HFC-price increases to EU F-gas using industries 2015-2019 reflected as additional revenues for further upstream actors in the HFC supply chain, i.e. producers and importers of HFCs and the gas distributors. About 40 % of the equipment operators’ costs due to HFC price

202 A nil report is a notification by a company that it considers itself not obliged to report under the Regulation.

155 increases is generated further downstream in the HFC supply chain by service undertakings providing a re-fill to compensate for leakages or, in some sub-sectors, the first fill.
A5.6.2.2.11 Trade, competitiveness and consumer prices The intended decline of EU HFC supply will evidently impact on amounts imported and produced in the EU. In the beginning this decline was primarily a result of lower EU HFC production for domestic use, but after 2017 HFC imports also declined more significantly. The decline of domestic production is however largely due to an expansion of production in China, and not strongly related to the Regulation. Furthermore, the decline in HFC imports is partly compensated (by mass) by strongly rising imports of H(C)FOs that are normally more expensive. Thus the value of imported HFCs and H(C)FOs 2015-2019 was approximately 15 % (90 Mio €/year) higher than it would have been without the revision of the Regulation. Imports of HFCs in equipment (measured in tonnes of gas) have been stable since 2016. About 70% of HFC imports into the EU come from China and about 30 % from Japan and the United States. Total EU HFC exports remained relatively stable. The ratio of bulk HFC exports to HFC production has been moving from about 50 % in the years before 2014 to more than 100 % in 2018 and 2019. The exported HFCs are mainly sourced from EU production and from HFC imports for inward processing and re-export (e.g. blending of mixtures). Those export-related trade patterns are hardly affected by the Regulation.
Thus the Regulation has had at most a limited impact on trade and competitiveness. This was corroborated by stakeholders (OPC), who consider the Regulation to have had a neutral impact on competitiveness and at most, a slightly negative impact on trade with third countries (although the majority of stakeholders were unable to provide insight on the latter impact).
As regards consumer prices it can be concluded that the overall effect of the revised Regulation was insignificant since (i) most sub-sectors have negative or very low relative compliance costs, (ii) compliance costs can be balanced within sectors (or applications), (iii) equipment operators have always had to cope with highly fluctuating input costs and that (iv) the cost of the F-gas using equipment often constitutes only a marginal share of overall system costs of the users.
A5.6.2.2.12 COVID-19 Pandemic
The COVID-19 pandemic is expected to have an impact on trade of products and equipment containing F-gases. Cooling systems and their use were scrutinized closely during the pandemic due to their role of circulating air in closed spaces and influencing the risks of catching COVID or other air-borne diseases203. As the pandemic is still ongoing, the full effects are not yet known. A recently published study explored the impact of COVID on the EU heating, ventilation and air-conditioning market (Eurovent, 2020). The report, which surveyed more than 100 manufacturers across 16 countries,

203 European Centre for Disease Prevention and Control (2020).https://www.ecdc.europa.eu/en

156 suggested that within the EU, Spain, Italy and the Czech Republic appear to have been most negatively impacted. In contrast, Germany and Austria are reported to have fared the best, with some even seeing an increase in orders over the crisis. The report explored that the strength of performance also differs by product and market type: While products such as dry coolers, CO2 gas coolers, cooling towers and air filters fared better, rooftop units saw the biggest drop in demand. In addition, suppliers to hospitals, data centres and the food industry have ‘profited’ from the crisis (especially with regard to additional refrigeration requirements), whereas the worst affected were suppliers of equipment for offices and shopping centres and for niche applications in cruises and air travel.
Another study by BSRIA204, based on interviews with air conditioning manufacturers in 20 major world markets, concluded that the six months to September 2020 following the onset of the pandemic had been ‘challenging’ to the sector. As a result of the surveys, BSRIA revised down its predictions for global air conditioning sales in 2020 and 2021. The study reported falls in sales across the board, with different air conditioning equipment types down 4-12%. That said, the report also suggests that there have been growth opportunities in some sectors, with the shift to home working and a resulting increase in demand for residential air conditioning.
Complementing these reports, several major equipment (parts) manufacturers reported declines in sales over the period of the pandemic (noting the detrimental impact of the pandemic as a key driver). However, following the peak of the pandemic many undertakings are seeing a bounce-back in sales. In summary, it appears that 2020 was a challenging and disruptive year for nearly the whole of the market, with many undertakings having to change and adapt their ways of working. Those most strongly affected according to stakeholders included the mobile air conditioning sector, transport refrigeration, fire protection and the manufacture of electronics. Other sectors identified by stakeholders as being detrimentally affected included activities such as servicing and maintenance, leak checks of installed equipment, and installation of new air conditioning systems in hotels and offices. Short-term impacts mentioned included the shutdown of production facilities, delays and shortages in supply of material and equipment components and reduction in revenue. Other industry stakeholders reported impacts on innovation activity, such as reducing discretionary funding for R&D and postponement or cancellation of projects. Effects have also been felt in market-supporting activities, such as delays and closure of training centres, limited access for service technicians, and delayed compliance testing of products in test labs due to limited capacities and unavailable prototypes. On the positive side, the outlook for 2021 and beyond appears to be brighter with a backlog in orders coming through and a stabilization of spending. Recent press articles205 suggest there has been a strong recovery in some sectors, e.g.  Germany and France have seen double-digit growth in the split air conditioning market.

204 Building Services Research and Information Association (2020).https://www.bsria.com/uk/
205 www.coolingpost.com

157 In addition, in the switchgear and related equipment sector, the majority of respondents felt that this sector as critical infrastructure was not negatively impacted by COVID-19. Other sectors seeing an increase according to stakeholders are the food production and retail sector, cold storage sectors – including for cooling of vaccines (overall demand in the medical sector was apparently stable), and increased demand for air circulation in public and commercial buildings.
A5.6.2.3 Benefits vs. Costs The Regulation has delivered a range of benefits since its revision in 2014. It has changed an increasing trend of EU F-gas emissions (until 2014) to a decreasing trend (every year since). The decrease of F-Gas emissions from 2015 to 2019 amounted to a total of 44 MtCO2e saved. Also, the average GWP value of F-gases supplied to the market was significantly lowered due to the increase in more climate-friendly alternatives (- 32 % in 2018 compared to 2014). This was achieved while the level of energy efficiency was maintained (or even slightly increased). In terms of wider economic effects, the Regulation has not had any negative effects on EU F-gas production or exports and gross value added or employment and may even have slightly increased these parameters. The imports of F-gases into the EU was reduced while imports of synthetic alternatives increased. Industry has increased R&D investment and the wide range of new alternatives is indicative of the high levels of innovation driven by the Regulation. As the 2015-2019 evaluation period is characterised by remaining high shares of installed equipment relying on established HFC technologies, there are still relatively high total HFC price-related cost for users that are slow in shifting to climate-friendly alternatives. These HFC price-related costs were however borne by many millions of users and in addition they were offset by benefits in the HFC supply chain, thus for the economy as a whole the cost is zero (distributional effects). In terms of overall value-for-money, the calculated averaged ratio of the technological cost relative to emissions savings is about 6 €/t CO2e. Emission reduction costs observed for the first years of the phase-down are thus below the average of 16 €/t CO2e calculated for the 2030 time horizon in the 2012 Impact Assessment. As such, it is concluded that the Regulation has resulted in significant emission savings at very low abatement costs linked to technological change. The cost-effectiveness of the Regulation is generally supported by stakeholders. Most measures also place some administrative costs on different actors (industry, competent authorities and at European level). The total administrative costs are however much smaller than the cost of technological change.
Finally, very few areas of the Regulation were found to be unnecessarily burdensome. An issue where improvements can be made is the area of reporting and verification obligations. Some stakeholders also noted that equipment operators are mostly paying for the technological transition, while others are profiting e.g. from higher HFC selling prices. In addition, a number of important challenges to implementation have been identified.

158 A5.6.3 Relevance In light of the more ambitious climate targets enshrined in the European Climate Law, the objective of the Regulation to mitigate F-gas emissions to prevent climate change has never been more relevant. F-gas emissions contribute ca. 2.5 % to the EU’s total GHG emissions. The continued supply and use of F-gases contributes to a ‘bank’ of potential emissions (e.g. in equipment in use) in the future. The model output underlines that relevant emission volumes will continue to occur in the coming decades, which would, without the Regulation, be much higher (counterfactual scenario). Thus the underlying problem clearly persists and ambitious action is required to ensure that F- gas emissions are being reduced in line with the new climate targets. Furthermore, it remains essential that the EU can comply with its international commitments related to the Montreal Protocol. The Regulation is the most appropriate instrument to safeguard compliance given its EU added value compared to national rules. In this respect there is a need to regulate the phase-down for the period after 2030 and adjust reporting, quota exemption rules and minimum thresholds to ensure long-term compliance. The Regulation has been effective notably on reducing HFC emissions, but even more could still be done cost-effectively for some HFC appliances and notably for other types of F-gases. Stakeholders identified e.g. the potential for reducing F-gas emissions from skin-cooling equipment and anaesthetics as well as SF6 in switchgear. Research on alternatives to HFCs for the (hitherto) more complicated uses shows that technical feasibility has progressed in many areas, but is not sufficiently supported by the current scope of restrictions in the case of all applications. The scope of some measures (actors, activities, gases) was found to be somewhat limited. For instance certification and training requirements do not cover climate- friendly alternatives and there are monitoring gaps of e.g. recycling/reclamation activities, recipients of exempted gases, the distribution of HFCs after import/production and the export of HFC equipment. Also, there are F-gases that are not currently covered by either Annex I or Annex II (only monitoring) of the Regulation that are relevant on the EU market or starting to become commercialised. Finally, Article II substances are not subject to emission controls while there are some potential concerns about other environmental impacts due to emissions of some of these substances. The Regulation has been flexible to respond to some external challenges, but not to others. The Regulation does not entail sufficient flexibility to allow for alignment with the Montreal Protocol, nor to any unforeseen issue related to the quota system, such as the lack of gas supply due to unexpected high growth in equipment that cannot (yet) replace HFCs. If such a situation should occur, it could create serious problems for certain sectors unless it is possible to swiftly adjust the phase-down without having to amend the Regulation in co-decision. Furthermore, the current rules have proven to be inadequate to allow the Member States and the Commission to address illegal activities and the undesirable multiplication of traders, in an effective way.

159 A5.6.4 Coherence A certain amount of international and EU legislation affects the F-gas Regulation (and vice versa), e.g.   International agreements, in particular the  Montreal Protocol on Substances that Deplete the Ozone Layer
 Paris Climate Agreement  EU environmental policies
 Chemicals: Directive 2006/40/EC (“MAC Directive”), Regulation (EC) No 1005/2009 (“Ozone Regulation”), Directive 2010/75/EU (“Industrial Emissions Directive”, IED), Regulation (EC) No 166/2006 on the establishment of a European Pollutant Release and Transfer (EPRTR), REACH (Regulation (EC) No 1907/2006)  Energy: Directive 2009/125/EC (“Eco-design Directive”), Regulation (EU) No 2017/1369 (“Energy Labelling Regulation”), Directive 2010/31/EU (“Energy Performance of Buildings Directive”), Directive (EU) 2018/2001 (“Renewable Energy Directive”)  Waste: Directive 2008/98/EC on waste (“Waste Framework Directive”), Directive 2012/19/EU (“Waste Electrical and Electronic Equipment Directive”, WEEE)  EU policies on customs and market surveillance
 Regulation (EU) 2019/1020 (“Market Surveillance Regulation”)  Regulation (EU) No 952/2013 (“Union Customs Code”)  Directive 2008/99/EC (“Environmental Crime Directive”)  Safety standards and building codes

A5.6.4.1 Coherence with international policies A5.6.4.1.1 Montreal Protocol The Regulation predates the Kigali Amendment to the Montreal Protocol and is therefore not fully aligned with these international rules so that long-term compliance with the Montreal Protocol is not fully guaranteed for HFCs:  The EU phase-down concerns placing on the market (POM: includes import and EU production) whereas the Montreal Protocol regulates consumption (slightly different parameters than POM) and production separately. Hence, consumption and POM may not always develop in the same way, and production may not be limited to the extent needed to comply with the Montreal production phase- down/ban in each Member State206.

206 For consumption the so-called REIO clause apply, which means that EU must comply as a region. The REIO clause does not currently apply to production. There are individual phase-down schedules based on how much production occurred in each Member State in the past. If no production occurred it means production is banned. Only France and Germany have HFC production today.

160  The EU HFC phasedown after 2030 is currently not legislated, whereas the Montreal Protocol has a last step in 2036 and continues at that level thereafter. Even if it is assumed that the placing on the market in the EU after 2030 stays at the limit required in 2030, long-term compliance with the Protocol’s consumption phase-down is not ensured.
 Quota exemptions that do not exist under the Protocol make it complex to safeguard compliance for both the production and the consumption phase-downs under the Protocol. In particular the exemption for MDIs (asthma sprays) is problematic for compliance because it represents high quantities207.
 Minimum thresholds for placing gases on the market and for reporting are not foreseen by the Montreal Protocol and therefore the EU’s reporting data is currently slightly incomplete.
 The Montreal Protocol’s requirement to have HFC export and import licences is fulfilled by requiring registration in the EU F-gas Portal and Licensing System before undertaking such activities. However, it is not stated clearly in the Regulation that this is a trade licence and for transparency it would be more appropriate to legally label it a licence.
Stakeholders overwhelmingly agree that further action is required to ensure compliance with the Montreal Protocol, in particular after 2030.

A5.6.4.1.2 UNFCCC and Paris Agreement on Climate Change The Regulation aims to make a proportionate contribution to the objective of the Paris Agreement to stay well below a 2°C global temperature rise and pursue efforts to limit it to 1.5°C. This contribution is discussed in previous chapters above. There are also reporting requirements on emissions of F-gases in both the Regulation and under the United Nations Framework Convention on Climate Change (UNFCCC). 208 Article 20 of the Regulation calls on Member States to set up reporting systems to acquire to the extent possible emission data. However, given the relatively non-specific wording of this requirement, there are large discrepancies between Member States on how this is done. While some countries continue to rely on default emission factors or surveys to establish their national emissions, others including Belgium, Italy, Slovenia and Poland have established central databases of relevant equipment containing F-gases and installed volumes, losses, quantities added etc. are electronically logged by service personnel or operators which allows for acquiring very good data on emissions. A5.6.4.2 Coherence with EU environmental policies A5.6.4.2.1 Ozone Regulation The Regulation is closely related to the Ozone Regulation, as it concerns similar sectors and strategies to reduce gases or avoid their emissions, besides minor differences in

207 The other two exemptions, for semiconductor manufacture and for military equipment, are less relevant in quantitative terms. 208 Regulation (EU) No 525/2013 (“MMR Regulation”) and Regulation (EU) 749/2014 define the mechanism and requirements for reporting EU GHG emissions to the UNFCCC

161 definitions or containment measures209. Stakeholders are asking for similar approaches on both Regulations, wherever possible and sensible, in particular with regard to the custom measures to control illegal activities. The Ozone Regulation uses a Per-Shipment- Licensing approach to authorise imports and exports. Here an alignment is achieved with the Fgas Regulation through the development of the EU Single Window Environment for Customs, which enables automatic per shipment controls for both ODS and F-gases. The Ozone Regulation is being reviewed in parallel with this Regulation. While HFCs replaced ODS in the past, this is not anymore the case today since ODS have been eliminated in the EU in sectors where this took place (in particular refrigeration, AC, foams, aerosols). Therefore, changes to the ODS Regulation regulating the few remaining uses of ODS will not affect the Fgas Regulation. A5.6.4.2.2 MAC Directive
Directive 2006/40/EC (“MAC Directive”) relates to emissions from air-conditioning systems in new passenger cars and complements the Regulation by having a prohibition on using strong greenhouse gases (i.e. HFCs) in this sector. The same sector is covered by additional obligations contained in the (F-gas) Regulation such as the containment measures, including the training need for technicians. This is analogous to other F-gas sectors that are also affected by prohibitions as well as the phase-down and containment measures. Generally, there has been consensus amongst stakeholders in the OPC that coherence between the Regulation and the MAC Directive is high. A5.6.4.2.3 Energy efficiency and eco-design legislation There are important synergies between energy efficiency measures and the Regulation. The HFC phase-down and the prohibitions aim to drive the transition from high to low GWP refrigerants in existing and new RAC applications which can have an indirect impact on energy consumption depending on the efficiency of the new equipment. Based on experience from previous conversions in this sector, energy efficiency tends to go up on balance. Moreover, the Regulation was designed to only promote technologies that would provide at least equal energy efficiency. The Regulation also improves energy efficiency through better control, monitoring and maintenance of existing cooling equipment (to avoid the loss of refrigerant and thus prevent efficiency losses), including leakage checks repairs, leakage detection systems, and training and certification of technicians.
To be fully coherent with eco-design policies, Article 11(2) of the Regulation allows an exemption from the placing on the market bans if the equipment with HFCs would achieve lower overall GHG emissions during its life cycle than the same equipment without HFCs. To date there has been no need to use that exemption and despite this possible alignment some industry stakeholders have a perception that there are trade-offs between reducing F-gas emissions and energy efficiency, i.e. that there may be a lack of

209 Most HFCs were phased in as replacements for substances that damage the ozone layer. The climate-warming impact was considered less important at the time. The ODS Regulation is therefore somewhat of a precursor to the Fgas Regulation with similar types of measures.

162 energy efficiency in equipment using lower GWP alternatives. However, only very limited examples could be provided by the same stakeholders. Overall, a trade-off between replacing refrigerants and efficiency was not the case in the observation period 2015-2019, and small efficiency gains were achieved overall. Eco-design requirements continue to be refined as technologies develop. In this way, Eco-design requirements have an impact on the charge amount needed, with higher efficiencies typically needing more refrigerant. Since hydrocarbon refrigerants210 are more limited in potential refrigerant charge size by existing standards, their scope regarding energy efficiency improvements continues to be more limited than fluorinated alternatives, unless existing barriers in standards are addressed. A revision of the Renewable Energy Directive (RED II) 2009/28/EC was proposed in 2021 which is expected to lead to an acceleration in the installation of new switchgear units. If this new installation base continues to use SF6, there is a risk that renewable energy growth will promote the growth of the most potent GHG (SF6) which could lead to more harmful emissions of GHG to the atmosphere.
A5.6.4.2.4 Waste policies Some stakeholders find that a lack of clarity if and when F-gases should be considered as waste affects the recovery, recycling and reclamation of F-gases. In the targeted interviews, Member State competent authorities noted that it is difficult to determine the classification of a substance as waste or not, especially when different Regulations apply, leading to disagreements within the market. Furthermore, this confusion may lead to artificial barriers being put in place for some of the activities being encouraged under the Regulation: Competent authorities highlighted in the interviews that, in some cases, an environmental permit may be required to carry out recycling as recovered refrigerants may be considered ‘waste’. Similarly, stakeholders also identified the rules on waste shipment (Regulation (EC) No 1013/2006) as a barrier to effective end-of-life F-gas treatment, as in some cases recovered refrigerants transported to another location are considered to be hazardous waste and require specific permits for transport and storage, which are issued and controlled by the local environment agency. These become particularly relevant when EU Member States without reclamation and destruction facilities intend to export used F-gases for reclamation and/or destruction purposes to other Member States. Currently transport of waste across EU national boundaries requires significant quantities of documentation for each shipment. However, not all stakeholders agreed this was a significant issue and some stakeholders also warned that, should transboundary shipments become too simple, this may open the market for actors with lower standards or levels of expertise in handling hazardous waste. Stakeholders further pointed out that relevant terms such as “recovery” or reclamation” are defined differently by the Regulation and the Waste Framework Directive (Directive 2008/98/EC). Such differences are however the result of seeking close alignment of the Regulation with Montreal Protocol definitions. Other stakeholders, in particular NGOs,

210 Hydrocarbons are the most straightforward solution to avoiding HFCs in small AC equipment

163 believed that setting minimum requirements and specifying the activities to be included in extended Producer Responsibility schemes by Member States in Art. 9 would achieve even better alignment. The Waste Electrical and Electronic Equipment Directive 2012/19/EU (“WEEE Directive”) complements the Regulation. The former is relevant for a number of equipment types affected by the Regulation, e.g. large household appliances (large cooling appliances, refrigerators, freezers, air conditioners), medical devices (freezers) etc. The WEEE sets out requirements for MS to (i) minimise disposal of WEEE in unsorted municipal waste to ensure correct treatment (and noting as a priority fluorinated GHGs), (ii) prohibit disposal of separately collected WEEE that has not undergone ‘Proper Treatment’ and (iii) ensure that collection and transport of WEEE is done in a way that optimises conditions for preparing for re-use, recycling and confinement of hazardous waste. In addition, the cost of such actions are covered by producer responsibility schemes. The WEEE Directive goes beyond the provisions of the Regulation through requiring the extraction and treatment gases with a GWP>15 from foams and refrigeration circuits used as insulation in domestic and small commercial refrigeration appliances (although foams do not require recovery under Art. 8 of the Regulation, Art. 12 does require their presence being noted on the label, enabling treatment under the WEEE Directive). In terms of ‘proper treatment’, the WEEE contains (Annex VII) specific directions for the treatment of equipment containing gases of GWP above 15 that these gases must be properly extracted and treated. It should be noted that it is stated in WEEE that ozone-depleting gases must be treated in accordance with the ODS Regulation, but no mention is made of the Regulation in this context. This perhaps misses an opportunity to reinforce the link to the Regulation and the objectives around recovery. Although not an incoherence, some stakeholders have noted that WEEE schemes in Member States need to be improved to better facilitate the recovery, recycling and reclamation of refrigerants.
A5.6.4.2.5 REACH Regulation Under REACH, there is an obligation to register substances placed on the market above a certain amount (typically around 1 tonne per annum in total – not per operator), which includes F-gases. Representatives of large chemical companies feel that REACH registration for importers is not fully complied with by competitors which creates a disadvantage for EU-based businesses. F-gas reporting and registration data could be exploited to achieve better enforcement. Under REACH there are currently ongoing efforts by some Member States to better identify the risks of PFAS, which includes HFCs and H(C)FOs due to their breakdown products (i.e. TFA).
A5.6.4.2.6 Industrial Emissions Directive (IED) and E-PRTR Regulation The E-PRTR Regulation monitors emissions of HFCs, but only as an aggregate value in metric tonnes for all HFCs and therefore gives little indication of the climate impact (due to varying GWPs for HFC species). More granularity on these data would be useful to complement the reporting data collected under the Regulation.

164 Under the IED, emission limit values are set by the competent authority and should not exceed emission levels associated with the BATs. The BAT Reference Document for the Food, Drink and Milk (FDM) industries includes limits for some refrigerant gases used in the dairy industry. A more systematic consideration of F-gases in the development of BREFs as a key environmental parameter would be useful.
A5.6.4.2.7 EU LIFE programme F-gases are also a priority area under the EU’s LIFE programme, the EU’s funding instrument for environmental and climate action. A number of recently selected F-gas related projects aim to replace F-gases with climate-friendly refrigerants in various applications, train service technicians in the use of low GWP alternatives, support the updating of standards and raise awareness of climate-friendly technologies in various sectors.211
A5.6.4.3 Coherence with custom and surveillance policies A5.6.4.3.1 Customs legislation Effective customs controls are complicated by current rules. Customs controls and surveillance activities are relevant to the success of the Regulation and better alignment. Uncertainty about the role of customs in enforcing the Regulation has shown that instructions for customs and market surveillance authorities were not sufficiently clear. Border controls using the licensing system described above are limited by the fact that controls require manual checking of the company’s registration in DG CLIMA’s F-gas Portal and HFC Licensing System and the fact that many customs offices have not registered in the system themselves and therefore do not have access. The CERTEX/EU Single Window Environment for Customs system will remedy this issue and achieve automatic controls, but there are some data needs. Some stakeholders have also pointed out that special customs procedures such as transit and online trade may be vulnerable to misuse.
A5.6.4.3.2 Market surveillance legislation Regulation (EC) No 765/2008 (“Market Surveillance Regulation”) established conditions for the placing of ‘products’ on the Union market. It therefore compliments the controls set out in the Regulation and reinforces their implementation. The revised Market Surveillance Regulation (EU) 2019/1020 explicitly states that the Regulation falls under its scope of application. In addition, the role of market surveillance authorities (customs or others) is strengthened; for example, such authorities are obliged to suspend the release for free circulation of F-gases where there are reasons to consider that the Regulation requirements have not been complied with. The Regulation opted to establish a different definition for ‘placing on the market’ compared to the one stated in the Market Surveillance Regulation. However, there is no contradiction in this respect; as lex specialis, the placing on the market definition established under the Regulation is the applicable one vis-a-vis F-gases. That said, this difference causes additional complexity

211https://ec.europa.eu/environment/life/project/Projects/index.cfm?fuseaction=home.search&cfid=1 4659734&cftoken=4f1fb6e93a74514e-B83F4D45-9F09-8461-24ED460AF947F533

165 (interviews with Member States). In addition, stakeholders (interviews with MS) perceive that definitions of import and export also vary. A5.6.4.3.3 Environmental Crime Directive Article 3 of Directive 2008/99/EC (“Environmental Crime Directive”) establishes certain conducts as criminal offences, ‘when unlawful and committed intentionally or with at least serious negligence’. The Directive applies vis-à-vis a number of sectoral legislations including the first Regulation (EC) No 842/2006 (see Annex to that Directive). At the same time, the prescribed conducts are too general and outdated to address specific infringements of the current Regulation. For example, the intentional or negligent emission of F-gases is considered a criminal offence, but the illegal import and trade of HFCs is not. The Commission proposed an amendment to the Environmental Crime Directive in 2021; this proposal will update the list of criminal offences to take into account more recent legislation and related challenges (e.g. illegal import of HFCs). Coherence between the two revised pieces of legislation should be maintained. A5.6.4.3.4 Whistleblower Directive Directive (EU) 2019/1937 of 23 October 2019 aims to strengthen the protection of whistleblowers under Union law as reports by whistleblowers feed national and Union enforcement systems with information, leading to effective detection, investigation and prosecution of breaches of Union law rules. The material scope of the Directive covers a wide range of key EU policy areas, including the protection of the environment. The criteria for determining which policy areas and acts should be included in the material scope of the Directive are the following: “there is a need to strengthen enforcement, underreporting by whistleblowers is a key factor affecting enforcement, and breaches of Union law can cause serious harm to the public interest” (recital 5). In addition, Article 2(1) defines the material scope of this Directive by means of a reference to a list of Union acts set out in the Annex. While several pieces of EU climate legislation are included in the Annex, including the Ozone Regulation, the F-Gas Regulation is not. To ensure coherence, the material scope of that Directive should be amended in order to include the F-Gas Regulation.
A5.6.4.3.5 Coherence with safety standards and building codes
A recent Commission report has pointed out that standards and codes represent important barriers to the uptake of climate-friendly alternatives to HFCs and they should be addressed with urgency.212 In particular it was noted that existing restrictions on flammable refrigerants no longer appear justified on the grounds of safety due to technological development. Failure to do so would jeopardise the technological progress and therefore make reaching the Regulation’s objectives more difficult. The most relevant European safety standards for refrigeration, air conditioning and heat pumps are EN 378, a horizontal standard which covers the use in commercial and

212 REPORT FROM THE COMMISSION on barriers posed by codes, standards and legislation to using climate-friendly technologies in the refrigeration, air conditioning, heat pumps and foam sectors (see https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:52016DC0749&from=EN)

166 industrial applications, as well as specific product standards including: EN 60335-2-24 for household refrigerators and freezers, EN 60335-2-40 for heat pumps and air conditioners, and EN 60335-2-89 for commercial refrigeration appliances. These standards are referenced as harmonised standards in EU legislation (e.g. Machinery Directive 2006/42/EC) which gives their use a legal basis.213
The Commission gave a mandate (M/555) to CEN/CENELEC214 to address these issues in European-level standards by drafting, on the basis of a thorough assessment, technical specifications for the safe installation and operation of cooling equipment containing flammable refrigerants. In March 2021, the final documents were issued by the Technical Committee WG 12 that was formed in response to the mandate.215 In parallel, the EU- funded project LIFE FRONT provided relevant data such as a leak size/concentration database to support evidence-based risk assessment for the use of flammable refrigerants and released recommendations on how to safely raise the charge limits of flammable refrigerants.216 The overarching refrigeration and air conditioning standard EN 378 was updated in 2017 to include the refrigerant R744 (CO2) and is currently, once again subject to review. A primary focus of this revision is the broader use of flammable refrigerants, particularly for equipment not explicitly covered through product standards. However, the process is not expected to be completed before 2024. The latter work will seek to include the technical specifications developed under Mandate M/555. Concerning plug-in commercial refrigeration applications, the international standard IEC 60335-2-89 increased the refrigerant amounts (“charge limits”) from 150 g to 500 g for flammable refrigerants (e.g. hydrocarbons like propane) and for “mildly” flammable refrigerants (e.g. HF(C)Os), from 150 g to 1.2 kg. The corresponding European EN standard still needs to be adjusted in light of this international development and an updated standard is expected for early 2022. The latter standard is referred to by the Machinery Directive. EN 60335-2-24 for domestic refrigeration equipment was updated in 2020. As regards air conditioning and heat pumps, a new proposal for the international product standard IEC 60335-2-40 is currently being discussed, including the issue of flammable refrigerants, and could be adopted by June 2022. Following this, an adjustment of the corresponding European standard EN 60335-2-40 would be necessary.
Certain restrictions for the application of flammable refrigerants also exist at Member State level, some of which are considered as important constraints. Some progress was made in those countries where restrictive rules had been identified, specifically in France,

213 Without such reference in legislation, standards would represent technical documents whose use is voluntary. 214 CEN and CENELEC are the European standardization organisations. https://www.cencenelec.eu/
215 CEN/TS 17607:2021 Operation, servicing, maintenance, repair and decommissioning of refrigeration, air conditioning and heat pump equipment containing flammable refrigerants, complementing existing standards.
216 http://lifefront.eu/

167 Italy and Spain, which have recently amended their national building codes and fire prevention rules to allow installation of flammable refrigerants in certain types of public or high-rise buildings. However, some barriers still remain, as these updates often only allow the use of H(C)FOs and not hydrocarbons and there are still remaining restrictions for certain types of buildings. In other Member States, the national authorities believe that there were no such restricting rules at national level. However, this does not preclude that there continue to be restrictive rules at the local or regional level, such as specific fire protection codes. In summary, while some progress is made and some improvements have been achieved, in particular in commercial refrigeration, standard setting is a slow process and divergent industry interests217 continue to hinder a timely, purely risk- based setting of standards that ensures high safety levels while allowing a maximal use of climate-friendly refrigerants.

A5.6.4.4 Internal Coherence As for internal coherence, the Regulation has generally been found to be consistent and coherent internally and across its implementing acts. This is also reflected in the fact that no requests for derogations for certain sectors have been received by the Commission to date. Nevertheless, some provisions were identified as not being fully aligned or sufficiently clear (mostly by authorities, rather than by industrial stakeholders). These provisions include:  Consistency of thresholds for the import of pre-charged equipment. Some requirements related to the import of pre-charged equipment according to Article 14 are not clear enough in the main part of the Regulation and should be further specified. This includes the 100 tCO2e de minimis exemption for pre-charged equipment which is not clearly stated but must be inferred from the reference in Article 14 to the quota system in Article 15 (which includes such an exemption).  In Article 15 it is not sufficiently clear that the placing on the market of HFCs in excess of the quota limits is strictly prohibited. The current provision “shall ensure” is not strong enough to avoid the need for national public authorities to impose an additional prohibition to be able to designate the violation as a criminal offence.  The quota exemption for HFCs supplied directly for export (Article 15(2)(c)) only applies to bulk gases but some stakeholders initially thought that it also applied to HFCs supplied for exported equipment and products containing HFCs.
Reporting and verification have been key measures in the success of the Regulation in meeting its objectives and data reported under the Regulation and were mostly found to provide a reliable basis for monitoring how the EU industries react to the intervention.

217 The technical background work on standards is done in technical working groups composed of industry stakeholders. Small companies with innovative technologies find it difficult to be represented in these groups as involvement is resource-intensive and therefore dominated by the established players.

168 The requirements have also supported the aim of the phase-down, helping to ensure compliance with the quota system, and supporting consistency across industry. However, the following issues were identified:

 There is an inconsistency between the need to have a quota authorisation for the import of equipment from 100 tCO2e, but a reporting threshold of 500 tCO2e, which complicates accounting of the authorisations used.  There are different dates, thresholds and other requirements for reporting and verification on bulk and equipment which lack a sound logical basis and are inefficient.
 Article 17(4) provides that competent authorities, including customs authorities, shall have access to the HFC registry for information purposes. However, the provision does not specify whether and in which situation the authorities should actually use the HFC registry. Also, a number of smaller clarifications would be needed (Annex A6.5). A5.6.5 EU added value There is a continued need for action at EU level due to the transboundary nature of the global warming effect of fluorinated greenhouse gases. It must be ascertained that F-gas emissions are being reduced at EU level in line with the climate ambitions of the European Green Deal.
The Regulation has a clear added value by implementing co-ordinated action at EU level to ensure compliance with the Montreal Protocol and the EU climate goals. This is supported by many different stakeholders and the competent authorities. Without the Regulation, each Member State would need to introduce their own mechanisms to regulate e.g. their national F-gas consumption. It would be much more costly to conduct 27 implementation measures rather than EU-wide measures.218
The Regulation has increased ambition relative to what would have been likely achieved as the sum of individual actions at national levels. Taking co-ordinated action at EU level has increased the effectiveness of the policy to reduce F-gas demand and emissions and can better and more easily ensure compliance with the Protocol. The climate targets to be achieved under the Green Deal are an order of magnitude that requires that strong, effective and coordinated policies are in place. Under the EU quota allocation system, quotas are not allocated to certain Member States, sectors or applications, but to the whole EU market on an annual basis by the EU Commission. This allows for the most efficient abatement solution to be found across a broader (EU) market, which is likely to lead to lower implementation costs. Furthermore, the ongoing,

218 For the recent evaluation of the ODS Regulation, which guarantees complying with the rules of the Protocol concerning ozone-depleting substances and implements similar measures as the Fgas Regulation for this purpose (e.g. prohibitions, reporting, licensing systems), it was calculated that introducing individual measures at MS level would cost 17 times the costs of EU-wide measures (in an EU of 28).

169 successful reduction of F-gas emissions is due to the combination of an EU-wide phase- down and prohibitions working together. Individual measures introduced by Member States would likely result in inconsistent and lower reduction in F-gas emissions across Europe. The 2012 impact assessment for the Regulation showed that the environmental benefit of having prohibitions alone was approximately 29 % inferior to also having a phase-down.
National approaches to effectively meet the individual HFC phase-down targets would present a very fragmented and costly situation for all the different industry sectors concerned, particularly those which place their goods on the market in multiple Member States. An EU approach allows for these central requirements to be consistent across Member States, with only small deviations in some countries that have introduced more restrictive or additional measures, minimising compliance burden for market players and providing for a level-playing field, e.g.:
 The HFC phase-down at EU level, implemented by a quota allocation system, not only increases the environmental benefit and reduces costs by setting an EU-wide cap, but also provides certainty on the allowed maximum quota quantity, creating a level playing field for market players operating in a single, integrated EU market. Likewise, the use of EU-wide placing on the market and use restrictions, and requirements for labelling and containment also contribute to this level playing field for the F-gas using industry and end- users. Stakeholders agree that the Regulation has created a level playing field across the EU.
 Through the F-gas Portal, the Regulation has introduced a common electronic tool which companies can access to register, apply for quota, transfer quota and manage quota authorisations. With no such central system in place, IT infrastructure would have been needed to be developed separately at Member State level. The same applies to the Business Data Repository (BDR), the second component of the central F-gas Portal: The centralised collection of reported F-gas data enables the EEA to publish annual reports on companies’ compliance with the reporting requirements of Article 19 and at the same time to assess the EU’s progress towards the set F-gas reduction targets. 219  Each Member State would have to set up a licensing system for goods being imported and exported to and from the EU from their territory. As outlined above, many companies do not operate solely in one Member State, but across borders. Thus, that would greatly increase the administrative burden for Member States and companies.

219 This can be illustrated by the administrative efforts needed in the UK after BREXIT. They have replicated the EU system with important needs of staff and resources on the administrative side and industry trading in both the UK and the EU27 now have to deal with two phase-downs and two reporting systems and there is no environmental gain involved.

170  A joint approach across Member States makes it easier to enforce F-gas rules. One Member State noted specifically that common elements such as definitions, labelling, etc. would be complicated to agree at national level.
 Common legislation has also enhanced the market for new alternatives (Stakeholder interviews). Finally, given the rules of the common market, ensuring compliance with the Kigali Amendment (e.g. consumption reduction rules, import and export licensing) at Member State level in an EU without borders would be very difficult if not impossible to do.
A5.7 Conclusions The Regulation has been mostly effective in meeting its original objectives and the individual measures were found to work well together to meet the objectives. The Regulation has driven a significant reduction in the supply and emissions of F-gases, in particular the HFCs, predominantly through a switch to gases with lower GWP, but also through the uptake of natural alternatives. The effectiveness of the Regulation as a whole would have been impacted if one or more of the measures had not been included. In particular the phase-down and accompanying prohibitions have had good synergistic effects and have been strong drivers for innovation. Leakage rates from equipment have declined and reclamation rates have gone up. That said, forward modelling indicates that the emission reductions in 2030 will be lower than expected in the 2012 impact assessment which was aligning measures with the outdated 2030 climate target. There are also continuing emissions from sectors or substances not yet covered by the phase-down measures or prohibitions or not yet included in the scope, and in some sectors high global warming potential (GWP) F-gases continue to be used where this could be avoided due to technological progress.
The Regulation enabled a joint EU negotiation position and the tabling of a proposal for a global phase-down. It also established the EU as a frontrunner in taking measures on F- gases and ensured EU global credibility on this issue. Since the adoption of the Kigali Amendment to the Montreal Protocol, the Regulation is the main instrument to ensure compliance with the international obligations to date. In addition, the Regulation has safeguarded high environmental ambition by maintaining the same obligations across the EU, while also ensuring a level-playing field for concerned industries and undertakings. There are some challenges, however, which include safety standards that are not fully updated according to technological progress and hinder the use of climate-friendly alternatives, as well as the lack of personnel that have skills to install and maintain equipment with climate-friendly alternatives. In addition, illegal trade and the multiplication of bulk importers pose a challenge to the future implementation of the phase-down. Finally, some stakeholders express concerns about the increased use of H(C)FOs and potential effects related to degradation products such as TFA in the atmosphere.

171 The Regulation has resulted in significant emission savings at very low abatement costs linked to technological change (i.e. 6 € per tonne CO2e), even with minor gains in energy efficiency. Higher HFC prices imply higher gas cost to end-users that are still using HFCs. These costs are distributed over a large number of end-users and were offset by equivalent benefits to companies in the HFC supply chain. Most of these costs accrued in the refrigeration and air conditioning sector, where they represented 1% of the investment and operation costs of related equipment. Effects on the overall economy were very small and likely to have been slightly positive in some affected sectors (e.g.  service sector and equipment manufacturing). While there are different patterns in use of different types of equipment in the northern and southern Member States, overall the costs were quite balanced between the two regions when taking into account the size of the population. Administrative costs were considered proportionate by stakeholders and are of a lower magnitude than the costs of technological change. A few areas linked to the reporting and verification obligations were identified where unnecessary burden may be reduced. The pandemic has been challenging to the sector, even though in some areas business profited (e.g. food retail, energy transmission). However, it has apparently been rebounding well in recent months.
The high-level objectives of the Regulation continue to reflect and respond to the fundamental need of the EU to reduce demand and emission of F-gases. However, developments over the period of implementation, specifically the European Green Deal and a changed international policy environment (Paris Agreement, Kigali Amendment), pose a challenge to the Regulation in its current form, and require more emission reductions as well as some adaptions to be fully compliant with the Montreal Protocol in the future. There are also some relevant gaps in the substances and activities covered by monitoring and reporting measures. Finally, there is currently no flexibility to react in case of undesirable effects of the quota system such as lack of supply.
The Regulation interacts with a number of regulatory instruments, such as other EU policy areas but also international agreements. In general, the Regulation was found to be externally consistent and coherent with other interventions that have similar objectives, although there are areas that have led to some incoherencies that should be addressed. An important area is customs law, where synergies with the EU Single Window Environment for Customs should be exploited and efficient border controls facilitated to stop illegal activities. Another important synergy is with the REACH Regulation where Member States-led efforts are underway to look into the relevance of persistent degradation products from H(C)FOs. Internal consistence of the Regulation is good, but some clarifications and alignments are needed. The Regulation has a clear added value by implementing co-ordinated action at EU level to ensure compliance with the Montreal Protocol and the EU climate goals. The Regulation has increased ambition relative to what would have been likely achieved as the sum of individual actions at national levels. Taking co-ordinated action at EU level has increased the effectiveness of the policy to reduce F-gas demand and emissions. Ensuring compliance with the Kigali Amendment at Member State level in an EU without borders would be very difficult if not impossible to ensure. Alongside additional

172 environmental improvements, a key benefit is the creation of a more efficient and less burdensome regulatory environment for the EU F-gas industry and helping to minimise costs during the technology conversion.

173 A5.8 Evaluation questions and link to intervention logic Criteria Evaluation questions and related sub-questions Link to intervention logic 1) Effectiveness 1. To what extent have the objectives of the Regulation been met? To what extent can the observed effects be attributed to the Regulation and its individual elements? a. To what extent have the ‘HFC Phase down’ and ‘Placing on market and control of use’ requirements discouraged the use of F-gases and encouraged use of alternatives?
i. What has been the combined effect? ii. What has been the contribution of the ‘Placing on market and control of use’ requirements (Article 11-13)?
iii. To what extent have the ‘HFC phase down’ requirements (Articles 14 to 18) discouraged the use of F-gases and encouraged use of alternatives? b. How effective has the Regulation been in preventing leakages of F-gases (Articles 3 to 8 and 10)? c.  How effective have the reporting and verification obligations (Articles 19 to 20) and the F-gas Consultation Forum (Article 23) been in supporting the achievement of the objectives of the Regulation? d.  To what extent have Member State actions contributed to the achievement of the objectives (covering Articles 9 and 25)? e. How effective has the Regulation been to enhance sustainable growth, stimulate innovation and develop green technologies by improving market opportunities for alternative technologies and gases with low or zero GWP? f.  To what degree has the Regulation facilitated convergence towards a potential future international agreement? Analysis of effectiveness seeks to determine how successful EU action has been in achieving or progressing towards the original objectives of the intervention. Intervention logic: compares the ‘Effects’ of the F-gas Regulation (including ‘Outputs’, ‘Results’ and ‘Impacts’) to its ‘Objectives’ 2. What factors have contributed to or hindered the achievement of the objectives of the Regulation? What have been the unintended/unexpected effects? a. What external factors have contributed to the success or not of the Regulation? b. Have there been any unintended/unexpected effects of the intervention, including on trade of F- gases? 2) Efficiency 3. What have been the benefits of the Regulation? a. What environmental benefits has the Regulation delivered?
b. What economic benefits has the Regulation delivered? c.  What social benefits (health and safety) has the Regulation delivered? Analysis of efficiency compares how proportionate the benefits of the F-gas Regulation have been to the costs. Intervention Logic: compares ‘Inputs’ to ‘Outputs’, ‘Results’ and ‘Impacts’ 4. What have been the costs of the Regulation? a. What has been the change in operative and other costs to businesses of undertakings? How are

174 these costs split by sector and EU Member State? b. Which administrative costs have been incurred by undertakings? c.  What have the environmental costs of the Regulation been? d.  Have there been any other (indirect) economic costs? e. What have the social costs of the Regulation been? 5. To what extent have the costs been proportionate to the benefits? 6. Are there any unnecessarily complicated or burdensome aspects and areas of excessive costs? What are the reasons and magnitude of any identified inefficiencies? 3) Relevance 7. To what extent do the objectives of the Regulation continue to reflect and respond to the needs of the EU? a. Does the problem persist? b. Does the Regulation cover all relevant F-gases, sectors and sub-sectors that use F-gases, as well as all actors in the F-gas supply and use chain?
c.  Does the Regulation continue to sufficiently contribute to EU climate change goals (also with view to the ambition raising as part of the EU Green Deal)? d.  Does the Regulation sufficiently safeguard compliance with international commitments related to the Montreal Protocol (Kigali Amendment)? Analysis of relevance seeks to ascertain whether the original objectives of the intervention are still representative of the current needs of society. Intervention logic: links ‘Objectives’ back to original ‘Needs’ 8. Has the Regulation been flexible enough to respond to new or emerging issues, such as technological or scientific advances or other changes?
4) Coherence 9. To what extent is the Regulation externally consistent and coherent i.e. with other interventions which have similar objectives?
Analysis of coherence seeks to identify any internal gaps, overlaps, inconsistencies or complementarities within the F-gas policy framework but also externally with other EU/international policies Intervention logic: Links ‘Objectives’, ‘Inputs’, ‘Activities’ and ‘outputs’ to ‘External factors’, in particular other policies; as well as to some of the ´operational objectives’ (e.g. efficient mechanism) 10. To what extent is the Regulation internally consistent and coherent, in particular across its implementing acts? How well do the different provisions of Regulation operate together to achieve its objectives? 5) EU added value 11. To what degree has the Regulation enabled successful and cost-effective EU action regarding the reduction of F-gases beyond what would have been possible at national level?

Analysis of EU added value aims to identify where the implementation of the Regulation at EU level has exceeded the value which could have been achieved at Member State level. Intervention logic: Considers whether ‘Results’ and ‘Impacts’ could have been achieved without the ‘Inputs’, ‘Activities’ and ‘Outcomes’ specific to the F-gas Regulation

175 A6 Individual Measures Table 26 below lists the detailed measures included in the three options, arranged by policy objectives (A, B, C, D and E) and policy responses (A1, A2, ..). The singular measures are described in detail further below. Table 27. Individual measures considered under the three options Objective A – Achieving additional emission reductions A1: Increasing the ambition of the HFC quota system (mutually exclusive)  * Option 1: Steps included after 2030 simply to ensure long-term compliance with the HFC consumption schedule of the Protocol under all circumstances
 * Option 2 Steeper phase-down assuming replacement at proportionate costs  * Option 3 Steepest phase-down based on maximum replacement of high GWP HFCs as soon as it is technically possible A2: New prohibitions for F-gas products and equipment  Prohibit placing on the market and installation of fire protection equipment with F-gases (i.e. Annex I) from 1 January 2024, except if required to meet safety rules. For enforcement it necessitates labeling of F-gas equipment to be used in accordance with safety rules.
 Prohibit placing on the market and installation of small hermetic RAC70 systems (e.g. cream and ice cream makers, (slushed) ice makers, cooled trolleys, water coolers, juice makers, milk coolers (attached to coffee machines), beer and wine coolers, heat pump tumble driers etc.) with F-gases (i.e.  Annex I) from 1 January 2025.
 Prohibit placing on the market and installation of RAC equipment with F-gases (i.e. Annex I) from 2024 for the existing prohibitions in Annex III [extending HFC prohibition (preemptively) to PFCs]
 Prohibit placing on the market and installation of the following stationary AC from 1 January 2025
 of a rated capacity of up to 12 kW with F-gases with a GWP of 150 or more except if required to comply with safety rules  of a rated capacity of more than 12 kW with F-gases with a GWP of 750 or more except if required to comply with safety rules For enforcement it necessitates labelling of F-gas equipment to be used in accordance with safety rules.
 Prohibit servicing refrigeration equipment with charge sizes under 40 tCO2e with F-gases (i.e.  Annex I) with a GWP above 2500. [Remove the exemption from an existing prohibition (Article 13(3)]
 Prohibit personal care products (creams, mousses, foams) with F-gases from 1 January 2024:
 Prohibit placing on the market and installation of skin cooling equipment with F-gases 1 January 2024 except if required for strictly medical reasons. This necessitates labeling of HFC equipment for enforcement.
 Prohibit placing on the market and installation of the following electrical switchgear, unless evidence is provided that no other suitable alternative is available on technical grounds:  medium voltage switchgear for primary distribution, differentiated by voltage level – up to 24 kV (2026) and 24-52 kV (2030), with insulating or breaking medium with GWP > 2000
 medium voltage switchgear for secondary distribution differentiated by voltage level – up to 24 kV (2026) and 24-52 kV (2030), with insulating or breaking medium with GWP > 2000  high voltage switchgear, differentiated by voltage level – 52-145 kV and up to 50 kA short circuit current (2028) and more than 145 kV or more than 50 kA short circuit current (2031), with insulating or breaking medium with GWP > 2000

70 As throughout this document, RAC and AC includes heat pumps.

176  Prohibit the use of desflurane as inhalation anesthetic from 2026 unless there are no suitable alternatives for the intended use A3: Extend requirements for prevention of F-gas emissions  Extend prevention requirement to some substances listed, or proposed to be added (H(C)FOs, NF3, SO2F2 and fluorinated ethers used as anesthetics)
 Extend prevention requirement to all relevant actors during production, manufacturing, storage, transfer and transport [currently only required for EU producers and equipment operators] A4: Recovery obligation of insulation foams blown with HFCs  Require destruction or reuse of HFCs in metal-faced panels from 1 January 2024  Require destruction or reuse of HFCs in laminated boards in built-up structures and cavities from 1 January 2024, unless infeasibility is proven by the building owner/demolition company

Objective B – Seeking alignment with the Montreal Protocol B1: To achieve full alignment, remove some exemptions not foreseen by the Montreal Protocol  Remove exemption from the HFC quota system for Metered dose inhalers (MDIs) (Art. 15(2))  Remove exemptions from the HFC quota system (Art. 15(2))  Etching of semiconductor material or cleaning of chemicals vapor deposition chambers within the semiconductor manufacturing sector
 Military use B2: To achieve full alignment, remove some thresholds not foreseen by the Montreal Protocol  Remove quota system thresholds for placing HFCs on the market (Art. 15(2))  Remove reporting thresholds for HFC production, import, export, and destruction (Art. 19) B3: To achieve full alignment, make separate phasing down of HFC production
 Include a separate HFC production phase-down at entity level that is mirroring the Protocol’s
reduction schedule (see Annex A8) B4: Disallow trade with countries that have not ratified the Kigali Amendment  Prohibit import and exports of bulk HFCs from/to any country not party to the Kigali Amendment (2033 for Option 1; 2028 for Options 2 and 3)

Objective C – Improving implementation and enforcement C1: Extend certification and training for RAC71 technicians, adding energy efficiency and low-GWP alternatives
 Extend certification and training programmes to cover energy efficiency aspects  Extend training and certification programmes to cover equipment with H(C)FOs and other relevant alternatives (e.g. CO2, ammonia, hydrocarbons)  Extend the coverage of the certification requirements for personnel and undertakings that carry out installation/servicing/maintenance/repair/decommissioning of RAC equipment containing H(C)FOs
C2: Including detailed rules to empower customs and surveillance authorities in the EU Member States and facilitate the use of the EU “Single Window environment for Customs”  Empower the EC to require specification of the 8/10-digit TARIC code for special custom procedures when this becomes feasible under customs rules
 Limit the release of free circulation, even when following transit (T1) or similar procedures, to certain well-equipped destination offices with expertise in F-gas requirements  Prohibit physical entry for goods that are prohibited from being placed on the market, including non-

71 RAC: refrigeration and air conditioning (including heat pumps)

177 refillable cylinders with HFCs and HF(C)Os. This includes online sales.
C3: Strengthening obligations of economic operators to prevent illegal trade  Require that producers and importers hold sufficient quota at the time of release for free circulation/placing on the market
 Require that importers have quota-exempted quantities labelled at the moment of POM/physical entry as “exempted from quota”  Require Member States to impose minimum penalties for non-compliance with the quota system  Require labelling of H(C)FO, NF3, SO2F2 and fluorinated ethers used as anesthetics, as well as MDIs
 Strengthen the obligation on destruction of HFC-23 by-production to require evidence to be presented at import that HFC23 has been destroyed during the production process  Require documentation for downstream sales of bulk HFC/F-gases (e.g. “declaration of conformity”) and record keeping  Require mandatory certification for importers of bulk HFCs  Requires mandatory certification for natural persons and undertakings selling bulk F-gases online C4: Ensuring that only genuine F-gas traders participate in the quota system  Remove right of authorising quota for new entrant companies (Art. 18(2))
 Align the establishment of the annual declaration-based quota allocation with the frequency of the quota allocation based on reference values (i.e. for three years)
 Introduce a moderate quota price of initially €3/CO2e and use the revenue to cover administrative costs related to running the quota system and return the residual amount to the EU budget
Include flexibility to adjust in case of major HFC market disruptions and withhold some quantities when allocating quota with a view to distributing the amounts later
Participation condition for companies (e.g. experience in trading with chemicals)

Objective D – Improving Monitoring and Reporting D1: Reporting scope – substances  Include new substances in Annex I  New PFCs  Include new substances in Annex II
 sulfurylfluoride (SO2F2)  4 new H(C)FOs  2 Inhalation anesthetics
 A number of fluorinated ethers and alcohols
 2 fluorinated ketones and fluoronitriles  3 other Fgases : Perfluorotripropylamine (C9F21N), Perfluoro-N-methylmorpholine (C5F11NO), Perfluorotributylamine (PFTBA, FC43, C12F27N) D2: Reporting scope - F-gas related activities  Include recipients of quota-exempted HFCs  Include undertakings performing reclamation of F-gases  Include exporters of products and equipment with F-gases (plus registration obligation)  Include undertakings performing recycling (in addition to reclamation) of F-gases D3: Emission reporting  Option 2: Encourage EU Member States to use electronic reporting systems for collection of F-gas service intervention, technicians, sale of non-hermetic equipment and emissions data (mutually exclusive)   Option 3: Require EU Member States to use electronic reporting systems for collection of F-gas service intervention, technicians, sale of non-hermetic equipment and emissions data (mutually

178 exclusive)  Reporting obligations for operators of switchgear and electrical equipment with regard to SF6 emissions
D4: Reporting process and data verification (see also Annex A10)  Add obligation to provide NIL reports for quota holders
 Add obligation to submit verification reports for bulk HFCs  Lower the threshold for verification of bulk HFCs placed on the market
 Relax the threshold for verification of placing on the market products and equipment and align with verification of bulk  Align reporting and authorization thresholds for placing pre-charged products and equipment on the market  Align reporting and verification dates between bulk and pre-charged products and equipment
 Introduce an electronic verification process (separately for bulk and pre-charged products and equipment)

A6.1 (A) Measures to increase ambition A1. Phase-down ambition The Regulation’s main policy driver to reduce HFCs is the quota system (“phase-down”). Option 1 is having the least ambitious phase-down (simply compliant with the Protocol), Option 2 has a more ambitions phase-down (entailing abatement costs up to 390€ per tCO2e up to 2050 excluding a few sub-sectors with very high marginal abatement costs) and Option 3 has the steepest phase-down measures (maximum technical feasibility considering also safety and energy efficiency aspects, but not costs). Whereas the current Regulation is defining the steps in percentages of a baseline, for the three options the maximum annual quantities of HFCs that may be placed in total on the EU market each year in the future are given for better transparency, see Annex A7 “Operationalising the HFC placing on the market (POM) quota system (phase-down) going forward” for details.
The quota system directly affects producers and importers of bulk and importers of HFC cooling equipment. Potentially higher HFC gas prices for equipment that does not use climate-friendly alternatives and higher prices on equipment using alternatives due to technological conversion are mostly borne by equipment end-users such as in the food retail sector (cooling), AC users (building owners) etc. The quota system is implemented by the European Commission. Member States have to enforce compliance including through custom controls and market surveillance. Authorities and other non-industrial stakeholder mostly agree to increase the level of ambition, whereas F-gas producers and some stakeholders of the refrigeration and AC industry consider that the current level of ambitions is sufficient. Those that disagree are the manufacturers and users of innovative, Objective E – More Coherence and Clarifications All 3 options include the envisaged improvements (see Annex A6.5) to make the Regulation more coherent and clear.

179 alternative equipment, especially those employing natural alternatives with very low GWP (CO2, hydrocarbons, ammonia etc.). A2. Additional prohibitions for equipment and products The new prohibitions on equipment and products concern mostly placing on the market or installation as such equipment. There are also two use bans considered72. They typically are specified to cover all F-gases73, but in practice they target a specific group of F-gases only. The prohibitions related to the RAC sectors, fire protection, personal care products and skin cooling equipment are directed towards HFCs and they thus complement the phase-down. While HFCs can be safely replaced, stakeholders have pointed out as regards air conditioning equipment that there remain technical barriers in building codes and in standards that prohibit substances with certain characteristics (e.g.  flammability) that apply to alternatives with a GWP below 150. Therefore, for two prohibitions there is an exemption allowing HFCs with a higher GWP relating to safety rules. Since, the actor placing the equipment on the market cannot always know where it will be used, it is necessary to combine these exemptions with a labelling requirement as well as a prohibition to install the high GWP equipment. Some stakeholders agree that further HFC prohibitions are an essential complement to the phase-down, whereas others consider there is no need to increase ambition and/or that the phase-down should be the only measure targeting HFCs to allow maximum flexibility for industry.
The prohibition relating to electrical switchgear is targeting SF6 and restricting the use of one inhalation aesthetic is targeting a substance with a high GWP for which there are good alternatives. These measures will achieve additional emission savings on top of those achieved by the phase-down measure.
Based on cost considerations, the number of additional prohibitions varies between the three options (see Table 1). Prohibitions need to be enforced by Member States, including through border controls and market surveillance. In case there are exemptions to the prohibitions, the products will have to be labelled to facilitate enforcement. As regards SF6, manufactures of switchgears have been calling for prohibitions to give a clear signal whereas some users of switchgears such as network operators have called for longer transition times.
A3. Add additional requirements for preventing F-gas emissions In Options 2 and 3, emission prevention measures (i.e. Article 3) that already apply to gases in Annex I will also become mandatory for gases in Annex II section I (i.e.  H(C)FOs) and NF3, as well as for the substances sulfurylfluoride and fluorinate ethers (to be newly added by measure D1) and others used as inhalation anaesthetics (isoflurane, norflurane (both newly added), in addition to desflurane and isoflurane (already in Annex

72 Use in personal care products and the use of one anaesthetic 73 To avoid that in the future another type on F-gases would be used, e.g. replacing HFCs with PFCs in cooling equipment

180 II and where already not prohibited by measure A2)). Intentional releases that are not technically necessary will be prohibited and operators must take precautions to prevent unintentional releases.
Sulfurylfluoride is used most as post-harvest fumigation agent for pest control in e.g.  hardwood and softwood in containers destined for export74. Despite its high GWP of 4732 and increasing use, the emissions of sulphurylfluoride are not yet monitored or regulated. Fluorinated ethers are regularly used as inhalation anaesthetics during operations in human medicine. In Europe, this use is limited to three substances, desflurane (HFE- 236ea2; GWP 989, Regulation; GWP 2 590, AR6), sevoflurane (HFE-347mmz1; GWP 216, AR5; GWP 195, AR6) and isoflurane (HCFE-235da2; GWP 350, AR4; GWP 539, AR6; ODP 0.03, WMO 2018). According to medical experts, for human medicine desflurane and isoflurane are not needed in ca. 99 % of cases, as practically all operations with the indication for use of inhalation anaesthetics can be conducted with sevoflurane. Isoflurane is still used, mainly because it is the cheapest fluorinated ether. All gases do, however, differ in certain clinical aspects, such as duration of onset and offset, and how well tolerated they are by the patient. Isoflurane is routinely used in veterinary medicine and usually fully vented to the atmosphere, according to information from practitioners and clinics. Apart from that, it is also the main gas used in the newly obligatory anaesthesia of mail piglets during castration. Furthermore, the requirement to take precautionary measures will be extended to all relevant companies in the EU carrying out production, manufacturing, storage, transfer or transport of gases and F-gas equipment (already currently in place for EU gas producers and equipment operators). Emissions from refrigerant container management and handling are estimated at 2-5 % of the entire refrigerant market by industry experts. This places some obligations on EU importers, distributors, and EU manufacturers to handle these substances with care, but such care should already be the case today under best practice refrigerant management procedures. In general authorities and also the relevant industry actors appear to support these type of measures.
A4. Recovery obligations for insulation foams It becomes mandatory to recover/capture and destroy HFCs by incineration (or reuse the foam) for certain types of foams75 found in construction and demolition wastes (See Annex A15 for detail). In this way, HFC quantities contained in foam banks will not be emitted at the end of life of these construction products but will need to undergo an organized recovery and recycling process to prevent emissions. This is fully aligned with a key policy measure suggested for a review of the ODS Regulation and will lead to

74 There is also, to a much lesser degree, structural fumigation of dried fruits, tree nuts, grain flours and timbers.
75 An insulation foam consist of a matrix material and a gas phase. During production a liquid was “blown” with HFCs that created the foam matrix after hardening. HFCs remain in the gas “bubbles” of the foam. Foams have long lifetimes of 50 years and more.

181 comprehensive treatment of end-of life foam products. Under Option 1 the obligation concerns only sandwich panels. Under Option 2 and 3 the obligation applies to both sandwich panels and laminated boards, however as regards the laminated boards76 the obligation does not apply if the building owner and/or the contractor performing the works can provide proof that such recovery is infeasible and is keeping that proof for five years. Member States would need to enforce this obligation. This effort may often be linked to other requirements in existing national legislation on renovation/demolition works, waste policy and the need for separation of materials, in particular in light of objectives for a circular economy. There are also important synergies with the ODS Regulation, where this measure leads to important emission savings. A joint collection of ODS and HFC foams would facilitate the recovery and keep costs for auditing and separation down. In general, the relevant industry stakeholders appear to support these type of measures (as confirmed by the recent consultations for the review of the ODS Regulation).
A6.2 (B) Measures to align with the Protocol B1. Removal of exemptions In all options the exemption for MDIs from the quota system is removed, as it is not provided for in the rules of the Montreal Protocol and the quantities are significant77. MDIs currently use HFC-134a as a propellant, but HFC-227ea is also used in some cases. According to the relevant stakeholders (i.e. gas producers and some MDI manufacturers), MDIs with the more climate-friendly HFC-152a (GWP 124) should be available on the market starting in 2025 after an extensive period of testing, homologation and necessary approval by the European Medicines Agency that is currently ongoing. Research is also currently conducted on the safety of the unsaturated HFC-1234ze (GWP 7) as another alternative for use in MDIs.78 Both these options would not require a change of usage by the patients that are used to the current HFC MDI inhalers. These new options complement other existing options such as dry powder inhalers and soft mist inhalers which are also suitable alternatives, but may be more difficult to use or get used to by patients depending on the personal situation.
In the absence of a policy driver, the market uptake of these alternatives is expected to be rather slow. Assumptions for the modelling were based on industry information and for the baseline scenario a decrease in the share of HFC-134a in new inhalers from 92% in 2020 to 48% in 2050 was assumed. For HFC-227ea, the share was assumed to decrease from 8 to 2 %. Consequently, a share in new inhalers with HFC-152a from 1 % in 2026 to 50 % in 2050 was assumed in the baseline scenario.

76 Feasible to recover are foams installed in cavity or built-up structures, as well as block foams used in district heating or cooling pipes.
77 In addition, HFCs amounts for MDI use have grown by about 45 % from 2015 to 2019 and have reached levels of over10 Mt CO2e per year 78 There are also other existing inhaler options to patients such as dry powder inhalers (DPI) or soft mist inhalers that do not use F-gases.

182 The MDI exemption concerns only a few HFC producers and MDI manufacturers. If the exemption is removed the latter may experience higher gas prices unless they switch to alternatives. The price of the gas is however only a very small part of the price of the overall product (less than 1%) which is mostly determined by the medicinal agent. On the other hand, when exemptions are removed, importers and producers will no longer be required to include special labelling for such quantities. Some producers of alternatives and MDIs would like to see a policy driver to support their actions of introducing alternatives more quickly. Others would like to have more time. Authorities and other stakeholder generally are supportive.
In order to account for the HFC quantities needed, the calculation rules for the determination of reference values for the HFC suppliers to the MDI sectors need to be amended. As a principle, the reference values for companies supplying HFCs to the MDI sector should be based on recent available data for the average POM in the EU-27 (i.e.  2020-2021). In the case of HFC suppliers for (previously exempted) MDIs, this data is available from company reporting under Art. 19 of the Regulation. The quota allocated to HFC suppliers of the MDI sector for the first reduction step 2024-2026 under a revised Regulation will equal 100% of the average e.g. 2021-2022 POM. For subsequent reduction steps, the relative reductions for the MDI sector will be proportionate to the reductions applicable to all other HFC use sectors (see also Annex A7). It means therefore that the sector will experience a gradual introduction of the alternatives, as the first phase-down step will not come before in 2027. This step will increase prices which will be a soft driver for change (given that the gas price is only a very small increment to the price of the product). Under these circumstances an insufficient of supply of HFCs to this sector is improbable. Nonetheless, in the unlikely event of a major HFC market disruption, measure C4 would provide the Commission with the flexibility to react and take countermeasures.
Option 3 also removes the exemptions for the much smaller semiconductor and military sectors. At present, no viable measures to reduce HFC demand in semiconductor industry for etching or cleaning of chemicals vapour deposition chambers are available. The EU semiconductor manufacturing industry is supplied with HFCs by specialised gas traders providing special-grade gas qualities. Those specialised trades have no or low reference values. If included in the quota system, these gas traders would need to rely on quota transfers from other quota holders in order to maintain HFC supply in case of constant HFC demand. A lift of the quota exemption for semiconductor manufacturing could thus possibly contribute to a supply risk for the semiconductor industry, beyond rising HFC prices. The calculation approach for determining reference values would therefore need to follow a similar approach as that for MDIs above to include the specialised HFC suppliers. This is also the case for military use which, based on reporting data, are very small amounts. B2. Removal of thresholds
In all options the phase-down exemption for annual imports below 100 tCO2e (Art. 15(2)) and the minimum thresholds for reporting on production, imports, exports, and

183 destruction (Art 19) for HFCs are removed, as they are not compatible with the Protocol. This places a burden on companies dealing with small quantities of HFC. However, in an estimation based on import data in Poland these appear to be only very few companies79. It may also limit illegal imports as these thresholds have allegedly been exploited to cover up illegal activities in the past. In the consultations stakeholders supported these type of measures. B3. Production phase-down In all options a separate HFC production phase-down mirroring the Protocol’s requirements is included. This will give production rights and annual quota to seven80 producing entities in four Member States that were active in the years 2011-2013 that were used for the Protocol’s production baseline. Similar to the ODS Regulation, flexibility for industrial rationalization will be possible. Further details are described in Annex A8 “Separate production phase-down”. The Member States and producers concerned appear to support this measure. See Annex A8 for further detail. B4. Disallow trade with Parties that have not ratified the Kigali Amendment In all options HFC bulk imports from and exports to countries that have not ratified the Kigali Amendment will be prohibited from 2033 (Option 1), and 2028 (Option 2 and 3). This measure would affect, in the same way, EU importers of gases sourced from non- Parties, as it affects EU exporters to such countries. For Options 2 and 3, this is slightly anticipating the Kigali Amendment deadline of 2033 for such trades, incentivising remaining Parties to implement it as soon as possible, which would save up to 0.4 degree Celsius of climate warming. It therefore represents an important contribution to reach the goals of the Paris Agreement to stay well below 2 degrees Celsius of climate warming and make efforts to reach 1.5 degrees Celsius. The latest scientific findings on climate change clearly indicate the need to limit the warming to as little as possible and emphasise that reaching the 1.5 degrees Celsius goal is crucial to avoid dangerous consequences. While there are differences in the rules for developed and developing countries in the Kigali Amendment, all countries have a first compliance step on HFC consumption already before 2033 as well as a baseline before 2025, so that early ratification is needed to ensure full implementation of the Kigali Amendment. So far 129 out of 197 parties to the Montreal Protocol have ratified the Kigali Amendment. Given that the Amendment was adopted in 2016, 12 years should be enough time to ensure timely completion of the national procedures to enable ratification by 2028 for the remaining Parties. In general, industry, authorities and other consulted stakeholders appeared to support these measures.

79 The Polish database (which does not apply a threshold) on imports to Poland (both from outside EU and from EU countries) did not have any entries below the threshold of Article 19 (database consulted in 2019) 80 Only five of which currently have on-going HFC production (in DE and FR)

184 A6.3 (C) Measures to improve implementation and enforcement C1. Extension of the RAC certification programmes
Member States will be required to include new aspects in the certification programme and training for technicians covering refrigeration, AC and heat pump equipment81. Under all options, know-how on energy efficiency must be included (Art. 10(3)). Options 2 and 3 also require that the programme include certification and training on HFC alternatives such as H(C)FOs and naturals (e.g. hydrocarbons, CO2 and ammonia), including practical training (Art. 10(1)). In addition, it becomes obligatory that the technicians hold the relevant certificate when performing certain activities on AC equipment containing H(C)FOs (Art. 11(4)). Currently only half of the current training centres are able to offer training programmes on the safe use of F-gas alternatives (including flammable, high-pressure and/or toxic refrigerants). The training programmes are spread unevenly across Member States. Thus, under this option Member States would have to update their certification programmes and ensure that training is available, if that is not the case already. Technicians will be certified with additional skills and may have to acquire a certificate even if they install equipment with H(C)FOs only. Industry stakeholders, in particular the association of service technicians AREA, strongly support these measures. C2. Capacitate Customs to fight illegal imports All options require that traders specify the 8-digit CN or 10-digit TARIC82 code for relevant customs procedures83 (already the case for “release for free circulation”). This is needed to allow an identification of the F-gas and will thus enable significantly better controls as customs can identify shipments as F-gas policy relevant and carry out risk- based controls. Furthermore, goods with F-gases that may not be placed on the market in the EU will also be prohibited from physical entry into the customs territory of the Union to make illegal circumvention of custom clearance more difficult, including online and from outside the Union. Surveillance authorities are required to monitor goods offered online. In addition, release for free circulation, even if following the use of special custom procedures, will only be permitted for goods sent to particular destination custom offices specially equipped for and knowledgeable on F-gases, to limit the feasibility of illegal activities. This may affect the logistics of legitimate traders but should not affect the volumes of trade. Member States would need to identify the customs offices that are equipped to handle HFC trade to ensure good control. Customs should control, using risk-based approaches, if the conditions are provided for such shipments. All stakeholders strongly support these measures as they are essential to fight illegal imports.

81 in accordance with Commission Implementing Regulation (EU) 2015/2067 82 CN = Combined Nomenclature: https://ec.europa.eu/taxation_customs/business/calculation-customs-duties/customs-tariff/combined-nomenclature_en TARIC = Integrated tariff of the EU https://ec.europa.eu/taxation_customs/business/calculation-customs-duties/what-is-common-customs-tariff/taric_en
83 already the case for “release for free circulation”

185 C3. Obligations of economic operators to fight illegal imports All three options require producers and importers to have sufficient quota at the time of placing on the market instead of using an end-of-year balance that includes a deduction of exported quantities. This enables customs to stop imports before entry, instead of only relying on ex-post controls. Quota exceedance will be checked automatically via a link between the CERTEX/Single Window Environment for customs and the F-gas Portal. This approach may affect the logistics of some companies doing imports and exports, as later exports in the same year can no longer compensate for high imports in the beginning of the year. To close any loopholes, gases exempted from the phase-down should be labelled as such already at the time of entry.
Member States must already have proportionate effective and dissuasive penalties for all infringements of the Regulation. Option 2 and 3 specify that non-compliance with the rules of the quota system must be fined with an amount that is several times higher than the market value of HFCs illegally imported in bulk or contained in the imported equipment. The Directive 2008/99/EC on the protection of the environment through criminal law is being reviewed at the same time as the Regulation and is likely to also impose criminal sanctions on such offenses. These rules aim to have a deterrent effect on such activities. Options 2 and 3 are also requiring that undertakings must provide evidence at the moment of placing on the market that HFC-23 was destroyed or captured during production in line with the Art. 7(2). As this is an existing obligation, the measure would only clarify when the evidence should be produced as well as specifying what such evidence could be (e.g. a declaration of conformity backed up by supplementary information where the gas was produced and how emissions of HFC-23 by-production were prevented during the production process). This is done to make the obligation more implementable for authorities, while not placing any substantial burden on companies that are compliant with current rules, except for a small admin burden of drawing up the declaration of conformity. This obligation affects both EU-based producers of gases as well as EU importers. Furthermore, a number of substances from Annex II would require labelling, namely HF(C)Os, NF3, as well as SO2F2 and inhalation anaesthetics (to be added to the Regulation, see D1 below). MDIs should be labelled with information to inform the users that they contain strong greenhouse gases, in analogy to other products and equipment. Option 3 also adds a mandatory certification similar to those currently issued to RAC technicians for importers of gases and for online sellers. This means that the latter two would have to get their personnel trained and certified. The option provides better overview over importers/online sellers and their personnel for competent and surveillance authorities and ascertains that handling of gases is appropriate. Finally, Option 3 would also require that downstream sales (i.e. sales within the EU, after import) of bulk HFCs would need to be documented and a certificate of conformity provided on their origins and compliance with the quota system. This places a burden of record

186 keeping on distributors, service personnel and end-users. Member States would need to ensure compliance. Stakeholders generally support the measures in Option 1 and 2. The Option 3 measures are supported by the large F-gas producers/importers who are concerned about fighting illegal trade and NGOs, and some Member States. Affected companies are less supportive.
C4. Limitation to genuine F-gas traders All options include the measure to limit the right of authorising equipment importers to use one`s quota (i.e. essentially selling one’s marketing rights in that year), to incumbent84 companies, as this right has been misused by new entrant companies85. Furthermore, instead of providing the possibility to apply for quota from the reserve every year, such applications will instead cover a 3 year period. A yearly application has led to a multiplication of mailbox companies without previous experience or connection to the gas trade, limiting the availability of quota for those new entrants who required it for their on-going businesses. The measure should also reduce the administrative burden of companies as the yearly application cycle is replaced with a 3-year cycle. Options 2 and 3 add a price per ton of CO2 allocated which must be paid by the companies that receive quota (i.e. gas importers in the same way as EU-based gas producers), in order to ascertain that participants have a legitimate interest in the HFC trade and to remove current gains of some stakeholders from the hitherto free distribution of a good that has a distinct value. Equipment importers and EU equipment manufacturers as well as end-users have pointed out that with the existing system (free allocation of quotas) they are asked to pay the bill, while gas importers, EU gas producers and others make an additional benefit out of increased HFC prices on the EU market. The price will be set at a moderate level to prevent that it is being passed on to the end-users. As for the proceeds, it seems preferable to simply assign the revenue to the EU budget after all related administrative expenditure is covered.86 The European Commission will seek external assistance such as through an agency such as ECHA to handle the revenue collection. See Annex A7.3 for further detail. The Commission should have some flexibility to adapt quota allocations e.g. if the quota allocation price is having unintended effects, if there is a proven serious issue on the market linked to the quota system (e.g. a shortage of gas availability of critical infrastructure such as

84 These have a minimum of two years of participation in the quota system. 85 Currently these companies needed to prove physical supply of the gas, a requirement that has been difficult to ascertain, and has been circumvented in different ways, i.e. inconclusive evidence, forged evidence etc. 86 Auctioning of quota has been discarded. HFC quotas are rights to sell HFCs (not to emit as is the case in the EU Emission Trading System) and an auctioning price would reflect the willingness to pay for higher market shares and would most likely lead to higher market concentration. Also, all quotas could be acquired by non-EU business, possibly state-funded, and lack of predictability would induce great uncertainty for EU businesses.

187 hospitals), when compliance cases are unsettled at the moment of annual quota allocation or to require certain skills/characteristics for quota-holding companies. A6.4 (D) Monitoring and Enforcement
D1. Reporting scope – substances
Taking into account the latest information on types of substances and their quantitative relevance, a number of frequently used PFCs need to be added to complete Annex I:  Perfluorodecalin (PFC-9-1-18)  Perfluoro-2-methylpentane (C6F14) The following substances will be added to Annex II due to relevant GWPs or significant and/or rising usage:
 Sulfurylfluoride (SO2F2) used in particular for treating timber prior to export with significant emissions;
 the anaesthetics sevoflurane (GWP of 19587) and enflurane (GWP of 654);
 H(C)FOs: o HCFO-1224yd(Z), for use as refrigerant in RAC applications, but also as blowing agent, aerosol solvent, and cleaning solvent; o Cis/Trans-1,2-difluoroethylene (HFO-1132), new refrigerant for mobile AC o 1,1-difluoroethylene (HFO-1132a), part of new refrigerant blends and feedstock for fluoropolymers o 1,1,1,2,3,4,5,5,5(or1,1,1,3,4,4,5,5,5)-nonafluoro-4-(trifluoromethyl)pent- 2-ene (C6F12) (and isomers), used as a co-blowing agent for improving thermal performance of insulating foams

 Fluorinated alternatives to SF6 in switchgear:
o Heptafluoroisobutyronitrile (2,3,3,3-tetrafluoro-2-(trifluoromethyl)- propanenitrile) with GWP of 2750 o Iso-C3F7CN (NOVEC 4710) with GWP of 2100 o NOVEC 5110 with GWP of 0.29 • Fluorinated ethers and alcohols: HFE-7300 (GWP 200); HFE-7100 (C4F9OCH3; GWP 320), HFE-7200 (C4F9OC2H5; GWP: 55) used as heat transfer fluids, cleaning and rinsing agents for industry applications, carrier for lubricants and other specialized industry applications.  Others:
o Perfluorotributylamine (PFTBA, FC43, C12F27N) used as heat transfer fluid in the semiconductor industry. GWP: 8690.

87 All GWPs given in this section are latest available based on the IPCC Assessment Reports (i.e. 6th Assessement Report, or if not available 5th etc.)

188 o Perfluoro-N-methylmorpholine (C5F11NO) used as heat transfer fluid. GWP: 9500. o Perfluorotripropylamine (C9F21N) used in electronics industry, for medical and analytical purposes. The reporting system run by the EEA would need to be updated to take into account the additional reporting requirement. The reporters are expected to be mostly entities that are already reporting some fluorinated gases today. D2. Reporting scope – reporters Options 2 and 3 would put reporting obligations on recipients of quota-exempted HFCs (for better control of these transactions88), and all entities carrying out reclamation (currently only those that are also producers, importers or exporters have to do so). Such additional companies would be few as sophisticated equipment usually only employed by chemical industry (already affected by the current measure) is needed. Option 3 would also require recyclers to report such activities which increases the number of affected companies significantly. Furthermore, option 3 requires equipment exporters to report export of HFC equipment (to better estimate the EU’s impact on other regions). The reporting system run by the EEA would need to be updated to take into account the additional reporting requirement. The number of equipment exporters affected is not known but may be similar to the number of equipment importers (over 2000 registered in DG CLIMA’s Fgas Portal). D3. Emission reporting Option 2 would encourage Member States to establish electronic databases on emission- related activities such as servicing, sales of gas, losses etc. similar to those existing in some countries already (e.g. PL, IT, BE, SI). The data is already collected by companies following the obligations of Art. 6 (record keeping) today. Such national databases would serve to obtain better emission data and give authorities much better control over the use of F-gases as well as providing incentives to minimise losses. By way of example, primary data from a set of retailers in 2014/2015 showed that leak rates of their cooling equipment did not go below 6% and routinely went up to 10%. Companies who carry out leak checks conscientiously are also more likely to take better care of their systems. Under the option, equipment operators and/or service technicians would have to submit the relevant data electronically, rather than store them at their premises.
Option 3 makes these databases mandatory. Option 3 would also require emission reporting of SF6 from decommissioning of switchgear in electrical transmission lines. This would require network operator and/or their servicing companies to report such data.

88 Given that these options also remove some exemptions (option B1), the number of affected companies decreases.

189 D4. Reporting process and data verification All options would make it an obligation to submit a verification report for bulk HFCs89 (currently only on request by the Commission or competent authority), and an obligation to provide NIL reports for quota holders to better ensure that all relevant companies report their data. The reporting and verification thresholds for bulk gas and equipment, as well as reporting and verification dates, will be aligned. This will improve coverage of the relevant entities and contribute to more effective and efficient compliance checking (see separate Annex A10 on reporting and monitoring). The variance in thresholds was highlighted by competent authorities through the evaluation to have led to confusion in industry and a less than complete compliance checking. Rules are relaxed for equipment importers but made tighter for bulk gas importers (ca. 90% of HFC trade). The reporting system run by the EEA would need to be updated to take into account the changes to the reporting requirements.
Option 2 and 3 would add a requirement of submitting the verification reports for bulk HFCs and equipment electronically, that would clearly indicate the data to be verified. This would have to be enabled by the Commission via the electronic Fgas Portal and will be linked to the EEA’s reporting platform BDR. Independent verifiers would be given direct access to the F-gas Portal, and would introduce their opinion directly in the system, similar as is the procedure for ETS compliance checking in e.g. Germany. Verification results as well as corrected data would immediately be available to the authorities. The reporting system run by the EEA would need to be updated to take into account these changes. A6.5 (E) List of clarifications needed in Regulation These clarifications were collected from stakeholders, in particular from Member States authorities, during the consultation. Others are based on DG CLIMA’s experience in implementing this Regulation.
CLARIFY THAT  concerning prohibitions - transport, storage, sale and use of illegal goods, in particular the one-way cylinders (for all uses with Annex I, empty), is prohibited (not just the initial placing on the market). This includes online sales. It also includes a prohibition to make HFCs available to third parties, to transfer HFCs to third parties or to use HFCs which have been placed on the market in violation of the requirements of Article 15(1), including by internet sales, with the exception of provision, transfer or use for return or disposal. - entry into EU territory of non-refillable F-gas containers is prohibited.

89 It is already an obligation for data on equipment.

190  concerning the quota system - that the placing on the market of HFCs in excess of the quota limits is strictly prohibited. - imported HFCs are always considered virgin and therefore require quota - quotas are also required for gases emitted during production - the exemption in Article 15(2)(c) does not cover exports of HFCs contained in pre- charged products or equipment. - the principle of beneficial ownership for quota holders in the Regulation (currently in Implementing Regulation only).
- that the verification obligation for equipment imports applies to both their Art 19 report as well as their Declaration of Conformity pursuant to Art 14. - imports of equipment with HFC quantities that are below 100 tCO2e on an annual basis are exempted from Article 14. - authorisations can only be given/must be introduced into the registry (F-gas Portal)
 concerning custom control and market surveillance - obligations of the importer fall on the consignee. - imported gases are always considered virgin, and therefore cannot be used for servicing where this is allowed for reclaimed/recycled. - all importers/exporters of bulk gases need to register before undertaking the relevant import/export activities. A relevant and valid registration is considered their import or export license. This is required by the Montreal Protocol, but the obligation is currently in an Implementing Regulation only. - that a tCO2e metric (not only the weight) and operator’s ID are added to the information required in the customs declaration for gases and equipment to allow for better automated controls, in the case of import and export. - importers of pre-charged products and equipment need to register prior to import/export (while keeping the threshold of 100 tCO2e).
- importers of pre-charged products and equipment need to have an Only Representative (OR) and specify their EORI number, similar to bulk gas importers. - customs and surveillance authorities should seize illegal goods (products, equipment or gases) and dispose of them as appropriate. Goods should not be re-exported. - customs should, based on risk profiling, make use of the information in the Fgas Portal & Licensing system when treating relevant custom declarations. - customs should have clear instructions on role and procedures - customs should exchange with competent authorities and surveillance authorities as well as the Commission relevant data for checking compliance and enforcement.

191 - customs and surveillance authorities should seize illegal goods (products, equipment or gases) and dispose of them as appropriate. Goods should not be re-exported. - Member States shall use the registry to carry out enforcement activities including custom controls, market surveillance and company compliance checking.
- Member States should keep commercial and personal information related to companies in the Fgas Portal & Licensing System and the BDR system confidential.
 concerning containment measures - the need for certification/attestations on selling HFCs to/purchasing HFCs by garages in Article 11(4).
- Article 6(1)(c) refers not only to installed gases but also to added gases as regard information to be included in the records by operators of equipment on the quantities of recycled or reclaimed F-gases. - Article 6(1)(f) that information to be included in the records should also cover details about leakage repairs.
- Article 8(1) that the recovered refrigerant cannot be used for filling or refilling equipment unless it has been recycled or reclaimed.  concerning reporting - include, for transparency, also the 20-year time horizon GWP values relative to CO2 for all substances listed in Annex I and II. - the current GWP values on a 100-year basis for all substances but HFCs90 by using the most recent available data from IPCC’s Assessment Reports. - minor corrections in Annex I and II to formulas, names, etc.  others  clarify some definitions where there is ambiguity such as “medical” or banned “hermetical” equipment
 add a list of allowed destruction technologies as stipulated by the Protocol A6.6 List of discarded measures A number of measures were suggested by stakeholder that were not considered for the impact assessment for reasons specified below:  Objective A - A general prohibition of F-gases in the RAC sector. This was not deemed feasible at this time as F-gases continue to be needed in many niche applications, albeit in falling numbers. Instead, the approach is to rely on the phase-down to further

90 HFCs are linked to compliance with the Protocol which uses the IPCC’s Assessment Report 4 as does the Regulation. A delegated act already would allow adjustment of the values should those change in the Protocol.

192 provide an economic incentive to use climate-friendly alternatives while specifying additional prohibitions in sub-sectors where there is no more need for medium and high GWP F-gases. - Remove the exemption for reclaimed and/or recycled high GWP F-gases for servicing existing stationary refrigeration equipment. This measure was considered counterproductive since this existing exemption provides a strong incentive for recycling and reclaiming F-gases, rather than (illegally) venting them. - A prohibition on the use of HFCs in MDIs. A prohibition date would not be possible in the near future as the alternatives would have to be available on the market in sufficient quantities to allow satisfying the demand. This sector requires a policy driver with a more gradual incentive to replace HFCs, in the interest of patients.
- Extend coverage of emission prevention requirements to include all substances listed in Annex II. This scope was considered too large as there is a number of substances in Annex II with very low use quantities. The scope was reduced to the relevant substances H(C)FOs (breakdown products!) and NF3 (high quantity use) as well as some newly added substances (see retained measures A3).  Objective B - Remove threshold for reporting on feedstock. Contrary to the other thresholds for the quota system that are removed in order to align with the Protocol, this is not required by international rules, and therefore it was considered to leave the threshold in place in the interests of reducing the administrative costs for smaller entities. - Make an import quota system rather than a “placing on the market” quota system. This would have allowed for easier compliance checking at customs but could have created issues for correctly offsetting quantities for export and other transactions in view of maintaining compliance with the Protocol and safeguarding environmental ambition of the quota system.
 Objective C - Separate certification programmes for low GWP alternatives, including for naturals. The use of H(C)FOs in RAC is linked to HFC so an integration into existing certification programmes seems the most cost-effective way to certify the needed skills. A separate certification programme for naturals was deemed out of scope of the F-gas Regulation.
- Requirement of certification for activities such as installation, maintenance, recovery etc. for natural alternatives to F-gases in RAC. This was deemed out of scope of the F-gas Regulation. - Change of the frequency of quota allocation from once a year to twice a year. This would have added more complexity and administrative burden for both

193 authorities and companies. Also, planning certainty for quota holders would have been reduced. - Remove the option to make declarations for quota. This measure would have excluded new entrants from joining altogether, which was deemed not acceptable even for a declining and strongly regulated market. • Objective D - Reporting on use of inhalation anaesthetics by large volume users. This would have required that hospitals would have to report on these emissions which would have placed a high burden on these critical infrastructures. - Include the possibility to adopt delegated acts to allow for amendments in Annex I and II if new scientific evidence become available. This was considered too far reaching since it is not clear what would constitute sufficient “scientific evidence”. The current legal text of the Regulation to rely on the Protocol’s Scientific Assessment Panel and the IPCC’s Assessment Reports is preferable. Also, stakeholders suggested many different definitions to be adjusted (see background study). In most cases it seemed more straightforward to reply on agreed implementation practices rather than introduce new uncertainty with adjusted definitions.

194 A7 Operationalising the HFC placing on the market (POM) quota system (phase-down) going forward A7.1 Methodological approach
The HFC POM phase-down as set out in the Regulation is characterised by the reduction schedule given in Annex V of the Regulation, expressed in percentages, which is used for two purposes: a) Calculation of the EU-wide annual maximum quantities (MaxQ) of HFCs to be placed on the market 2015 onwards, featuring a complex calculation scheme including a baseline derived from 2009-2012 reporting data and quota exemptions; b) Calculation of company-specific HFC quota based on reference values (RV- quota), i.e. grandfathering: Company-specific reference values, which are recalculated triennially to determine average POM of HFCs since 2015, are multiplied by the percentage given in Annex V for the respective year and by a factor of 0.89 to determine RV-quota. The gap between the total MaxQ and the sum of RV quota allocated to companies (“new entrants’ reserve”) is subsequently distributed on a pro-rata basis to all companies having submitted an annual declaration on additional need (D-quota). In order to increase the transparency of the EU-wide schedule for the MaxQ of HFCs, it is proposed for the revision of the F-gas Regulation to abandon the complex MaxQ calculation rule of the Regulation and disentangle the previous Annex V schedule into
a) An explicit schedule for the maximum quantity of HFCs to be placed on the EU27 market, beginning in 2024 and expressed in tCO2e/year b) A reduction schedule in percentage units beginning 2024, for the purpose of calculating RV-quota. The equation to calculate RV-quota from reference values involving the 89% reduction factor to feed the new entrants reserve would remain unchanged. The percentages in the reduction schedule for RV-quota should be calculated by dividing the maximum quantities (expressed explicitly in tCO2e) by a new 2015 base value to be defined in a revised Regulation. The 2015 base value needed for a revised Regulation should be calculated based on the methodology defined in F-gas Regulation 2014/517 to derive the 2015 MaxQ for the EU-28, and account for the change in geographical scope of the EU (EU-27 after Brexit) and for a change in scope of quota exemptions still applying from 2024 onwards (after the revision), based on available data. Lifting the MDI quota exemption from 2024 requires that special calculation rules for the triennial RV-recalculation needs to be introduced in order to avoid that the supply of HFCs to this previously exempted sector would be cut by the quota system initially. As a principle, 2024 allocations levels of RV quota to MDI suppliers should be at 100% of

195 the levels established before lifting the exemption (e.g. available data for 2020-22), and that subsequent reduction steps will be proportionate to the relative reduction steps as defined for the overall HFC POM. In the case of HFC suppliers for (previously exempted) MDIs, this data is available from company reporting under Art. 19. It should be noted that exports of MDIs containing HFCs are not considered bulk HFC exports and thus not subject to the quota exemption for exports according F-gas Regulation Art 15(2)(c).
To calculate RVs for HFC suppliers to the (previously exempted) MDI sector, the average POM from recent years (e.g. 2020-21) needs to be increased in order to arrive at a quota that would represent 100% as a starting point. This increase is to be calculated a) by dividing by the percentage calculated for 2024 in the new reduction schedule to be applied for the RV-quota calculation, and b) by dividing by the ‘new entrants reduction factor’ of 0.89. This RV can be used for the calculation of RV-quota like for all other companies, by multiplying with the 0.89 reduction factor and by multiplying with the RV-quota reduction percentage for the respective year91. As the result of this calculation approach, the RV-quota allocated to HFC suppliers of the MDI sector for the first reduction step 2024-2026 under a revised Regulation will be 100% of the POM in the most recent years available. For subsequent reduction steps, the relative reductions for the MDI sector will be proportionate to the reductions applicable to all other HFC use sectors. The first such subsequent reduction step for the overall market that will affect MDIs will come in 2017. A7.2 Total annual quantities for the different reduction schedules The maximum quantity of HFCs for the EU27 in the years 2021-2023 is approximately 62.3 Mt CO2e under the current Regulation. Table 27 shows the calculated limits for the different Options and including a removal of the exemption for MDIs from 2024.

91 Essentially the POM values are increased by phase-down factor and new entrants factor first, so that when these are applied using the Annex V and VI methodology, they cancel out and MDI gases are

196

Table 28. Options for the F-gas Regulation phase-down schedule for the maximum quantity of HFCs placed on the EU27 market [Mt CO2e]

Baseline

Option 1

Option 2

Option 3 t CO2e t CO2e t CO2e t CO2e 2021 - 2023
(existing Regulation) 62 273 330 62 273 330 62 273 330 62 273 330 2024 - 2026 37 535 263 49 035 263 41 701 077 41 039 167 2027 - 2029 25 166 229 36 666 229 17 688 360 15 963 275 2030 - 2032 19 865 215 31 365 215 9 132 097 6 916 849 2033 - 2035 19 865 215 28 717 529 8 445 713 5 794 785 2036 - 2038 19 865 215 20 538 147 6 782 265 5 467 823 2039 - 2041 19 865 215 20 538 147 6 136 732 5 006 355 2042 - 2044 19 865 215 20 538 147 5 491 199 4 544 888 2045 - 2047 19 865 215 20 538 147 4 845 666 4 083 420 2048 onwards 19 865 215 20 538 147 4 200 133 3 621 953

Figure 25 gives the time series for the maximum quantity, i.e. the total quota available to the EU market in those years. For improved comparability of the discussed options in terms of considered quota exemptions, a time series was added for an adjusted baseline which incorporates a lifting of the MDI quota exemption as of 2024, assuming high MDI demand of approximately 11.5 Mt CO2e per year, consistent with the scenario definition for Option 1. It is apparent that the ambition of the schedule of the maximum quantity in Option 1 basically follows the “adjusted” baseline and features two (significant) reduction steps in 2033 and 2036 in order to safely stay below MP consumption limits. Options 2 and 3 have earlier reductions starting in 2024, 2027 and 2030.

197

Figure 25: Options for the development of maximum quantity of HFCs A7.3 Introduction of a Quota Allocation Price Under the existing Regulation the allocation of quota under the HFC phase-down has been for free. It is based mostly on a grandfathering approach, complemented with a reserve for new entrants to be distributed evenly among all applicants, unlike the EU ETS, where emission certificates are being auctioned. While the existing approach would be maintained in Option 1, the introduction of a fixed quota allocation price is considered in the Options 2 and 3. That allocation price is proposed to be set at initially 3 €/ t CO2e for 2024 to be well below recent market levels on HFC price increases (average 6 €/t CO2e since 2015 as OEM purchasing prices92) to avoid significant pass-through to end- users.
The procedure for implementing the allocation price could work as follows: Step1 subject to quota price: Calculation of ‘reserved quota’ based on reference values, penalties and declarations to get quota from the Reserve: 1) Calculation of Reference Value-based quota for each incumbent93, taking into account potential quota penalties for incumbents. 2) Determination of the total HFC quota available in the Reserve taking into account the total amount allocated on the basis of reference values minus penalties (Step 2 in the Regulation).

92 Source: Öko-Recherche HFC price monitoring on behalf of the European Commission, prices at all levels of the supply chain are monitored quarterly since 2015 93 The reference values will have to be re-calculated to take into account quantities that are linked to uses that are currently exempted from the phase-down.
0 10 20 30 40 50 60 70 2021 2024 2027 2030 2033 2036 2039 2042 2045 2048 Mt CO2e FGR maximum quantity of HFCs Baseline BL adjusted MP alignment Proportionate action Maximum feasibility  BL adjusted: Baseline scenario adjusted as of 2024 to lifting the MDI exemption, assuming high HFC demand for MDIs

198 3) Calculation of Declaration-based quota from the Reserve for each declaring company while taking into account applicable quota penalties (penalty amounts are being re-distributed to other declarants). 4) Flexibility for the European Commission to temporarily withhold some quota allocations in case of pending decisions on e.g. quota penalties. Step 2: Requesting payment for reserved quota 5) Quota holders are informed of the total amounts reserved for allocation to them based on reference values and/or declaration, and requested to pay the allocation price for the reserved amount by an appropriate deadline. Step 3: Redistribution of unpaid reserved quota 6) Quota amounts where the allocation price has not been paid by the deadline will be distributed free of charge, on a pro-rata basis to all declarants which have fully paid their allocation price and whose declaration had not yet been fully satisfied. Step 4: Quota allocation 7) The reserved quota for which the price has been paid in addition to a possible top up resulting from the redistribution of unpaid reserved quota is allocated to the company. Step 5: Ad hoc allocation of temporarily withhold quota
8) Where cases relating to withheld quota have been resolved, the quota will be allocated against payment if it is allocated to one quota holder. If it is to be redistributed among all quota holders who have declared a quota need, it will be allocated for free. Table 28 shows the total amount of quota allocation revenue that could be collected annually if all quota is fully paid during Step 2 (i.e. no quota allocated under Step 3) and based on total quota amounts foreseen for 2024 under the different options (assuming that all companies pay the quota price). IF unadjusted, the total revenue would decline proportional to the maximum quantity as shown in Table 27 above. Table 29: Expected volume of quota allocation revenues

Option 1 Option 2 Option 3 2024 Maximum quantity of HFCs Mt CO2e 49.0
41.7 41.0 Revenue for sale at 3 €/t CO2e Mio €/a * 125.1 123.1 Note: * In option 1, no quota allocation price is included.
The allocation price collected from quota holders will reduce the benefit that would normally occur in the HFC supply chain due to the HFC price increases resulting from the phase-down.

199 A8 Separate production phase-down Next to the HFC consumption phase-down, the Protocol’s Kigali Amendment features a parallel phase-down scheme for the production of HFCs in the EU and its Member States. The EU & their Member States can under the Protocol’s REIO94 clause (Article 2(8)(a)) decide jointly whether
a) each Member State would need to comply individually with their respective HFC production phase-down, or b) the EU would comply jointly as a REIO. While the HFC consumption phase-down is complied with jointly as a REIO, the status quo for HFC production currently is compliance at Member State level. A REIO compliance would need to be notified to the Ozone Secretariat of the Protocol. With an EU-wide scheme addressing the HFC production phase-down in a revised Regulation, Member States would have the option to in the future to agree to switch to the REIO approach without in any way endangering compliance. In order to facilitate compliance with the Protocol’s HFC production phase-down, both jointly as EU or at Member States basis, the introduction of an EU-wide phase-down scheme for HFC production, similar to the one that was successfully implemented under the Ozone Regulation that ended in 2020, is proposed for all three policy options in the same way, as described below. A8.1 Metrics to be considered for the HFC production phase-down “Production” as defined under the Protocol is produced amounts minus feedstock use minus destruction. As clarified by means of the reporting rules,
 feedstock use eligible for subtraction is limited to produced amounts for feedstock use in the own country (for EU MS, this would apply on MS level), and
 non-captured amounts of generated HFCs (by-production) are not considered. The baseline for the HFC production phase-down under the Protocol is calculated by adding  the average 2011-2013 HFC production (defined as above) and  15% of the HCFC production baseline (as defined below). The HCFC production baseline is the average of  1989 HCFC production + 2.8% of 1989 CFC production  1989 HCFC consumption + 2.8% of 1989 CFC consumption95

94 Regional Economic Interest Organisation 95 For the Member States of the EU-12 of 1989 (Belgium, Denmark, France, Germany, Greece, Ireland, Italy, Luxembourg, Netherlands, Portugal, Spain and the United Kingdom) consumption data for individual MS is not available. For those parties to the MP, the Ozone Secretariat at UNEP thus uses HCFC & CFC production data only for the calculation of the HFC production baselines.

200 Consumption under the Protocol is production (as defined above) plus imports minus exports. The envisaged Regulation’s HFC production phase-down would apply to remaining EU HFC producers. For those companies, uncaptured by-production, production for feedstock use and production destroyed before placing on the market should be considered (= subtracted from gross production reported in section 1A of the reporting questionnaire under F-gas Regulation Art 19). “Downstream” destruction of recovered used HFCs, imported into or collected within the EU, should not be considered for the F- gas Regulation production phase-down. Any such amounts (~ 0.5 – 2 Mt CO2e/a in 2015- 2019, EU28) can be considered a safety margin for compliance with the Protocol’s production phase-down, both at Member State or possibly at EU/REIO level. The activity subject to limitations under the EU production phase-down should thus be: “Production for Sale” (PfS) = Gross production (BDR: 1A) – uncaptured (by-) production amounts – Production for destruction – Production for feedstock use
A8.1.1 Definition of production for destruction In this context, production for destruction covers the following as annually reported under Art 19: a) Captured production amounts destroyed by the producer
b) Captured production amounts handed over by the producer to another company for destruction A8.1.2 Definition of production for feedstock use The subtraction for feedstock use may possibly refer to
a) own feedstock use by the producer b) production for feedstock use with in the own MS c) production for feedstock use by any company within the EU d) production for feedstock use anywhere. Note that cases a) & b) have been reported so far. Only cases a) & b would be subtractable under MP monitoring rules for compliance on EU MS level. However, to avoid any conflict with EU internal market principles, the definition should be extended to cases a, b & c96.
A8.1.3 Coverage of HFC-161 HFC-161 is an HFC according to Annex I of the Regulation, but it is not covered under the MP. So far, no production of HFC-161 has been reported in the EU. An explicit

96 In case HFC amounts would be reported for feedstock use in other EU MS, those could possibly be counterbalanced by downstream destruction of used HFCs, subject to subtraction under MP accounting rules for HFC production. Nevertheless, such an approach could theoretically lead to MP non-compliance at MS level. If EU MS will opt for the REIO approach, non-compliance at EU is even more unlikely.

201 exemption of HFC-161 from the EU PfS production phase-down is thus not necessary. A8.2 The Protocol’s HFC production baseline for the EU and its Member States The Protocol’s HFC baseline of EU Member States sum up to 84.3 MtCO2e for the EU27. 72% thereof are derived from 2011-2013 HFC production (corrected for feedstock use and destruction according to Protocol definitions), 28% are derived from the 1989 HCFC production baseline. 98% of the aggregated HFC production baselines for the EU27 are allocated to a set of five Member States: France, Germany, Spain, the Netherlands and Italy.
A8.2.1 HFC production in the EU Since 2015, HFC Production (defined as Production for Sale, PfS) in the EU27 has been limited to France and Germany. HFC production ended 2014 in Spain, and 2012 in Italy. For all other EU MS, the Protocol’s HFC production baseline is fully derived from the HCFC production baseline, i.e. from production capacities in place over 30 years ago which for that reason do not correspond anymore to today’s activity. The distribution of the PfS baseline between MS thus significantly differs from the Protocol’s HFC production baseline. 2011-2013 PfS of HFCs was reported by 7 companies in the EU27: 2x DE, 1x ES, 3x FR & 1x IT. A8.2.2 Allocation of Protocol’s HFC production baseline to EU HFC producers
Given the world-wide HFC consumption phase-down schemes agreed under the Protocol, the Protocol’s HFC production phase-down scheme needs to ascertain that overall production is phased down, but at the same time attempts to address a level- playing field between HFC producers located in different parties to the Protocol, while leaving more time for developing countries. The objective of the proposed Regulation’s HFC production phase-down scheme at EU level is thus to facilitate compliance with the Protocol’s production phase-down at Member State and EU levels. The allocation method of the EU HFC production baseline to companies involved should ideally feature a complete distribution of total available EU production rights.97
The general approach for the allocation of the Protocol baseline to companies is to assign to companies their 2011-2013 PfS baseline and additionally allocate a top-up based on the gap between the EU27 Protocol HFC production baseline and the aggregated EU27 2011-2013 PfS baseline (since the Protocol allows for more rights than distribution based solely on PfS). That gap amounts to 22.6 Mt CO2e, which is about 27% of the EU27 baseline under the MP or 37% of the EU-wide 2011-2013 PfS baseline. That gap of 22.6 Mt CO2e would, following the considerations above, be distributed among the 7 EU27 PfS incumbents.

97 Given that „production“ is also part of the “placing on the market” HFC quota system which is going down quickly, a re-introduction of production into the EU is not feasible

202 However, a relevant condition for a distribution of the gap is also that the EU production phase-down scheme shall be designed to safeguard compliance with the Protocol’s production phase-down not only at aggregated EU27 level, but also at Member State levels (in case the REIO clause is never used). An allocation approach for the gap which would avoid a stricter restriction of HFC production than in the case of measures taken individually by affected Member States (i.e. France and Germany) to comply with the Protocol’s HFC production phase-down does necessarily require that the gaps at Member State level (i.e. Protocol baseline vs. PFS at DE, FR, …level) are also allocated to the HFC producers of the respective Member State. Given such an approach, the Protocol baselines for France, Germany, Italy and Spain could be fully distributed, while the Protocol baselines for the other EU27-MS, amounting to about 5.2 Mt CO2e, or 23%, of the EU wide ‘gap’ would not be directly allocated to EU HFC producers.
For the allocation of the French and German gaps to French and German HFC producers, a distribution method needs to be defined, for Italy and Spain this does not matter as only one company per Member State is involved. The gap could be distributed either a) Pro rata (same amount in t CO2e per company in the respective Member State), or b) Proportional to the size of the 2011-2013 PfS baseline of each company, or
c) In any combination of both approaches above (e.g. 50% of gap distributed pro rata, 50% proportional etc) The choice of the distribution method for the gap will imply at what speed and schedule the involved companies per MS will need to reduce domestic production. The pro-rata approach appears to be easiest to justify. However, the choice of approach does not have further implications on the general workings of the EU production phase-down, or the assessment of impacts. A8.3 Approach for legal implementation in the F-gas Regulation For the legal implementation in a revised Regulation, it is suggested to follow the approach taken in the ODS-Regulation for the ODS production phase-down which allows both companies and Member States to engage in transfers of production rights.

203 A9 Prohibitions considered in the impact assessment A9.1 Prohibition of F-gases (Annex I) in new fire protection equipment
The prohibition is based on the significant decrease of HFCs used as fire extinguishing agents since 2015 as well as the large-scale use and availability of non-F-gas alternatives which was confirmed by industry stakeholders and consulted experts. Alternative technologies are common in this sector and allow for an immediate replacement of HFCs, except for when national safety standards are to be met in special applications including mining, military, aviation, and nuclear power plants which require substances with special extinguishing capacities that cannot be met by the alternatives currently available on the market. From 2024, all HFC quantities needed can come from reclaimed quantities. PFCs and SF6 are not used. A9.2 Prohibition of F-gases (Annex I) in new small hermetic refrigeration and heat pump appliances
The prohibition addresses small hermetic refrigeration and heat pump appliances for household and commercial use which still use high-GWP HFCs (PFCs and SF6 are not used), but where suitable alternatives are fully available. Examples include cream and ice cream makers, (slushed) ice makers, water coolers, juice makers, milk coolers attached to coffee machines, beer and wine coolers, heat pump tumble driers etc.
Due to the small charge size and the hermetic nature of these appliances, end-of life recovery of the HFC charge is typically not carried out as many appliances are not separated in the waste scheme so that the full charge is often emitted at end-of-life. Alternatives to HFCs for small hermetic refrigeration units (such as R290) are already widely available and allow for immediate and full replacement of HFCs.
The prohibition concerns manufacturers, importers and distributors of small hermetic appliances.
A9.3 Prohibition the use of PFCs in RACHP equipment PFCs are contained in a few refrigerant blends, especially blends that were introduced as retrofit options (drop-in) for equipment formerly containing HCFCs (R22; R503) or CFCs (R13) to allow the use of existing equipment and systems until end-of-life. Examples include R413A (“Isceon 49”; R134a 88%; C3F8 9%; isobutane 3%), R508A (“Klea 5R3”; R23 39%; C2F6 61%) and R508B (“Freon 95” or “Suva 95”; R23 46%; C2F6 54%; for ultra-low temperature applications). The analysis of reported data shows that PFCs play a niche role as refrigerants today. Even though the use of such blends is not necessary anymore as there are suitable alternatives, new equipment running on PFC refrigerant blends is still entering the market.

204 The prohibition refers to refrigerant manufacturers and equipment producers, importers and distributors as well as RAC service technicians.
A9.4 Prohibition of F-gases (Annex I) in stationary AC and heat pumps The prohibition relates to stationary air conditioning equipment and heat pumps (heating and cooling mode)
 of a rated capacity of up to 12 kW that contain, or whose functioning relies upon fluorinated greenhouse gases with a GWP of 150 or more from 1 January 2025 and  of a rated capacity of more than 12 kW that contain, or whose functioning relies upon fluorinated greenhouse gases with a GWP of 750 or more from 1 January 2025. Current technology trends towards low-GWP alternatives can be seen in all AC and heat pump applications and already resulted in the introduction of A2L and A3 refrigerants (such as R32, R454C, R290) in a wide range of air conditioning and heat pump products and ahead of the prohibition spelled out in Annex III(15) of the current regulation98,99. At the same time, research on charge-size minimisation for flammable refrigerants is progressing fast. In addition, both small and larger single-split air conditioning systems and heat pumps offer great potential for further GWP reductions. However, due to larger charge sizes, safety concerns are more limiting for the larger equipment types (i.e. larger than 12kW) at this moment in time, so that the introduction of low-GWP alternatives will likely need more time. Given the expected growth rates of the heat pump sector, which is currently driven mainly by the promotion of more energy efficient heating, the choice of refrigerant is also fundamentally relevant to reduce emissions from the anticipated and desirable growth in this sector. Safety standards are being revised to allow for easier use of low-GWP alternatives including flammables at higher charges and are expected be updated in the near term (i.e.  2022) according to information from experts involved in the standardisation working groups.
The metrics for this prohibition are based on capacity (kW) to align with other relevant regulations (e.g. eco-design regulation), and the prohibition would refer to placing on the market as well as installation of such equipment from 2025. This date would give sufficient time for further technological refinement and progress on updating the relevant standards in line with technology. For perspective, R32 was introduced in this sector in a timeframe of 4 years from near zero to close to 90 %, even without a prohibition deadline.
An exemption would be included to allow for continued use of HFCs where standards and codes do not currently allow for the use of A3 refrigerants, i.e. hydrocarbons. Equipment for this purpose would need to carry special labelling and evidence such as technical documentation needs to be kept and provided upon request to Member State authorities. This

98 EU COM 2020: The availability of refrigerants for new split air conditioning systems that can replace fluorinated greenhouse gases or result in a lower climate impact.
https://ec.europa.eu/clima/sites/clima/files/news/docs/c_2020_6637_en.pdf
99 Announcement by Midea to introduce R290 in split air conditioning units in the EU in 2021 at the Green Cooling Summit 2021, 26 May 2021.

205 exemption would allow for further technical development as stakeholders such as the industry associations EPEE or JBCE pointed out that there may be special circumstances such as long pipes or similar that require higher charges than permitted under safety standards. The prohibition would concern manufacturers, importers and distributors of stationary air conditioning and heat pump equipment as well as end-users and service companies.
A9.5 Removal of exemption for smaller refrigeration equipment from the prohibition of using high GWP F-gases The current provision to use F-gases with GWP >2500 for servicing and maintenance from 2020 onwards exempts stationary and mobile refrigeration equipment with a charge size below 40 t CO2 equivalents. Feedback from industry showed that this exemption is not relevant in practice, i.e. a distinction is often not made between charge sizes above and below 40 tCO2e during service and maintenance. Alternatives to high-GWP refrigerants (R404A, R507) are available for all stationary and mobile refrigeration applications including the exempted capacity range. The stakeholders concerned by removing this exemption are manufacturers, equipment owners/operators, service companies performing maintenance work at existing systems and, indirectly, refrigerant importers and distributors.
A9.6 Prohibition of F-gases (Annex I) in personal care products This prohibition relates to the use of HFCs and PFCs in personal care products (SF6 is not used) such as creams and liquids for skin and nail care (mainly perfluorodecalin) as well as sprays and mousses for hair and skin care. The use of F-gases in these product types is limited as various alternatives are commonly used by most manufacturers. F-gases contained in this type of products are fully emitted and cannot be recovered or contained (emissive uses).
Stakeholders concerned include manufacturers, importers and distributers of personal care products currently containing F-gases. They would need to adapt their product formulations where they do not already use the alternatives.
A9.7 Prohibition of the use of F-gases (Annex I) for skin cooling Skin cooling equipment relying on HFCs are not only used for purely medical, but also for cosmetic purposes in beauty treatments, e.g. hair removal, and direct emissions occur from such uses. Alternatives are available and should allow for replacement of HFCs.
A9.8 Prohibition of SF6 in new switchgear In recent years, several alternatives to SF6 in both medium-voltage (MV) and high-voltage (HV) electrical switchgear were developed. While the market introduction in the MV segment is more advanced and alternatives are widely available, this is not yet the case for

206 some HV applications so that a little more time is needed for this market segment. The prohibitions distinguish between voltage and distribution levels and relates to
- new MV electrical switchgear for primary and secondary distribution, differentiated by voltage level – up to 24 kV from 2026 and 24-52 kV from 2030,
- new HV electrical switchgear, in the range of 52-145 kV and up to 50 kA short circuit current from 2028, more than 145 kV or more than 50kA short circuit current from 2031, using F-gases with GWP > 2000 as insulating or breaking medium.

Industry input and literature research suggest that several alternative mixtures and substances are available with GWP<2000 within the indicated time frames. The transition from SF6 towards lower-GWP alternatives will lead to a reduction in the demand of SF6. A9.9 Use prohibition of desflurane as inhalation anaesthetic The prohibition relates to the use of the fluorinated inhalation anaesthetic desflurane (GWP 989) that is currently not restricted but is commonly used throughout the EU and fully emitted during use. Recently, a technology to capture inhalation anaesthetics has been developed but it is not yet widely available. Suitable alternatives include sevoflurane (GWP 216; AR5) and isoflurane (GWP 350; AR4) which are both widely available and commonly applied as well and can replace desflurane in almost all cases. An exemptions to the prohibition is specified for the few instances where this may not be the case.
The prohibition would affect producers, importers and distributors of medical products as well as end-users such as hospitals and clinics.

207 A10 Detailed analysis on reporting and verification thresholds A10.1 Verification thresholds for HFC bulk producers/ importers and for importers of cooling equipment containing HFCs A10.1.1 Bulk POM verification thresholds Based on the quota amounts100 received by companies in the years 2018, 2020 and 2021101, an analysis was conducted to determine the share of companies which received quota amounts above different thresholds as well as the share of total allocated quota covered by different verification thresholds.
Under the assumption that the total number of companies remains at 2021 levels (i.e. 1772) between 2021 and 2030 and that companies’ share of total allocated quota is constant during this period, a projection of shares of companies and quota below different thresholds was developed, for the phase-down schedule of the current Regulation. Table 30: Share of companies which received quota amounts above different thresholds % of companies with quota … 2018 2020 2021 2025 2030

500t CO2e 100% 99% 99% 98% 97%

1,000t CO2e 100% 99% 98% 95% 86%

2,000t CO2e 99% 99% 89% 86% 83%

2,500t CO2e 99% 98% 88% 85% 59%

3,000t CO2e 99% 98% 87% 84% 30%

5,000t CO2e 98% 98% 84% 32% 15%

10,000t CO2e 97% 19% 23% 14% 3%

20,000t CO2e 33% 17% 12% 3% 2% Source: DG Clima HFC registry, own calculations Table 31: Share of total allocated quota covered by different verification thresholds % of Quota covered with threshold 2018 2020 2021 2025 2030

500t CO2e 100.0% 100.0% 100.0% 100.0% 99.9%

1,000t CO2e 100.0% 100.0% 100.0% 99.8% 99.3%

2,000t CO2e 100.0% 100.0% 99.5% 99.3% 99.0%

2,500t CO2e 100.0% 100.0% 99.5% 99.2% 94.4%

3,000t CO2e 100.0% 100.0% 99.4% 99.1% 87.5%

5,000t CO2e 100.0% 99.9% 99.1% 88.0% 82.7%

10,000t CO2e 99.9% 91.6% 85.7% 82.3% 75.3%

20,000t CO2e 91.8% 90.8% 81.0% 75.2% 74.1%

100 Both quota allocated based on reference values as well as quota based on declarations were considered. 101 2019 was not considered as that year had a very high number of new entrants, before introduction of Commission Regulation (EU) 2019/661 requiring more registration data from applicants

208 Source: DG Clima HFC registry, ÖkoRecherche et al (2021) The analysis indicates that while the current threshold for verification of bulk (i.e.  10,000 tCO2e) affects 19 % of companies and covers about 92 % of reportable quota use in 2020, the same threshold would only cover about 75 % of reportable quota use in 2030. In order to achieve a quota coverage closer to 100% in the 2030 time horizon, the threshold for the verification obligation would need to be lowered to at least 2,000 t CO2e. Then, a quota coverage of 99%, affecting 83% of quota holders (approx. 1500 out of ~1800 assumed quota holders) would be reached. A threshold of 1,000 t CO2e would de facto have very similar effects like a threshold of 2,000 t CO2e. Only few additional companies are likely to be affected. A10.1.2 RAC Equipment verification thresholds Authorisation use as reported by equipment importing companies for the year 2020 (approximately 1,000 companies reporting on imports of approx. 10 Mt CO2e) was compared to different thresholds for verification. It shows that while the current de facto threshold of 100 tCO2e requires about 83 % of equipment importing companies to verify their report, a threshold of 500 t CO2e would reduce this share to 61% and a threshold of 1000 t CO2e would require less than half of equipment importing companies to verify their report. Due to the large amount of small equipment importing companies, a verification threshold of 1000t t CO2e would however still cover 98% of the HFCs in imported equipment.
Table 32: Authorisation use by companies compared to verification thresholds

% of companies with authorisation use in need of verification % of authorisation use in need of verification covered by threshold >100t CO2e 83% 100% >500t CO2e 61% 99% >1000t CO2e 48% 98% >2,000t CO2e 36% 96% >2,500t CO2e 33% 96% >3000t CO2e
29% 95% >5000t CO2e 22% 92% >10,000t CO2e 15% 86% >20,000t CO2e 8% 76% Source: Data reported by companies to EEA BDR, own calculations A10.1.3 Conclusion on verification thresholds for bulk and equipment For a joint threshold for bulk & equipment verification, i.e. aligning the two thresholds for better coherence and transparency, a threshold of 1,000 t CO2e is suggested which would likely cover about 99% of bulk quota & 98% of equipment imports while lifting the verification obligation for approx. 50% of equipment importers and thus reducing the burden for small companies.

209 A10.1.4 Overview of changes envisaged to the reporting and verification thresholds A number of changes to reporting and monitoring rules are foreseen due to (i) the need to adjust to the Protocol, (ii) control illegal trade more efficiently, (iii) improve clarity of the rules for companies and (iv) reduce administrative burden where possible. Table 32 gives an overview of all changes considered under the three options and the rationale for doing so. Table 33. Overview of considered changes to the reporting and verification rules Measure target Status quo Comment Option 1 Option 2 Option 3
Reporting obligation & thresholds (Art 19) Production Threshold: 1t / 100 t CO2e of Annex I & II For HFCs, a reporting threshold is inconsistent with the EU reporting obligation under the MP Remove threshold for HFCs,
keep threshold for other Annex I & Annex II gases = option 1 = option 1 Bulk import Threshold: 1t / 100 t CO2e of Annex I & II For HFCs, a reporting threshold is inconsistent with the EU reporting obligation under the MP Remove threshold for HFCs,
keep threshold for other Annex I & Annex II gases = option 1 = option 1 Bulk export Threshold: 1t / 100 t CO2e of Annex I & II For HFCs, a reporting threshold is inconsistent with the EU reporting obligation under the MP Remove threshold for HFCs,
keep threshold for other Annex I & Annex II gases = option 1 = option 1 Destruction Threshold: 1t / 1000 t CO2e of Annex I & II For HFCs, a reporting threshold is inconsistent with the EU reporting obligation under the MP Remove threshold for HFCs,
keep threshold for other Annex I & Annex II gases = option 1 = option 1 Reclamation None Obligation currently only for producers, bulk importers and exporters none Add obligation for Annex I & Annex II gases,
threshold: 1t / 100 t CO2e = option 2 Recycling
None Obligation currently only for producers, bulk importers and exporters in 2014 F-gas Regulation none none Add obligation for Annex I & Annex II gases,
threshold: 1t / 100 t CO2e
Recipients of quota-exempted gases for military, semiconductor & MDIs (unless exemption
removed) none

none Add obligation to report on received exempted HFCs & identify supplier, no threshold = option 2 Product/Equipment imports Threshold: 500 tCO2e
of Annex I & II This currently conflicts with 100 tCO2e HFC threshold for authorisation obligation and verification obligation Threshold: 100 tCO2e of HFCs and 500 tCO2e of Annex I & II

= option 1 = option 1 Product/Equipment exports None SF6 likely relevant in absolute terms none none Threshold: 1t / 100 t CO2e
of HFCs &

210 Measure target Status quo Comment Option 1 Option 2 Option 3
SF6 Operation and decommissioning of electrical equipment / SF6 None Reporting on lifetime losses by grid operators: Scope of reportable data should include: Country of operation, type and quantity of refilled equipment,
SF6 amounts refilled Reporting obligation directed to undertakings active in the decommissioning of electrical equipment (EoL treatment).
Scope of reportable data should include:
Country of decommissioning, type of equipment, Standard charge, Recovered charge, Supplementary Obligation for equipment operators to provide standard charge to decommissioner to be added None None Threshold: 5 kg SF6 [~ 100 t CO2e) Mandatory NIL report for companies with activities below thresholds None Would help compliance checks for quota & authorisation holders
Obligatory for quota holders = option 1 = option 1 Verification obligation & thresholds (Art 19 & 14) POM of HFCs (bulk) Threshold: 10 000 t CO2e Many new entrants are falling under the threshold Threshold: 1000 t CO2e Threshold: 1,000 t CO2e = option 1 POM of HFCs in RAC equipment In F-gas Regulation 2014, de-facto 100t CO2e threshold based on Art 14 pointing to Art 15

Threshold: 1,000 t CO2e
= option 1 =option 1 Submission obligation for verification reports (Art 19 & 14) POM of HFCs (bulk) On request by authorities BDR submission facility is available Obligatory in all cases above threshold = option 1 = option 1 POM of HFCs in RAC equipment Obligatory in all cases above threshold BDR submission facility is available Keep
Keep
Keep
Timing of reporting obligation (Art 19) All reporters 31 March

Keep
Keep
Keep
Timing of verification (& submission) obligation (Art 19, Art 14) POM of HFCs (bulk) 30 June Joint date for bulk & equipment preferable, 30 June is challenge for compliance process 30 April = option 1 = option 1 POM of HFCs in RAC equipment 31 March Aligning reporting deadline bulk & equipment. Timespan between report & verification makes sense many Verifiers are busy with ETS for 31 March deadline 30 April = option 1 = option 1

211 Measure target Status quo Comment Option 1 Option 2 Option 3
Integration of electronic verification into the BDR reporting process POM of HFCs (bulk) none Process modelled after established ETS processes would render verification processes more efficient and easier accessible for compliance checks. Processes would cover verification thresholds & submission obligations & is in line with approach to timing deadlines; Admin burden for EEA to set up none Set legal basis = option 2 POM of HFCs in RAC equipment none none Set legal basis = option 2

212 A11 Detailed information on emissions A11.1 Historic development of emissions Figure 26: F-gas emissions in EU27 + UK from 1990 to 2019

HFCs rose quickly in the 1990s due to the replacement of ODS, in particular in refrigeration and AC, but also in foams, aerosols etc. The reductions from 1997-2001 were achieved due to the elimination of HFC-23 emissions in chemical industrial production. However, the growing trend of HFC emissions continued until 2014, after which the EU F-gas policy started to take effect and led to year-on-year decreases until today. Emissions of PFCs, and from 1996 onwards also SF6, could be reduced until ca. 2010, most likely due to higher awareness and better production and management processes. However, from 2010 onwards, the emissions of both substance (groups) has stagnated
A11.2 Baseline development of emissions The existing Regulation reduced the emission of F-gases in the EU (see Evaluation report, Annex A5). For the future, the projections show that without further EU action (baseline scenario), the emissions will decrease until 2040 and thereafter stagnate until 2050 at 27 Mt CO2e. F-gas emission reductions will only reach 44MtCO2e in 2030, while the original objective for a cost-efficient contribution would be a 60% reduction from 2005 levels, e.g. 33 MtCO2e (see Figure 26).

213

Figure 27: EU27 modelled baseline F-gas emissions and data reported under the UNFCCC [in tCO2e] Source: AnaFgas modelling, UNFCCC (https://unfccc.int/documents/275968). Reported values under United Nation Framework Convention on Climate Change (UNFCCC) are included for comparison to the modelled

214

Figure 27. Baseline development of F-gas demand and emissions at sectoral level

A11.3 Emissions of the Options Under Option 1, emissions will exceed baseline values until 2046 and will drop slightly below the baseline from 2047. In contrast, under Option 2, emissions slightly fall below the baseline already in 2025, further strongly decrease until 2040 and then level out until 2050 at around 14 Mt CO2 eq. Option 3 shows a similar development in emissions, but the decrease is more pronounced and emissions level out at around 13 Mt CO2 until 2050. Across all scenarios, HFCs are by far the most important contributor to the overall emissions, especially in the years until 2040. Under Option 2 and 3, SF6 shows slightly more reduction in emission compared to the baseline and the Option 1, while other F-gases (PFCs, unsaturated H(C)FCs and NF3) show no discernible difference between the options. As for cumulative emissions from 2024 until 2050, Option 1 does slightly worse than the baseline (increase of 3%), but Option 2 and 3 lead to significant savings (253 and 280 MtCO2e, respectively or reductions of 25 and 28% from the baseline). See Table 34.

215

Figure 28. Modelled emissions of F-gases under the different scenarios in the EU-27 Source: AnaFgas modelling

Table 34. Modelled emissions of F-gases in Mt CO2 eq under the different options in the EU-27 Year Gas group BL O1 O2 O3 O1-BL O2-BL O3-BL 2020 Total 92 92 92 92 0 (0%) 0 (0%) 0 (0%)

HFCs 82 82 82 82 0 (0%) 0 (0%) 0 (0%)

SF6 7 7 7 7 0 (0%) 0 (0%) 0 (0%)

Other 3 3 3 3 0 (0%) 0 (0%) 0 (0%) 2025 Total 69 69 68 68 0 (0%) -1 (-1%) -1 (-1%)

HFCs 61 61 60 60 0 (0%) -1 (-2%) -1 (-2%)

SF6 5 5 5 5 0 (0%) 0 (0%) 0 (0%)

Other 3 3 3 3 0 (0%) 0 (0%) 0 (0%) 2030 Total 44 46 37 36 2 (5%) -7 (-16%) -8 (-18%)

HFCs 37 39 30 29 2 (5%) -7 (-19%) -8 (-22%)

SF6 4 4 4 4 0 (0%) 0 (0%) 0 (0%)

Other 3 3 3 3 0 (0%) 0 (0%) 0 (0%) 2035 Total 35 37 23 21 2 (6%) -12 (-34%) -14 (-40%)

HFCs 28 30 17 15 2 (7%) -11 (-39%) -13 (-46%)

SF6 4 4 3 3 0 (0%) -1 (-25%) -1 (-25%)

Other 3 3 3 3 0 (0%) 0 (0%) 0 (0%) 2040 Total 27 30 16 15 3 (11%) -11 (-41%) -12 (-44%)

216

HFCs 21 24 10 9 3 (14%) -11 (-52%) -12 (-57%)

SF6 3 3 3 3 0 (0%) 0 (0%) 0 (0%)

Other 3 3 3 3 0 (0%) 0 (0%) 0 (0%) 2045 Total 26 27 14 13 1 (4%) -12 (-46%) -13 (-50%)

HFCs 19 20 8 7 1 (5%) -11 (-58%) -12 (-63%)

SF6 4 4 3 3 0 (0%) -1 (-25%) -1 (-25%)

Other 3 3 3 3 0 (0%) 0 (0%) 0 (0%) 2050 Total 27 25 14 13 -2 (-7%) -13 (-48%) -14 (-52%)

HFCs 19 17 7 6 -2 (-11%) -12 (-63%) -13 (-68%)

SF6 5 5 4 4 0 (0%) -1 (-20%) -1 (-20%)

Other 3 3 3 3 0 (0%) 0 (0%) 0 (0%) Note: BL is baseline; O1, O2, and O3 are the 3 options

Table 35. Sum of modelled cumulative emissions of F-gases in Mt CO2 eq from 2024 to 2050 for the different options for important sectors in the EU-27 Sector BL O1 O2 O3 O1-BL O2-BL O3-BL Refrigeration 128 134 112 107 6 (5%) -16 (-13%) -21 (-16%) Stationary AC 284 311 169 169 27 (10%) -116 (-41%) -116 (-41%) Mobile AC 187 187 150 127 0 (-) -37 (-20%) -60 (-32%) Switchgear 78 78 71 71 0 (-) -7 (-9%) -7 (-9%) MDIs 138 138 66 66 0 (-) -72 (-52%) -72 (-52%) Other 200 200 196 196 0 (-) -4 (-2%) -4 (-2%) Total 1 016 1 050 763 736 33 (3%) -253 (-25%) -280 (-28%) Note: BL is baseline; O1, O2, O3 are the three options

217 Looking at the major use sectors, emissions from stationary AC applications show the most pronounced deviations between Options ( Figure 29). Cumulative emissions from 2020 to 2050 are higher for Option 1 compared to the baseline in the sectors of stationary AC and refrigeration. Both Options 2 and 3 show lower cumulative emissions for all sectors, with Option 3 having the lowest emissions. Differences between Option 2 and 3 are mostly due to differences in mobile AC and, to a lesser extent, refrigeration applications. The sector “Others” in
Figure 29 contains multiple smaller sectors that are shown in detail in Figure 30. The largest contributors to the emissions in this diverse category are HFCs and PFCs from the production of halocarbons. There are only small differences between the options in the sector “Others”. Overall, Options 2 and 3 would lead to a 19 % and 21 % cumulative reduction in F-gas emissions in CO2 eq from 2020 to 2050, respectively.

218 Figure 29. Modelled emissions of F-gases under the different options in the EU-27 by major sectors Source: AnaFgas modelling

Figure 30. Modelled emissions of F-gases under the different scenarios in the EU-27 in the sector “Other”
Notes: ‘Production’ is F-gases emitted in the production process of HFCs, ‘Sp window’ is soundproof windows Source: AnaFgas modelling

219 A11.4 Emissions of HFO-1234yf

Figure 31: EU-27 emissions of HFC-1234yf in the 2015 – 2050 time period Source: AnaFgas modelling 2021

220 A12 AnaFgas Cost Modelling Results A12.1 Operative adjustment costs to industry under the existing Regulation (2015-2019) Table 36. Operative adjustment costs to end-users/equipment operators under the existing Regulation

Total equipment operators’ adjustment cost thereof: cost of HFC price increase
(= cost for equipment operators, = revenue in HFC supply chain) thereof: Cost of technological change (= net EU industry adjustment cost) Total equipment operators’ adjustment cost

Mio € / year Mio € / year Mio € / year % of equipment operators’ totex in counterfactual scenario Domestic Refrigeration -3.7 - -3.7 -0.0% Commercial refrigeration – Hermetics -6.1 2.3 -8.4 -0.2% Commercial refrigeration - Condensing units 92.2 88.8 3.4 1.0% Commercial refrigeration - Central systems 491.7 405.2 86.6 5.8% Industrial refrigeration - small 103.6 76.4 27.2 4.4% Industrial refrigeration - large 316.6 75.8 240.8 4.5% Transport refrigeration - Vans 7.2 7.1 0.2 1.5% Transport refrigeration - Trucks & Trailers 51.5 46.9 4.6 0.9% Transport refrigeration - Ships 22.1 21.0 1.2 10.5% Room AC - Moveables 2.1 3.1 -1.0 0.5% Room AC - Single split 201.2 190.7 10.6 0.9% Room AC - Rooftop 90.1 85.6 4.5 0.5% Room AC - VRF 99.3 99.2 0.1 1.5% Minichillers 1.1 1.2 -0.1 0.1% Displacement chillers - small 15.9 10.2 5.7 1.3% Displacement chillers - large 94.5 73.3 21.2 1.5% Centrifugal chillers 9.3 7.6 1.7 1.0% Heat pumps - small 42.3 30.2 12.1 0.2% Heat pumps - medium 27.9 24.8 3.1 0.4% Heat pumps - large -3.1 4.5 -7.5 -0.1% Mobile AC - Passenger cars 271.0 271.0 - 0.2% Mobile AC - Buses 23.2 23.2 -0.0 0.4% Mobile AC - Trucks N1 29.3 25.1 4.2 0.4% Mobile AC - Trucks N2 4.9 4.9 - 0.6% Mobile AC - Trucks N3 16.0 16.0 - 0.6% Mobile AC - Passenger ships 16.7 16.7 - 10.7% Mobile AC - Cargo ships 11.3 11.3 - 10.7%

221

Total equipment operators’ adjustment cost thereof: cost of HFC price increase
(= cost for equipment operators, = revenue in HFC supply chain) thereof: Cost of technological change (= net EU industry adjustment cost) Total equipment operators’ adjustment cost

Mio € / year Mio € / year Mio € / year % of equipment operators’ totex in counterfactual scenario Mobile AC - Tram 0.4 0.4 - 0.5% Mobile AC - Metro 0.1 0.1 - 0.5% Mobile AC - Train 1.2 1.2 0.0 0.5% Aerosols - technical 22.4 12.5 9.9 7.2% Aerosols - MDIs - - - - Fire extinguishers 44.8 25.8 18.9 22.0% Solvents 1.8 1.5 0.3 11.8% Foam OCF - - - - Foam XPS 29.1 12.4 16.7 26.1% Foam PU spray 26.1 21.1 5.0 15.4% Foam PU non-spray 14.1 10.4 3.7 15.0% Total 2 169
1 707
461

Source: AnaFgas cost modelling

222 A12.2 Average emission reduction costs under existing Regulation (2015-2019)

Table 37. Average emission reduction costs to end-users/equipment operators under the existing Regulation

Implied lifetime-integrated emission reductions of new equipment installed in 2015- 2019 average Cost of technological change of lifetime- integrated emission reductions of new equipment installed in 2015-2019 average Calculated emission reduction cost
for technological change Mt CO2e
Mio €
€ / t CO2e
Domestic Refrigeration 0.013 -13.3 -1 052 Commercial refrigeration - Hermetics 0.035 -26.7 -758 Commercial refrigeration - Condensing units 0.143 -2.7 -19 Commercial refrigeration - Central systems 6.938 95.9 14 Industrial refrigeration - small 1.365 20.3 15 Industrial refrigeration - large 3.684 37.1 10 Transport refrigeration - Vans 0.027 0.7 27 Transport refrigeration - Trucks & Trailers 0.543 13.2 24 Transport refrigeration - Ships 0.228 0.8 3 Room AC - Moveables 0.176 -5.8 -33 Room AC - Single split 4.146 18.1 4 Room AC - Rooftop 0.245 -11.8 -48 Room AC - VRF 0.007 0.2 24 Minichillers 0.005 -1.2 -250 Displacement chillers - small 0.052 0.5 10 Displacement chillers - large 0.342 3.8 11 Centrifugal chillers 0.055 -1.9 -34 Heat pumps - small 0.247 -24.4 -99 Heat pumps - medium 0.106 -4.5 -43 Heat pumps - large 0.137 1.8 13 Mobile AC - Passenger cars - - NA Mobile AC - Buses 0.008 2.5 334 Mobile AC - Trucks N1 0.121 9.5 78 Mobile AC - Trucks N2 - - NA Mobile AC - Trucks N3 - - NA Mobile AC - Passenger ships - - NA Mobile AC - Cargo ships - - NA Mobile AC - Tram - - NA Mobile AC - Metro - - NA Mobile AC - Train 0.000 0.0 513

223

Implied lifetime-integrated emission reductions of new equipment installed in 2015- 2019 average Cost of technological change of lifetime- integrated emission reductions of new equipment installed in 2015-2019 average Calculated emission reduction cost
for technological change Mt CO2e
Mio €
€ / t CO2e
Aerosols - technical 1.359 10.3 8 Aerosols - MDIs - - NA Fire extinguishers 1.164 13.9 12 Solvents 0.026 0.3 11 Foam OCF - - NA Foam XPS 0.008 0.1 10 Foam PU spray 0.006 0.0 5 Foam PU non-spray 0.002 0.0 7 Total 21.2 137 6.4 Source: AnaFgas cost modelling

224 A12.3 Equipment operators’ additional adjustment cost for the policy options at sub-sector level

Table 38. Option 1: Equipment operators’ additional adjustment costs, 2024 – 2036 average (costs difference to the baseline) Sector Option 1, 2024-2036

total adjustment cost vs baseline

thereof: additional cost of HFC price increase thereof: cost of technological change (= net compliance cost)

Mio EUR/year % of baseline totex Mio EUR/year Mio EUR/year Domestic Refrigeration 0.0 0.0% 0.0 0.0 Commercial refrigeration - Hermetics 0.0 0.0% 0.0 0.0 Commercial refrigeration - Condensing units 25.5 0.3% 24.5 0.9 Commercial refrigeration - Central systems -33.2 -0.4% -13.8 -19.3 Industrial refrigeration - small -10.5 -0.4% -4.7 -5.8 Industrial refrigeration - large -8.7 -0.2% -8.7 0.0 Transport refrigeration - Vans -0.9 -0.2% -0.9 0.0 Transport refrigeration - Trucks & Trailers -4.1 -0.1% -4.1 0.0 Transport refrigeration - Ships -0.9 -0.5% -0.9 0.0 Room AC - Moveables 0.0 0.0% 0.0 0.0 Room AC - Single split 12.5 0.1% 4.1 8.4 Room AC - Rooftop 1.7 0.0% 9.1 -7.3 Room AC - VRF 5.5 0.1% 18.1 -12.6 Minichillers 2.6 0.4% 0.3 2.4 Displacement chillers - small 2.0 0.1% 3.8 -1.8 Displacement chillers - large 12.3 0.2% 23.2 -10.9 Centrifugal chillers -0.7 -0.1% -0.7 0.0 Heat pumps - small 50.2 0.1% 15.4 34.8 Heat pumps - medium 34.0 0.3% 20.8 13.2 Heat pumps - large -1.8 0.0% -1.8 0.0 Mobile AC - Passenger cars -11.9 -0.1% -11.9 0.0 Mobile AC - Buses -6.7 -0.1% -6.7 0.0 Mobile AC - Trucks N1 -12.4 -0.2% -12.4 0.0 Mobile AC - Trucks N2 -2.5 -0.3% -2.5 0.0 Mobile AC - Trucks N3 -9.4 -0.3% -9.4 0.0 Mobile AC - Passenger ships -7.1 -3.4% -7.1 0.0 Mobile AC - Cargo ships -4.6 -3.5% -4.6 0.0 Mobile AC - Tram -0.2 -0.1% -0.2 0.0 Mobile AC - Metro 0.0 -0.1% 0.0 0.0 Mobile AC - Train -0.5 -0.1% -0.5 0.0 Aerosols - technical -0.1 0.0% -0.1 0.0 Aerosols - MDIs 186.6 0.0% 186.6 0.0 Fire extinguishers -4.9 -2.3% -4.9 0.0 Solvents -0.2 -2.5% -0.2 0.0

225 Sector Option 1, 2024-2036

total adjustment cost vs baseline

thereof: additional cost of HFC price increase thereof: cost of technological change (= net compliance cost)

Mio EUR/year % of baseline totex Mio EUR/year Mio EUR/year Foam OCF 0.0 0.0% 0.0 0.0 Foam XPS -0.1 0.0% -0.1 0.0 Foam PU spray 0.0 0.0% 0.0 0.0 Foam PU non-spray 0.0 0.0% 0.0 0.0 Switchgear MV 0.0 0.0% 0.0 0.0 Switchgear HV 0.0 0.0% 0.0 0.0 Total 211.7 0.0% 209.8 1.9

226 Table 39. Option 1: Equipment operators’ additional adjustment costs, 2050 (costs difference to the baseline) Sector Option 1, 2050 total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/year % of baseline totex Mio EUR/year Mio EUR/year Domestic Refrigeration 0.0 0.0% 0.0 0.0 Commercial refrigeration - Hermetics 0.0 0.0% 0.0 0.0 Commercial refrigeration - Condensing units -20.0 -0.2% 4.9 -24.9 Commercial refrigeration - Central systems -132.3 -1.6% -53.9 -78.4 Industrial refrigeration - small 3.4 0.1% 4.2 -0.7 Industrial refrigeration - large 0.5 0.0% 0.5 0.0 Transport refrigeration - Vans 0.1 0.0% 0.1 0.0 Transport refrigeration - Trucks & Trailers 1.7 0.0% 1.7 0.0 Transport refrigeration - Ships 0.8 0.7% 0.8 0.0 Room AC - Moveables 0.0 0.0% 0.0 0.0 Room AC - Single split -262.3 -1.0% -171.3 -91.0 Room AC - Rooftop -15.9 -0.1% 16.3 -32.2 Room AC - VRF 17.2 0.1% 30.1 -12.9 Minichillers -2.8 -0.8% 0.2 -3.0 Displacement chillers - small -1.2 -0.1% 1.2 -2.5 Displacement chillers - large 0.7 0.0% 10.5 -9.8 Centrifugal chillers 0.0 0.0% 0.0 0.0 Heat pumps - small -85.9 -0.1% -9.2 -76.7 Heat pumps - medium -139.4 -0.7% -15.4 -124.0 Heat pumps - large 0.0 0.0% 0.0 0.0 Mobile AC - Passenger cars 22.6 2.1% 22.6 0.0 Mobile AC - Buses 11.1 0.2% 11.1 0.0 Mobile AC - Trucks N1 24.8 0.3% 24.8 0.0 Mobile AC - Trucks N2 5.0 0.6% 5.0 0.0 Mobile AC - Trucks N3 19.7 0.7% 19.7 0.0 Mobile AC - Passenger ships 5.6 3.1% 5.6 0.0 Mobile AC - Cargo ships 3.3 3.0% 3.3 0.0 Mobile AC - Tram 0.1 0.1% 0.1 0.0 Mobile AC - Metro 0.1 0.3% 0.1 0.0 Mobile AC - Train 0.8 0.3% 0.8 0.0 Aerosols - technical 0.1 0.1% 0.1 0.0 Aerosols - MDIs 185.7 0.0% 185.7 0.0 Fire extinguishers 14.6 6.2% 14.6 0.0 Solvents 0.4 5.1% 0.4 0.0 Foam OCF 0.0 0.0% 0.0 0.0 Foam XPS 0.0 0.0% 0.0 0.0

227 Sector Option 1, 2050 total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/year % of baseline totex Mio EUR/year Mio EUR/year Foam PU spray 0.0 0.0% 0.0 0.0 Foam PU non-spray 0.0 0.0% 0.0 0.0 Switchgear MV 0.0 0.0% 0.0 0.0 Switchgear HV 0.0 0.0% 0.0 0.0 Total -341.4 0.0% 114.6 -456.1

228 Table 40. Option 2: Equipment operators’ additional adjustment costs, 2024 – 2036 average (costs difference to the baseline) Sector Option 2, 2024-2036 total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/year % of baseline totex Mio EUR/year Mio EUR/year Domestic Refrigeration 0.0 0.0% 0.0 0.0 Commercial refrigeration - Hermetics -2.8 -0.1% -0.2 -2.6 Commercial refrigeration - Condensing units 3.6 0.0% 22.2 -18.7 Commercial refrigeration - Central systems 53.0 0.6% 75.4 -22.4 Industrial refrigeration - small 81.9 3.2% 80.8 1.1 Industrial refrigeration - large 54.0 1.2% 42.8 11.2 Transport refrigeration - Vans -2.1 -0.4% 0.2 -2.3 Transport refrigeration - Trucks & Trailers -27.1 -0.5% 6.7 -33.7 Transport refrigeration - Ships 2.1 1.2% 2.2 -0.1 Room AC - Moveables 0.0 0.0% 0.0 0.0 Room AC - Single split -271.7 -1.1% -200.7 -71.0 Room AC - Rooftop 7.2 0.0% -26.0 33.2 Room AC - VRF 27.7 0.3% -34.2 61.9 Minichillers -4.1 -0.7% 0.0 -4.1 Displacement chillers - small 3.8 0.3% -0.9 4.7 Displacement chillers - large 11.0 0.2% -10.4 21.4 Centrifugal chillers 2.3 0.3% 4.3 -1.9 Heat pumps - small -118.1 -0.3% -15.7 -102.4 Heat pumps - medium -24.0 -0.2% -3.9 -20.1 Heat pumps - large 1.3 0.0% 5.6 -4.3 Mobile AC - Passenger cars 80.7 0.7% 80.7 0.0 Mobile AC - Buses 64.5 1.2% 23.2 41.3 Mobile AC - Trucks N1 69.4 1.0% 33.0 36.4 Mobile AC - Trucks N2 12.0 1.4% 3.9 8.1 Mobile AC - Trucks N3 58.9 2.1% 19.8 39.1 Mobile AC - Passenger ships 30.9 14.9% 34.6 -3.6 Mobile AC - Cargo ships 18.7 14.4% 20.7 -1.9 Mobile AC - Tram 3.5 2.4% 0.4 3.1 Mobile AC - Metro 0.9 2.9% 0.1 0.8 Mobile AC - Train -11.7 -3.5% 2.3 -14.1 Aerosols - technical 0.4 0.2% -0.2 0.6 Aerosols - MDIs 209.5 0.0% 207.5 2.0 Fire extinguishers 36.4 17.1% 36.4 0.0 Solvents -0.9 -11.9% -1.5 0.5 Foam OCF 0.0 0.0% 0.0 0.0 Foam XPS 0.3 0.2% 0.3 0.0

229 Sector Option 2, 2024-2036 total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/year % of baseline totex Mio EUR/year Mio EUR/year Foam PU spray 0.0 0.0% 0.0 0.0 Foam PU non-spray 0.0 0.0% 0.0 0.0 Switchgear MV 26.2 3.5% 0.0 26.2 Switchgear HV 23.1 3.7% 0.0 23.1 Total 420.8 0.1% 409.4 11.5

230 Table 41. Option 2: Equipment operators’ additional adjustment cost, 2050 (costs difference to the baseline) Sector Option 2, 2050 total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/a % of baseline totex Mio EUR/a Mio EUR/a Domestic Refrigeration 0.0 0.0% 0.0 0.0 Commercial refrigeration - Hermetics 0.0 0.0% 0.0 0.0 Commercial refrigeration - Condensing units -137.7 -1.7% -2.7 -135.0 Commercial refrigeration - Central systems -134.0 -1.6% -54.4 -79.6 Industrial refrigeration - small 10.5 0.4% 19.8 -9.3 Industrial refrigeration - large -9.9 -0.4% 2.4 -12.4 Transport refrigeration - Vans -2.1 -0.3% 0.4 -2.5 Transport refrigeration - Trucks & Trailers -15.9 -0.2% 7.2 -23.1 Transport refrigeration - Ships 5.1 4.6% 5.4 -0.3 Room AC - Moveables 0.0 0.0% 0.0 0.0 Room AC - Single split -512.6 -2.0% -286.9 -225.7 Room AC - Rooftop -209.9 -1.4% -27.5 -182.4 Room AC - VRF 21.8 0.1% 27.2 -5.4 Minichillers -41.4 -12.4% -0.7 -40.8 Displacement chillers - small -10.4 -0.7% -5.0 -5.4 Displacement chillers - large -64.2 -1.1% -45.4 -18.9 Centrifugal chillers -7.9 -1.0% 0.0 -7.9 Heat pumps - small -456.6 -0.4% -74.4 -382.2 Heat pumps - medium -373.2 -1.8% -107.8 -265.4 Heat pumps - large 0.0 0.0% 0.0 0.0 Mobile AC - Passenger cars 278.6 26.1% 278.6 0.0 Mobile AC - Buses 104.6 2.0% 90.5 14.1 Mobile AC - Trucks N1 147.6 2.0% 81.1 66.5 Mobile AC - Trucks N2 10.4 1.3% -11.6 22.0 Mobile AC - Trucks N3 72.3 2.5% -42.9 115.2 Mobile AC - Passenger ships -14.0 -7.8% 7.5 -21.5 Mobile AC - Cargo ships -7.8 -7.0% 4.4 -12.2 Mobile AC - Tram -0.4 -0.3% -0.3 -0.1 Mobile AC - Metro 0.7 3.1% 0.4 0.3 Mobile AC - Train -11.2 -3.5% 7.6 -18.7 Aerosols - technical 0.6 0.2% -0.6 1.1 Aerosols - MDIs 169.7 0.0% 138.5 31.2 Fire extinguishers 180.1 76.9% 180.1 0.0 Solvents -1.2 -14.5% -1.7 0.5 Foam OCF 0.0 0.0% 0.0 0.0 Foam XPS 0.0 0.0% 0.0 0.0

231 Sector Option 2, 2050 total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/a % of baseline totex Mio EUR/a Mio EUR/a Foam PU spray 0.0 0.0% 0.0 0.0 Foam PU non-spray 0.0 0.0% 0.0 0.0 Switchgear MV 92.1 8.9% 0.0 92.1 Switchgear HV 81.2 9.3% 0.0 81.2 Total -835.2 -0.1% 189.4 -1024.6

232 Table 42. Option 3: Equipment operators’ additional compliance cost, 2024 – 2036 average (costs difference to the baseline) Sector Option 3, 2024-2036 total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/a % of baseline totex Mio EUR/a Mio EUR/a Domestic Refrigeration 0.0 0.0% 0.0 0.0 Commercial refrigeration - Hermetics -2.8 -0.1% -0.2 -2.6 Commercial refrigeration - Condensing units 5.8 0.1% 30.0 -24.1 Commercial refrigeration - Central systems -0.8 0.0% 49.8 -50.5 Industrial refrigeration - small 102.8 4.1% 101.7 1.1 Industrial refrigeration - large 64.3 1.5% 53.1 11.2 Transport refrigeration - Vans -4.5 -0.8% -0.1 -4.4 Transport refrigeration - Trucks & Trailers -50.9 -0.9% 4.4 -55.3 Transport refrigeration - Ships 1.1 0.6% 1.2 -0.1 Room AC - Moveables 0.0 0.0% 0.0 0.0 Room AC - Single split -265.7 -1.1% -194.8 -71.0 Room AC - Rooftop 18.6 0.1% -14.6 33.2 Room AC - VRF 53.3 0.5% -8.6 61.9 Minichillers -4.0 -0.7% 0.1 -4.1 Displacement chillers - small 4.4 0.3% -0.3 4.7 Displacement chillers - large 15.5 0.3% -5.9 21.4 Centrifugal chillers 3.4 0.4% 5.3 -1.9 Heat pumps - small -114.2 -0.3% -11.7 -102.4 Heat pumps - medium -18.4 -0.1% 1.6 -20.1 Heat pumps - large 3.6 0.0% 7.8 -4.3 Mobile AC - Passenger cars 99.8 0.8% 99.8 0.0 Mobile AC - Buses 108.0 2.1% 12.2 95.8 Mobile AC - Trucks N1 70.0 1.0% 12.5 57.5 Mobile AC - Trucks N2 9.4 1.1% -4.6 14.0 Mobile AC - Trucks N3 58.6 2.1% -34.2 92.8 Mobile AC - Passenger ships 30.9 14.8% 38.1 -7.2 Mobile AC - Cargo ships 22.1 17.0% 24.7 -2.5 Mobile AC - Tram 3.8 2.6% 0.4 3.4 Mobile AC - Metro 1.3 4.1% 0.1 1.2 Mobile AC - Train 18.6 5.6% 2.9 15.7 Aerosols - technical 0.4 0.2% -0.2 0.6 Aerosols - MDIs 228.1 0.0% 226.1 2.0 Fire extinguishers 46.0 21.6% 46.0 0.0 Solvents -0.9 -11.9% -1.5 0.5 Foam OCF 0.0 0.0% 0.0 0.0

233 Sector Option 3, 2024-2036 total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/a % of baseline totex Mio EUR/a Mio EUR/a Foam XPS 0.3 0.3% 0.3 0.0 Foam PU spray 0.0 0.0% 0.0 0.0 Foam PU non-spray 0.0 0.0% 0.0 0.0 Switchgear MV 26.2 3.5% 0.0 26.2 Switchgear HV 23.1 3.7% 0.0 23.1 Total 557.4 0.1% 441.7 115.7

234 Table 43. Option 3: Equipment operators’ additional adjustment cost, 2050 (costs difference to the baseline) Sector

Option 3, 2050

total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/year % of baseline totex Mio EUR/year Mio EUR/year Domestic Refrigeration 0.0 0.0% 0.0 0.0 Commercial refrigeration - Hermetics 0.0 0.0% 0.0 0.0 Commercial refrigeration - Condensing units -175.1 -2.2% -5.2 -169.8 Commercial refrigeration - Central systems -135.4 -1.6% -55.2 -80.2 Industrial refrigeration - small 14.6 0.6% 23.9 -9.3 Industrial refrigeration - large -9.4 -0.4% 3.0 -12.4 Transport refrigeration - Vans -5.4 -0.8% -0.4 -5.0 Transport refrigeration - Trucks & Trailers -53.3 -0.7% -7.2 -46.1 Transport refrigeration - Ships 3.6 3.2% 4.0 -0.4 Room AC - Moveables 0.0 0.0% 0.0 0.0 Room AC - Single split -512.6 -2.0% -286.9 -225.7 Room AC - Rooftop -203.3 -1.3% -20.8 -182.4 Room AC - VRF 53.0 0.3% 58.4 -5.4 Minichillers -41.4 -12.4% -0.6 -40.8 Displacement chillers - small -10.4 -0.7% -5.0 -5.4 Displacement chillers - large -64.2 -1.1% -45.3 -18.9 Centrifugal chillers -7.9 -1.0% 0.0 -7.9 Heat pumps - small -456.6 -0.4% -74.4 -382.2 Heat pumps - medium -372.5 -1.8% -107.2 -265.4 Heat pumps - large 0.0 0.0% 0.0 0.0 Mobile AC - Passenger cars 322.1 30.2% 322.1 0.0 Mobile AC - Buses -8.1 -0.2% -23.6 15.6 Mobile AC - Trucks N1 159.4 2.1% 89.7 69.7 Mobile AC - Trucks N2 4.9 0.6% -19.3 24.2 Mobile AC - Trucks N3 51.3 1.7% -76.1 127.3 Mobile AC - Passenger ships -28.4 -15.8% -2.1 -26.3 Mobile AC - Cargo ships -12.7 -11.4% 1.2 -13.9 Mobile AC - Tram -0.4 -0.3% -0.3 -0.1 Mobile AC - Metro 1.1 4.6% 0.5 0.6 Mobile AC - Train 22.6 7.1% 8.7 13.9 Aerosols - technical 0.6 0.2% -0.6 1.1 Aerosols - MDIs 185.9 0.0% 154.7 31.2 Fire extinguishers 208.2 88.9% 208.2 0.0 Solvents -1.2 -14.5% -1.7 0.5

235 Sector

Option 3, 2050

total compliance cost vs baseline thereof: additional cost of HFC price increase thereof:
cost of technological change (= net compliance cost) Mio EUR/year % of baseline totex Mio EUR/year Mio EUR/year Foam OCF 0.0 0.0% 0.0 0.0 Foam XPS 0.0 0.0% 0.0 0.0 Foam PU spray 0.0 0.0% 0.0 0.0 Foam PU non-spray 0.0 0.0% 0.0 0.0 Switchgear MV 92.1 8.9% 0.0 92.1 Switchgear HV 81.2 9.3% 0.0 81.2 Total -897.8 -0.1% 142.2 -1040.1

236 A12.4 Emission reduction cost at sub-sector level

Table 44. Option 1: Emission reduction cost, new equipment installed in 2024 – 2036 average Sector Option 1 new equipment installed, annual average 2024-2036 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Domestic Refrigeration 0.00 0.0 NA Commercial refrigeration - Hermetics 0.00 0.0 NA Commercial refrigeration - Condensing units -0.24 13.0 NA Commercial refrigeration - Central systems -1.53 -14.0 NA Industrial refrigeration - small -0.17 -4.5 NA Industrial refrigeration - large 0.00 0.0 NA Transport refrigeration - Vans 0.00 0.0 NA Transport refrigeration - Trucks & Trailers 0.00 0.0 NA Transport refrigeration - Ships 0.00 0.0 NA Room AC - Moveables 0.00 0.0 NA Room AC - Single split -0.82 3.6 NA Room AC - Rooftop -0.19 -8.2 NA Room AC - VRF -0.64 -19.0 NA Minichillers -0.01 4.6 NA Displacement chillers - small -0.03 -0.3 NA Displacement chillers - large -0.27 -3.3 NA Centrifugal chillers 0.00 0.0 NA Heat pumps - small -0.54 169.1 NA Heat pumps - medium -0.49 50.4 NA Heat pumps - large 0.00 0.0 NA Mobile AC - Passenger cars 0.00 0.0 NA Mobile AC - Buses 0.00 0.0 NA Mobile AC - Trucks N1 0.00 0.0 NA Mobile AC - Trucks N2 0.00 0.0 NA Mobile AC - Trucks N3 0.00 0.0 NA Mobile AC - Passenger ships 0.00 0.0 NA Mobile AC - Cargo ships 0.00 0.0 NA Mobile AC - Tram 0.00 0.0 NA Mobile AC - Metro 0.00 0.0 NA Mobile AC - Train 0.00 0.0 NA Aerosols - technical 0.00 0.0 NA

237 Sector Option 1 new equipment installed, annual average 2024-2036 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Aerosols - MDIs 0.00 0.0 NA Fire extinguishers 0.00 0.0 NA Solvents 0.00 0.0 NA Foam OCF 0.00 0.0 NA Foam XPS 0.00 0.0 NA Foam PU spray 0.00 0.0 NA Foam PU non-spray 0.00 0.0 NA Switchgear MV 0.00 0.0 NA Switchgear HV 0.00 0.0 NA Total -4.9 191.4 NA

238 Table 45. Option 1: Emission reduction cost, new equipment installed in 2050 Sector Option 1 new equipment installed in 2050 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Domestic Refrigeration 0.00 0.0 NA Commercial refrigeration - Hermetics 0.00 0.0 NA Commercial refrigeration - Condensing units 0.29 -27.6 -96.3 Commercial refrigeration - Central systems 0.40 -44.1 -111.3 Industrial refrigeration - small 0.00 0.2 NA Industrial refrigeration - large 0.00 0.0 NA Transport refrigeration - Vans 0.00 0.0 NA Transport refrigeration - Trucks & Trailers 0.00 0.0 NA Transport refrigeration - Ships 0.00 0.0 NA Room AC - Moveables 0.00 0.0 NA Room AC - Single split 2.69 -127.7 -47.5 Room AC - Rooftop 0.01 -33.5 -4460.0 Room AC - VRF 0.10 -6.0 -61.2 Minichillers 0.00 0.0 NA Displacement chillers - small 0.00 0.0 NA Displacement chillers - large 0.00 0.0 NA Centrifugal chillers 0.00 0.0 NA Heat pumps - small 0.45 -204.3 -451.3 Heat pumps - medium 0.46 -338.3 -734.2 Heat pumps - large 0.00 0.0 NA Mobile AC - Passenger cars 0.00 0.0 NA Mobile AC - Buses 0.00 0.0 NA Mobile AC - Trucks N1 0.00 0.0 NA Mobile AC - Trucks N2 0.00 0.0 NA Mobile AC - Trucks N3 0.00 0.0 NA Mobile AC - Passenger ships 0.00 0.0 NA Mobile AC - Cargo ships 0.00 0.0 NA Mobile AC - Tram 0.00 0.0 NA Mobile AC - Metro 0.00 0.0 NA Mobile AC - Train 0.00 0.0 NA Aerosols - technical 0.00 0.0 NA Aerosols - MDIs 0.00 0.0 NA Fire extinguishers 0.00 0.0 NA Solvents 0.00 0.0 NA

239 Sector Option 1 new equipment installed in 2050 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Foam OCF 0.00 0.0 NA Foam XPS 0.00 0.0 NA Foam PU spray 0.00 0.0 NA Foam PU non-spray 0.00 0.0 NA Switchgear MV 0.00 0.0 NA Switchgear HV 0.00 0.0 NA Total 4.4 -781.1 -178.1

240 Table 46. Option 2: Emission reduction cost, new equipment installed in 2024 – 2036 average Sector Option 2 new equipment installed, annual average 2024-2036 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Domestic Refrigeration 0.00 0.0 NA Commercial refrigeration - Hermetics 0.00 -2.8 -2209.3 Commercial refrigeration - Condensing units 0.43 -54.1 -124.7 Commercial refrigeration - Central systems 0.83 -27.9 -33.6 Industrial refrigeration - small 0.15 0.7 4.6 Industrial refrigeration - large 0.05 1.9 40.1 Transport refrigeration - Vans 0.02 -2.4 -109.0 Transport refrigeration - Trucks & Trailers 0.13 -36.1 -285.5 Transport refrigeration - Ships 0.05 -0.2 -3.6 Room AC - Moveables 0.00 0.0 NA Room AC - Single split 3.90 -168.3 -43.1 Room AC - Rooftop 0.48 26.4 54.5 Room AC - VRF 1.45 35.6 24.5 Minichillers 0.01 -19.9 -3955.8 Displacement chillers - small 0.02 0.5 21.6 Displacement chillers - large 0.25 4.2 16.6 Centrifugal chillers 0.00 -6.9 -2094.8 Heat pumps - small 0.76 -308.3 -408.0 Heat pumps - medium 0.42 -109.4 -260.5 Heat pumps - large 0.03 -13.2 -389.9 Mobile AC - Passenger cars 0.00 0.0 NA Mobile AC - Buses 0.14 47.3 333.9 Mobile AC - Trucks N1 0.56 51.3 92.4 Mobile AC - Trucks N2 0.11 9.7 85.1 Mobile AC - Trucks N3 0.40 51.3 128.3 Mobile AC - Passenger ships 0.24 -21.7 -91.4 Mobile AC - Cargo ships 0.19 -16.3 -87.7 Mobile AC - Tram 0.01 2.6 219.1 Mobile AC - Metro 0.00 0.6 234.9 Mobile AC - Train 0.02 -28.5 -1809.3 Aerosols - technical 0.01 0.6 88.9 Aerosols - MDIs 2.42 2.1 0.9 Fire extinguishers 0.00 0.0 NA Solvents 0.04 0.5 13.4

241 Sector Option 2 new equipment installed, annual average 2024-2036 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Foam OCF 0.00 0.0 NA Foam XPS 0.00 0.0 NA Foam PU spray 0.00 0.0 NA Foam PU non-spray 0.00 0.0 NA Switchgear MV 0.16 53.0 335.8 Switchgear HV 0.53 26.6 50.2 Total 13.8 -501.1 -36.3

242 Table 47. Option 2: Emission reduction cost, new equipment installed in 2050 Sector Option 2 new equipment installed in 2050 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Domestic Refrigeration 0.00 0.0 NA Commercial refrigeration - Hermetics 0.00 0.0 NA Commercial refrigeration - Condensing units 0.06 -49.8 -862.7 Commercial refrigeration - Central systems 0.40 -44.1 -111.3 Industrial refrigeration - small 0.05 -5.2 -102.5 Industrial refrigeration - large 0.00 0.1 141.5 Transport refrigeration - Vans 0.00 -2.4 -951.4 Transport refrigeration - Trucks & Trailers 0.04 -20.9 -483.5 Transport refrigeration - Ships 0.00 0.0 NA Room AC - Moveables 0.00 0.0 NA Room AC - Single split 3.58 -170.2 -47.5 Room AC - Rooftop 0.36 -231.3 -637.3 Room AC - VRF 1.19 -3.4 -2.8 Minichillers 0.01 -46.6 -7917.3 Displacement chillers - small 0.02 -0.4 -16.9 Displacement chillers - large 0.28 -6.2 -22.2 Centrifugal chillers 0.00 -8.6 -96505.5 Heat pumps - small 1.36 -612.8 -451.3 Heat pumps - medium 1.25 -394.5 -315.8 Heat pumps - large 0.00 0.0 NA Mobile AC - Passenger cars 0.00 0.0 NA Mobile AC - Buses 0.08 25.7 333.9 Mobile AC - Trucks N1 0.82 64.0 78.4 Mobile AC - Trucks N2 0.20 17.4 87.0 Mobile AC - Trucks N3 1.01 129.3 128.2 Mobile AC - Passenger ships 0.00 0.0 NA Mobile AC - Cargo ships 0.00 0.0 NA Mobile AC - Tram 0.01 0.5 94.0 Mobile AC - Metro 0.00 0.3 261.7 Mobile AC - Train 0.01 -31.0 -3035.9 Aerosols - technical 0.01 1.2 88.9 Aerosols - MDIs 2.84 32.5 11.4 Fire extinguishers 0.00 0.0 NA Solvents 0.04 0.5 13.5

243 Sector Option 2 new equipment installed in 2050 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Foam OCF 0.00 0.0 NA Foam XPS 0.00 0.0 NA Foam PU spray 0.00 0.0 NA Foam PU non-spray 0.00 0.0 NA Switchgear MV 0.55 186.1 335.8 Switchgear HV 1.86 164.4 88.4 Total 16.0 -1005.2 -62.7

244 Table 48. Option 3: Emission reduction cost, new equipment installed in 2024 – 2036 average Sector Option 3 new equipment installed, annual average 2024-2036 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Domestic Refrigeration 0.00 0.0 NA Commercial refrigeration - Hermetics 0.00 -2.8 -2209.3 Commercial refrigeration - Condensing units 0.50 -68.8 -136.4 Commercial refrigeration - Central systems 1.08 -52.3 -48.4 Industrial refrigeration - small 0.15 0.7 4.6 Industrial refrigeration - large 0.05 1.9 40.1 Transport refrigeration - Vans 0.03 -4.8 -153.4 Transport refrigeration - Trucks & Trailers 0.16 -62.2 -376.9 Transport refrigeration - Ships 0.07 -0.3 -3.6 Room AC - Moveables 0.00 0.0 NA Room AC - Single split 3.90 -168.3 -43.1 Room AC - Rooftop 0.48 26.4 54.5 Room AC - VRF 1.45 35.6 24.5 Minichillers 0.01 -19.9 -3955.8 Displacement chillers - small 0.02 0.5 21.6 Displacement chillers - large 0.25 4.2 16.6 Centrifugal chillers 0.00 -6.9 -2094.8 Heat pumps - small 0.76 -308.3 -408.0 Heat pumps - medium 0.42 -109.4 -260.5 Heat pumps - large 0.03 -13.2 -389.9 Mobile AC - Passenger cars 0.00 0.0 NA Mobile AC - Buses 0.26 119.1 457.1 Mobile AC - Trucks N1 0.87 75.8 87.3 Mobile AC - Trucks N2 0.19 15.8 83.5 Mobile AC - Trucks N3 0.96 122.6 127.9 Mobile AC - Passenger ships 0.33 -32.2 -98.8 Mobile AC - Cargo ships 0.22 -19.5 -89.2 Mobile AC - Tram 0.01 2.9 204.6 Mobile AC - Metro 0.00 1.2 402.5 Mobile AC - Train 0.02 18.2 1030.2 Aerosols - technical 0.01 0.6 88.9 Aerosols - MDIs 2.42 2.1 0.9 Fire extinguishers 0.00 0.0 NA Solvents 0.04 0.5 13.4

245 Sector Option 3 new equipment installed, annual average 2024-2036 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Foam OCF 0.00 0.0 NA Foam XPS 0.00 0.0 NA Foam PU spray 0.00 0.0 NA Foam PU non-spray 0.00 0.0 NA Switchgear MV 0.16 53.0 335.8 Switchgear HV 0.53 26.6 50.2 Total 15.4 -361.2 -23.4

246 Table 49. Option 3: Emission reduction cost, new equipment installed in 2050 Sector Option 3 new equipment installed in 2050 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Domestic Refrigeration 0.00 0.0 NA Commercial refrigeration - Hermetics 0.00 0.0 NA Commercial refrigeration - Condensing units 0.00 -46.4 -22822.8 Commercial refrigeration - Central systems 0.40 -44.1 -111.3 Industrial refrigeration - small 0.05 -5.2 -102.5 Industrial refrigeration - large 0.00 0.1 141.5 Transport refrigeration - Vans 0.00 -4.7 -951.4 Transport refrigeration - Trucks & Trailers 0.09 -41.7 -483.5 Transport refrigeration - Ships 0.00 0.0 NA Room AC - Moveables 0.00 0.0 NA Room AC - Single split 3.58 -170.2 -47.5 Room AC - Rooftop 0.36 -231.3 -637.3 Room AC - VRF 1.19 -3.4 -2.8 Minichillers 0.01 -46.6 -7917.3 Displacement chillers - small 0.02 -0.4 -16.9 Displacement chillers - large 0.28 -6.2 -22.2 Centrifugal chillers 0.00 -8.6 -96505.5 Heat pumps - small 1.36 -612.8 -451.3 Heat pumps - medium 1.25 -394.5 -315.8 Heat pumps - large 0.00 0.0 NA Mobile AC - Passenger cars 0.00 0.0 NA Mobile AC - Buses 0.28 148.6 529.8 Mobile AC - Trucks N1 0.82 64.0 78.4 Mobile AC - Trucks N2 0.20 17.4 87.0 Mobile AC - Trucks N3 1.07 136.9 128.1 Mobile AC - Passenger ships 0.00 0.0 NA Mobile AC - Cargo ships 0.00 0.0 NA Mobile AC - Tram 0.01 0.5 94.0 Mobile AC - Metro 0.00 0.9 822.4 Mobile AC - Train 0.01 21.7 2111.0 Aerosols - technical 0.01 1.2 88.9 Aerosols - MDIs 2.84 32.5 11.4 Fire extinguishers 0.00 0.0 NA Solvents 0.04 0.5 13.5

247 Sector Option 3 new equipment installed in 2050 lifetime- integrated emission reductions compared to baseline Cost of technological change of lifetime- integrated emission reductions Calculated emission reduction cost for technological change Mt CO2e Mio € € / t CO2e Foam OCF 0.00 0.0 NA Foam XPS 0.00 0.0 NA Foam PU spray 0.00 0.0 NA Foam PU non-spray 0.00 0.0 NA Switchgear MV 0.55 186.1 335.8 Switchgear HV 1.86 164.4 88.4 Total 16.3 -841.2 -51.7

248 A12.5 Emission reduction costs baseline scenario Table 50. Equipment operators baseline compliance cost at sector level, 2024 – 2036 average (costs difference to the counterfactual scenario assuming no 2014 F-gas Regulation revision) Sector baseline scenario total baseline compliance cost vs counterfactual scenario assuming no 2014 F-gas Regulation revision thereof: additional cost of HFC price increase thereof: cost of technological change (= net compliance cost) Mio EUR/a % of counterfactual totex Mio EUR/a Mio EUR/a Refrigeration 754.1 2.3% 634.6 119.5 Stationary A/C 845.0 0.7% 976.2 -131.2 Mobile A/C 611.2 2.1% 453.0 158.1 Propellants, solvents & fire protection 74.3 0.0% 36.0 38.3 Foam 56.8 16.0% 0.9 55.9 Other HFCs 0.0 NA 0.0 0.0 SF6 0.0 0.0% 0.0 0.0 Total 2341.3 0.3% 2100.8 240.5

249 Table 51. Equipment operators’ baseline compliance cost at sector level, 2050 (costs difference to the counterfactual scenario assuming no 2014 F-gas Regulation revision) Sector baseline scenario total baseline compliance cost vs counterfactual scenario assuming no 2014 F-gas Regulation revision thereof: additional cost of HFC price increase thereof: cost of technological change (= net compliance cost) Mio EUR/a % of counterfactual totex Mio EUR/a Mio EUR/a Refrigeration -388.1 -1.2% 88.3 -476.4 Stationary A/C -1193.3 -0.5% 849.6 -2042.9 Mobile A/C 584.1 3.3% 381.1 203.0 Propellants, solvents & fire protection 95.5 0.0% 62.1 33.4 Foam 54.6 15.3% 0.0 54.6 Other HFCs 0.0 NA 0.0 0.0 SF6 0.0 0.0% 0.0 0.0 Total -847.2 -0.1% 1381.1 -2228.3

250 A12.6 Energy use Table 52. EU-27 final annual energy use savings in the refrigeration & AC (RAC) sector between 2024-2036 (average) and in 2050 for the 3 policy options compared to the baseline (changes in GWh/a and percentage) Sector Unit time horizon Option 1 Option 2 Option 3 Refrigeration

GWh per year % of baseline 2024- 2036 average -0.1 -0.1% 0.7 0.4% 0.9 0.6% Stationary A/C

GWh per year % of baseline 2024- 2036 average -0.8 -0.1% 1.6 0.2% 1.4 0.2% Mobile A/C

GWh per year % of baseline 2024- 2036 average 0.0 0.0% 0.3 0.3% 0.5 0.6% Total RAC sector

GWh per year % of baseline

2024- 2036 average

-0.9 -0.1% 2.5 0.3% 3.0 0.3%

Total RAC sector

GWh per year % of baseline 2050

2.3 0.1% 8.2 0.5% 9.1 0.5% Source: AnaFgas modelling

251 A13 Detailed modelling results of GEM-E3

Figure 32. Effects of the Options on GDP Note: EU South: Bulgaria, Croatia, Cyprus, France (25% of model results for France), Greece, Italy, Malta, Portugal, Romania, Spain; EU North: other EU27 MS, including 75% of model results for France.
“MP alignment” is Option 1, “proportionate action” is Option 2, “maximum feasibility” is Option 3

Figure 33: Consumption and investment effects
Note: EU South: Bulgaria, Croatia, Cyprus, France (25% of model results for France), Greece, Italy, Malta, Portugal, Romania, Spain; EU North: other EU27 MS, including 75% of model results for France. “MP alignment” is Option 1, “proportionate action” is Option 2, “maximum feasibility” is Option 3

Table 53. Effects for the ‘other equipment goods’ sector, policy options in comparison to the baseline indicator time horizon baseline percentage change vs baseline Option 1 Option 2 Option 3 output 2030 714.5 bn USD 2014 -0.14% 0.13% 0.15% imports 2030 55.5 bn USD 2014 -0.19% 0.19% 0.22% exports 2030 83.7 bn USD 2014 0.01% -0.02% -0.03% investment 2030 33.9 bn USD 2014 -0.14% 0.13% 0.15% employment 2030 5335 thousand persons -0.14% 0.12% 0.15% output 2050 924.1 bn USD 2014 0.09% 0.19% 0.20% -0.004% -0.002% 0.000% 0.002% 0.004% 0.006% 0.008% MP alignment proportionate action maximum feasibility Percentage change vs baseline GDP effects at EU and regional levels EU27 - 2030 EU North - 2030 EU South - 2030 EU27 - 2050 EU North - 2050 EU South - 2050 -0.004% -0.002% 0.000% 0.002% 0.004% 0.006% 0.008% 0.010% 0.012% MP alignment proportionate action maximum feasibility Percentage change vs baseline Consumption effects at EU and regional levels EU27 - 2030 EU North - 2030 EU South - 2030 EU27 - 2050 EU North - 2050 EU South - 2050 -0.0010% -0.0005% 0.0000% 0.0005% 0.0010% 0.0015% 0.0020% 0.0025% 0.0030% MP alignment proportionate action maximum feasibility Percentage change vs baseline Investment effects at EU and regional levels EU27 - 2030 EU North - 2030 EU South - 2030 EU27 - 2050 EU North - 2050 EU South - 2050

252 imports 2050 81.8 bn USD 2014 0.13% 0.44% 0.46% exports 2050 134.7 bn USD 2014 0.00% -0.13% -0.14% investment 2050 43.3 bn USD 2014 0.09% 0.20% 0.20% employment 2050 4786 thousand persons 0.09% 0.19% 0.19%

253 A14 Detailed information on administrative costs A14.1 Costs to industry – current Regulation Table 53 below shows the estimated additional administrative costs per relevant measure required to ensure compliance with the Regulation. It also explains the feedback received, and the assumptions and expert guesses made in order to arrive at an estimate of total cost per measure. Table 54. Administrative costs for industrial stakeholders under the current Regulation
Measure Action Overlap with Costs Included in Mitigation Model Impact on costs relative to the 2006 Regulation as determined by stakeholder feedback Estimated number of Companies Impacted Average Working Days Reported per annum Estimated Total Sector Working Days Total Cost (EUR, M) Record Keeping (Article 6)

Record keeping for each piece of leak-checked equipment New requirement for refrigerated trucks and trailers and ORCs included in the 2014 F- gas Regulation

No Increase in Costs: 4 Responses

No Change/significant impact: 1 Response

It has been noted within stakeholder feedback that the costs attributed to this measure have not necessarily diverged from the costs incurred as a result of the 2006 Regulation. The costs provided through stakeholder feedback have been adjusted to take into account that the 2014 Regulation represented an increase in scope of record keeping only.

The extension of scope of the 2006 Regulation will require truck and trailer operators to oblige with the requirement on record keeping. The total number of companies impacted has been derived from the number of refrigerated trucks and trailers operated within the EU. The number has been derived based upon the total number of registrations of refrigerated trailers in Germany, France, Spain and Poland in 2016, as referred to in the ICCT102. Based upon the proportion of semi-trailers which are known to be refrigerated (based upon ICCT figures), a total number of refrigerated trailers has been estimated. Using population sizes, this figure has been extrapolated to provide an estimate for the total number of refrigerated trailers in the EU.

Total: 25,752 Range reported by stakeholders (Excluding outliers): 5-20 days pa

Average (Excluding outliers): 8 days per large company pa

The above costs determined through stakeholder feedback for large stationary RAC companies have been reduced to be relevant for the sector of trucks and trailers only (estimated to be approximately 0.5 day per year). The costs have been applied equally across all sized firms.

12,900 p.a.

3

102 https://theicct.org/sites/default/files/publications/EU_Trailer_Market_20180921.pdf

254 Training and Certification (Article 10) Attending training programmes Completion of theoretical and practical tests (examination) Receiving personal certificates or company certificates No Increase in Costs: 1 Responses

No Change/significant impact: 3 Responses The total number of companies impacted has been based upon the number of companies which are required to ensure their employees (technicians for specialised refrigerated trucks and trailers) attend the appropriate training course.. Although the exact number is uncertain, based upon expert judgment this is expected to be approximately 5% of the number of service companies in the RACHP sector (derived from a survey by AREA).

Range reported by stakeholders (Excluding outliers): 5-10 days pa

Average (Excluding outliers): 8 days per large company pa

However, as the stakeholder costs include the costs of attending training, which is considered a compliance cost, the costs have been revised down based on expert judgement of the administrative burden.

Values for small and medium companies (scaled down by reporting thresholds):

Small: 0.5day pa Medium: 1 day pa Large: 2

9,400 p.a.

2.2

255 Labelling and product and equipment information (Article 12) Labelling of F-gas containers
Labelling of products or equipment containing or relying on F-gases No Increase in Costs: 6 Responses

No Change/significant impact: 2 Responses

The extended labelling requirements (relative to the 2006 Regulation) concern few adjustments and more details. The extension is expected to impact producers labelling F-gas containers and equipment manufacturers. The number of companies has been derived from the number of bulk producers, importers and equipment importers as provided in the 2020 EEA report. Additionally, an estimate of the number of companies manufacturing equipment within the EU has been included.

Given costs will vary with levels of activity, this has then been split by size according to the split of companies in the EEA reporting database.

Total: 4,699

Large: 36 Medium: 191 Small: 4,455

The administrative cost has been determined through analysis of stakeholder feedback. Due to the high average cost reported through feedback, and the known costs already incurred as a result of the 2006 Regulation, expert judgement has been used to support the final cost estimation. It should also be noted that the costs are closely related to those incurred as a result of CLP or REACH Regulations.

Average cost (large company): 1 days per annum

Values for small and medium companies (scaled down by reporting thresholds): Small:
0.25 day pa Medium: 0.5 day pa

1,245 p.a.

0.3

256 Admin costs linked to documenting compliance for pre- charged equipment with HFCs . HFC equipment importers (EEA) -
EU equipment manufacturers. Documentation of compliance and drawing up a declaration of conformity
Verification of documentation and declaration of conformity by an independent auditor Registering in the electronic HFC registry

No (if costs relate to registering & managing transactions in the registry.
Cost for authorisatio ns purchases etc are captured in technical cost modelling)
Increase in Costs: 3 Responses

No Change/significant impact: 1 Response The number of companies impacted has been based upon the number of equipment importers as registered through the HFC registry. In addition, the number of EU equipment manufacturers (estimated based upon expert judgement) will also be impacted.

Total: 2,900

Given costs will vary with levels of activity, this has then been split by size according to the split of companies in the EEA reporting database.
Large:22 Medium:118 Small: 2,749

Range reported by stakeholders (Excluding outliers): 1-40 days pa

Average (Excluding outliers): 27 days per large company pa

The costs for medium sized companies is expected to be approximately half of the costs of large companies. The costs incurred by smaller companies is expected to be a quarter of those incurred by large companies.

20,749 p.a.

4.77

Admin costs linked to Complying with the HFC phase- down and quota system (Article 15 + Article 16 + Annex V + Annex VI) and registration in the HFC Registry (Article 17) and its use for quota management and transfer.* Applying for HFC quota/declaring quota need Transfer of HFC quota and/or quota authorisations (excl. purchase price)
Registering in the electronic HFC registry

No (if costs relate to registering & managing transactions in the registry.
Cost for quota purchases etc are captured in technical cost modelling) Increase in Costs: 8 Responses

Quotas are required for the import and production of bulk HFC’s. The number of bulk importers (1694) and F-gas producers as reported for the year 2019 in the EEA report on fluorinated greenhouse gases 2020.

Total: 1701

Given costs will vary with levels of activity, this has then been split by size according to the split of companies in the EEA reporting database. Large: 13 Medium: 69 Small: 1,613

Range reported by stakeholders (Excluding outliers): 1-50 days pa

Average (Excluding outliers): 15 days per large company pa

The costs for medium sized companies is expected to be approximately half of the costs of large companies. The costs incurred by smaller companies is expected to be a quarter of those incurred by large companies.

6,709 p.a.

1.54

257 Reporting and verification* Preparation of the annual F-gas report
Verification of the F-gas report by an independent auditor Submission of the F-gas report and the verification report through the Business Data Repository (BDR) No Increase in Costs: 7 Responses

No Change/significant impact: 1 Response The number of companies impacted has been aggregated based upon four criteria: - Number of equipment importers operating above the threshold of > 100 t CO2e (1024) - Number of bulk importers required to report (1694) - Number of bulk importers operating above > 10000 t CO2e requiring verification (179) - Number of bulk exporters require to report (112)

Total: 3,009

Given costs will vary with levels of activity, this has then been split by size according to the split of companies in the EEA reporting database. Large: 23
Medium: 122 Small: 2,853 Range reported by stakeholders (Excluding outliers): 5-30 days pa

Average (Excluding outliers): 13 days per large company pa

The costs for medium sized companies is expected to be approximately half of the costs of large companies. The costs incurred by smaller companies is expected to be a quarter of those incurred by large companies.

10,499 p.a.

2.4 Total

61,540 14,1

In addition to the administrative costs outlined in the table above, stakeholders were also asked to provide feedback on the costs associated with the measures related to Articles 3, 7 and 8, some of which are rather adjustment costs then administrative costs. The costs for these measures are not captured in the AnaFGas costs.

258

Table 55. Additional adjustment costs to Industry (not covered by the AnaFGas modelling) Measure Action Impact on costs relative to the 2006 Regulation as determined by stakeholder feedback Range of estimated Cost Per Company (Based on Stakeholder Feedback) Number of companies impacted Total Cost [million €] Prevention of F-gas emission (Articles 3 & 7) Preventing emissions from production Increase in Costs: 7 Responses

No Change/significant impact: 1 Response

To note responses also considered costs incurred as a result of Article 3 Cost per company has been estimated at approximately 3.5 days per year based on stakeholder feedback of combined costs for Article 3 and Article 7 and understanding of the sector The costs associated with Article 7 are expected to impact approximately 1700 companies.
This has been based upon the known number of importers of bulk gases, as determined by the 2020 EEA report103 0.4 Recovery of F-gases (Article 8) Carrying out recovery of F-gases from equipment by a certified person so that those gases are recycled, reclaimed or destroyed
The requirement existed in the 2006 F- gas Regulation for most sectors. Additional provision was introduced in the 2014 Regulation for refrigerated trucks and trailers Increase in Costs: 7 Responses

No Change/significant impact: 1 Response 5 – 10 days/year (excluding outliers and based upon three stakeholders)

Average cost (Large RAC company): 7 days/year

However, for refrigerated trailer operators specifically the costs have been revised downward and are estimated to be approximately 1 days per year.
.

The number of companies has been set to the equivalent as the number of companies impacted by Article 6 ‘Record keeping’. The costs have been adjusted down to take into consideration that the measure is only an extension. The cost will only impact the refrigerated trucks and trailers sector. 5.9

103 https://www.eea.europa.eu/publications/fluorinated-greenhouse-gases-2020

259 A14.2 Costs to industry – policy options

Table 56. Results and detail on the calculations and assumptions regarding administrative costs to industry
Policy Measure Scenario Number of companies Days/Year per Company Total Days (Annual) Total Days (One-off) Total Annual Cost (EUR,M) Total One Off Cost (EUR, M) Explanation Apply requirements for prevention of emissions of fluorinated gases to some substances listed in Annex II and some new substances Policy Options 2 and 3
Total: 13,075

Similar effort assumed for large and small companies

Large: 1 Medium: 1 Small: 1 N/A 13,075 - 3
The policy measure is associated with ‘Article 3 (Prevention of emissions)’ and the costs are therefore expected to be predominately compliance costs. The number of companies impacted will be based upon the number of users of SO2F2, anesthetics, NF3 and HCFOs.
The bulk of the users are related to the use of anesthetics. Based on data reported by the European Hospital and Healthcare Foundation, there are approximately 2.9 hospitals per 100,000 inhabitants. Based upon the current population of the EU this would equate to approximately 13,000 hospitals. The use of SFOF2 (predominately logistics companies for wood storage and fumigation), NF3 (solar /PV energy and semi-conductor industry) and HCFOs (EV battery cooling) represent only a small number of additional EU users concerned, estimated to be approximately 50 – 100. A small one-off administrative cost is expected to determine any requirements necessary to prevent a leakage of emissions. This cost is expected to be approximately 1 day, and will be consistent across all users regardless of size. There are not expected to be any ongoing reporting requirements associated with the policy measure.
Apply requirements for prevention of emissions of F-gases to manufacturing, transport, transfer and storage of bulk gases also to non- producers
Policy options 2 and 3 Total: 19,016

Large: 1711 Medium: 380 Small: 16,925

Similar effort assumed for large and small Large: 1 Medium: 1 Small: 1 19,016

- 4.4

- As a result of the policy measure, the requirement will be extended to service companies, importers and distributors. Although the measure will be a legal requirement, it is already considered to be best practice within industry, and therefore it is estimated that approximately 85% of relevant companies will not be impacted. The number of service companies has been based on a survey by AREA and complementary information from MS authorities. The number of importers has been based upon EEA BDR reporting, and the number of distributors through expert judgement of the sector. The administrative burden has been estimated to be approximately 1 day linked to identifying

260 Policy Measure Scenario Number of companies Days/Year per Company Total Days (Annual) Total Days (One-off) Total Annual Cost (EUR,M) Total One Off Cost (EUR, M) Explanation companies

and regular checking of processes in place to avoid emissions. The breakdown of company size has been based upon a German industrial survey determining the number of employees at German service operators. Remove the limit for reporting on production, import, export and destruction of Annex I and II gases (HFCs only) All options Total: 100 Large:1 Medium:4 Small:95 Similar effort assumed for large and small companies

1 day 100 - 0.02

- The removal of the reporting limit is expected to impact approximately 100 companies. This is based upon checks conducted by of the Polish CBR database for imports/exports for which no threshold applies. This search yielded no entries which were below the current threshold definition. Production & destruction below the threshold are very unlikely (as those who operate such facilities have higher amounts per year). It has therefore been concluded that there will be a very low number of affected companies: Those companies affected would be those which buy a few bottles per year abroad. The policy change would require these additional companies to now submit an additional report, with an expected additional administrative burden of approximately one day expected, based upon current reporting costs and the fact that the report will consist of very little input data.
F-gas certification programmes also to include HCFOs and F- gas free alternatives and practical training on all alternatives and add energy efficiency issues to be part of training (stationary RACHP) Policy Options 2 and 3

Total:125,649 Large: 1,425 Medium: 5,101 Small: 119,122

Large: 6 Medium: 2 Small: 0.6
90,225

20.8

The number of companies impacted is based upon the number of company certificates in the RACHP sector as determined by a survey by AREA and complementary information from MS authorities. Certification will become more expensive for those companies that wish to train their personnel in the future, as the training is more extensive (practical training) and the scope is wider.
The costs determined here are related to having personnel trained. These costs are considered adjustment costs. Large companies are expected to train 3 employees per year, medium sized companies 1 and small companies between 0 – 1 employee. These extra costs may also be regarded as adjustment costs and following the training is not explicitly required, only certification is.

F-gas certification programmes also to include HCFOs and F- Policy Options 2 and 3
Total:125,649 Large: 1,425 0.2 (a couple hours per 25,130

5.8

The number of companies impacted is based upon the number of company certificates in the RACHP sector as determined by a survey by AREA and complementary information from MS

261 Policy Measure Scenario Number of companies Days/Year per Company Total Days (Annual) Total Days (One-off) Total Annual Cost (EUR,M) Total One Off Cost (EUR, M) Explanation gas free alternatives and practical training on all alternatives and add energy efficiency issues to be part of training (stationary RACHP) (energy efficiency also included on Option 1) Medium: 5,101 Small: 119,122

company only)

authorities. The current administrative costs linked to certification are based upon data collected through stakeholder engagement for the evaluation of the Regulation. Certification will become more expensive for those companies that wish to train their personnel in the future, as the training is more extensive (practical training) and the scope is wider.
The costs determined here are only the true admin costs related to obtaining and presenting certificates.
The requirement to install etc. stationary RAC only by certified personnel only has an additional bearing if such equipment holds pure HCFOs, rather than HFC blends with HCFOs which are already covered by today’s obligations. This is the case in very few applications. The administrative cost linked to energy efficiency issues are expected to be very minor as this will entail only an additional aspect of the training curriculum.
General prohibition of entry into EU territory of non-refillable F-gas containers and other illegal goods under the Regulation and extend the scope to unsaturated HFCs All policy options Total: 204 Large: 2 Medium: 8 Small: 193 Similar effort assumed for large and small companies Large: 1 Medium:1 Small:1 204 - 0.05 - Administrative burden for those respecting the rules and using best practice as importers will not be impacted as companies should be using re-fillable cylinders for HCFOs already. The number of companies impacted has been based upon the number of bulk importers registered in 2019 based on BDR reporting. It has been estimated that approximately 5% of importers are not currently conducting best practice for HCFOs and will therefore incur additional administrative cost. The admin burden upon these companies is expected to be minimal. Mandatory certification for bulk gas importers
Only Policy Option 3
Total:1694 Large: 19 Medium: 69 Small:1606

Annual: 0.2 (a couple hours per company only) One Off: Large:10 Medium: 8 Small: 6 847

10378 0.18

2.3 As noted in Commission Implementing Regulation EU 2015/2067 there are currently four categories relating to environment- friendly handling of the system and refrigerant during installation, maintenance, servicing or recovery and leakage checks. The policy option will require company compliance with category III.
The number of companies involved in importing HFCs are taken from the Fgas Portal & HFC Licensing System. The administrative costs linked to certification are be based upon data collected through stakeholder engagement for the evaluation of the Regulation.

262 Policy Measure Scenario Number of companies Days/Year per Company Total Days (Annual) Total Days (One-off) Total Annual Cost (EUR,M) Total One Off Cost (EUR, M) Explanation Add obligation for certification for natural persons and undertakings selling bulk F-gases online Only Policy Option 3 Total: 500 Large:7 Medium: 20 Small: 473 Annual: 0.2 (a couple hours per company only) One Off: Large:10 Medium: 8 Small: 6 100

3063 0.02

0.7 As noted in Commission Implementing Regulation EU 2015/2067 there are currently four categories relating to environment- friendly handling of the system and refrigerant during installation, maintenance, servicing or recovery and leakage checks. The policy option will require company compliance with category III. The number of companies involved in selling F-gases online has been based upon desk-based research through examining the number of sellers on sites such as Alibaba. The administrative costs linked to certification are be based upon data collected through stakeholder engagement for the evaluation of the Regulation. Add obligation for documentation for downstream sales for bulk HFC/F-gases (e.g.  “declaration of conformity”) and record keeping Only Policy Option 3 Calculated based upon costs to German industry rather than to specific companies. n/a 1641 - 0.38 - The policy option is expected to lead to an increase in administrative costs across all actors in the supply chain, including service companies and gas distributors. As a result of the policy option, additional administrative costs are anticipated as a result of the need for companies to submit further documentation. The estimated costs have been based upon costs estimated for German industry, as this requirement has been previously adopted by the German government. The costs have been attributed to bureaucratic costs from information obligations and estimated to be an annual cost of 70,000 EUR. The costs for the German economy have been extrapolated across the EU based upon population size to give an estimated total annual cost of 377,500 EUR. This is the equivalent of 1,641 days per year a rate of 230 EUR per day. Add requirement for producers and importers to be registered and hold sufficient quota at the time of release for free circulation/placing on the market / physical entry into territory All Options Total: 1694 Large: 19 Medium: 69 Small:1606

Similar effort assumed for large and small companies Large:1 Medium: 1 Small: 1 1694

- 0.39

- The policy option will require exporters and importers to schedule trade to ensure that their quotas are not exceeded. This could, for instance, lead to a delay in importing (to ensure the correct amount has been exported) and a subsequent administrative cost will be associated with ensuring this is planned properly. The number of companies impacted has been based upon the number of reporting bulk importers in 2020 as determined through the BDR database. The administrative impact of undertaking the additional planning is expected to be approximately 1 day, regardless of company size.

263 Policy Measure Scenario Number of companies Days/Year per Company Total Days (Annual) Total Days (One-off) Total Annual Cost (EUR,M) Total One Off Cost (EUR, M) Explanation Add obligation for importers to have quota-exempted quantities labelled during POM/physical entry into territory and that gases must be explicitly labelled as “exempted from quota” All Options Total: 65

Similar effort assumed for large and small companies

Large:1 Medium: 1 Small: 1 65

- 0.02

- The policy option will extend the labelling requirements for importers. As importers are already required to comply with labelling requirements, the policy is expected to lead to only a minimal additional burden for companies based upon additional labelling requirements for exempted gases. The requirement is expected to impact approximately 65 companies dealing with exempted gases (from F-gas Portal & HFC Licensing System) Strengthen the obligation on destruction of HFC-23 by-production Options 2 & 3 Total:1694 Large: 19 Medium: 69 Small:1606

Large:2 Medium: 0.5 Small: 0.3

552

- 0.1

- The policy option will lead to a small additional administrative burden for importers as additional information will be required to be provided. The administrative burden of this policy is however expected to be small to companies compliant with existing rules and will require only outlining additional information to document compliance. Align the establishment of the annual declaration- based quota allocation with the frequency of the quota allocation based on reference values All Options Total: 1800 Large:20 Medium: 73 Small: 1707

Similar effort assumed for large and small companies Large: 3 Medium: 3 Small: 3

-5,400

-1.2

- Annual quota application requirements will be required once every three years, leading to a reduction in administrative burden for reporting companies. This will lead to a reduction in administrative for the estimated 1800 current quota holders. Based upon stakeholder and an understanding of the expected cost of the measure a time saving of 3 days per year is expected. Introduction of a registration fee and/or quota allocation price linked to CO2 equivalents Options 2 & 3 Total: 2,000 Large: 23 Medium: 81 Small: 1,896 Large:5 Medium: 3 Small: 1` 2,253

0.5

The admin burden is linked to the requirements for companies having to pay for their quota. The number of companies impacted is estimated to be 2000 quota companies. The admin burden is linked to internal administrative work including arrangements to transfer relevant fees.
Registration and reporting obligation for exporters of products and equipment containing Only Option 3 Total: 2,000 Large: 23 Medium: 81 Small: 1,896 Large:15 Medium: 4
Small:1 1,581 - 0.4 - Based on expert judgement a significant number of companies are expected be impacted by the policy option, with an estimate of 2000 companies expected to be impacted, similar to importers. The costs of registration and reporting are estimated based on stakeholder feedback indicating the number of days required for

264 Policy Measure Scenario Number of companies Days/Year per Company Total Days (Annual) Total Days (One-off) Total Annual Cost (EUR,M) Total One Off Cost (EUR, M) Explanation F-gases and other fluorinated substances reporting under article 19. Labelling requirements for H(C)FOs, NF3, SO2F2, anesthetics; as well as MDIs Options 2 and 3 Total: 30

Large: 30

Large: Medium:
Small

Not applicable 60

0.01

Extending the labelling requirements for the gases HFCOs, NF3, SO2F2, anesthetics as well as MDIs will lead to an increase in administrative costs for a small number of producers and importers. The production and importation of these gases is considered relatively uncommon, with, for example, only one producer for SO2F2 known to reside within the EU. The additional costs are therefore expected to impact approximately 30 companies, all of which would be expected to be rather large. The administrative cost associated with the labelling requirements has been based upon stakeholder feedback for labelling costs as collected through stakeholder consultation for the evaluation of the Regulation.
Reporting obligation for recipients of quota-exempted HFCs Options 2 & 3 Total: 65

Large: 45 Medium: 13 Small: 7

Large:4 Medium: 1 Small:0.5 196.5

- 0.04

- The additional requirement is expected to impact approximately 65 companies based upon reporting assessed in the EEA’s BDR database. The administrative burden is expected to be minimal, with a small report required only. The breakdown of companies by size has been based upon expert judgement of the sector, and knowledge that the majority of the companies impacted will be large. Reporting obligation for undertakings performing reclamation of F- gases
Options 2 & 3 Total: 50 Large:35 Medium:10 Small:5

Large:2 Medium: 1 Small: 0.5 83

- 0.02

- The policy option will lead to an increased admin burden for both companies reporting on reclamation. In terms of companies reporting on reclamation it is estimated that approximately 50 companies will be affected, based upon expert judgement. An annual administrative cost of approximately 1 day per year is expected to account for the additional reporting for a medium sized company. Reclamation companies can be assumed to have already in place an internal monitoring system on the data to be reported. The breakdown of companies by size has been based upon expert judgement of the sector, and knowledge that the majority of the companies impacted will be large. Reporting obligation for undertakings performing recycling
of F-gases
Only Option 3 Total: 750 Large: 9
Medium: 30 Large:5 Medium: 3 Small: 1 845

- 0.2

- A larger number of companies reporting on recycling will be impacted (vs. those doing reclamation), with an estimate of 750 companies expected to be impacted, based upon the current number of certified technicians and expert judgement. The

265 Policy Measure Scenario Number of companies Days/Year per Company Total Days (Annual) Total Days (One-off) Total Annual Cost (EUR,M) Total One Off Cost (EUR, M) Explanation Small: 711 administrative costs are expected to include both the annual reporting costs and also a small implementation report linked to the collection requirements. The annual cost for recycling companies is expected to be higher than for reclamation and has been based upon expert judgement of the sector. Reporting obligation for operators of HV switchgear and electrical equipment (< 52 kV) with regard to SF6 emissions during lifetime and for operators in cooperation with certified personnel of electrical equipment for decommissioning of such equipment Only Option 3 Total: 2475 Large:28 Medium:100 Small:1016 Large:5 Medium: 3 Small: 1 2788 - 0.6 - The administrative burden will apply to the switchgear sector and decommissioning companies. In addition, the policy will also impact distribution grid operators. Based on expert judgement there is expected to be a 5 day/year administrative burden associated with this requirement for a large sized company. The administrative burden is primarily associated with the installation of new equipment which will now need to be accounted for. The switchgear sector is estimated to account for approximately 50 - 100 companies, and 2400 distribution grid operators. Lower the threshold for verification of bulk HFCs placed on the market All Options Total: 1,072 Large: 12 Medium: 44
Small: 1,016 Large: 6 Medium: 4 Small: 2 2295 - 0.5 - The current threshold has been set at >10,000t CO2e, with the threshold set to be lowered to >1,000t CO2e. The current number of companies impacted is estimated to be 19% of quota holders (estimated to be 19% of 1800 companies). Following the reduction of the threshold, the number of companies impacted is expected to increase to 86% of quota holders. It should also be noted that approximately 134 companies are known to be voluntarily reporting in 2020, and therefore the potential additional cost to these companies has been removed as they are already incurring the burden. The additional costs for the companies impacted is estimated to be 1000 - 3000 EUR per year (based on feedback collected through consultation with an auditor) which has been converted into days per year based on a rate of 230 EUR per day. Add obligation to submit verification reports for bulk HFCs All Options Total: 1694 Large: 19 Medium: 69 Small: 1606

Large: 0.5 Medium: 0.5 Small: 0.5

847

- 0.2

- The obligation to record the information is already included within the current Regulation and therefore the obligation to submit this will only lead to a small increase in administrative burden. Based on current reporting companies this will be estimated to impact approximately 2000 companies.

266 Policy Measure Scenario Number of companies Days/Year per Company Total Days (Annual) Total Days (One-off) Total Annual Cost (EUR,M) Total One Off Cost (EUR, M) Explanation Cost are assumed to be similar for large and small companies Align reporting and authorization thresholds for placing pre-charged products and equipment on the market

All Options Total: -358 Large: -4 Medium: -15 Small: -339 Large:5 Medium: 3 Small:1 -404 - -0.09 - The reporting threshold is changing from 500 t CO2e of Annex I & II to 100 t CO2e of HFCs or 500 t CO2e of Annex I & II. This avoids that use of authorizations are not reported in such cases. This is expected to likely impact a small number of companies which import equipment now captured by the amended threshold. The total number of importers has been based upon data from BDR reporting. The reporting requirements are estimated to be approximately 5 days/year for large companies. Align reporting and verification dates between bulk and pre-charged products and equipment All Options Total: 6,535 Large: 74 Medium: 265 Small: 6,196 Negligible

Negligible

- Negligible

- For bulk, the accuracy of the data is verified by an independent auditor by 30 June each year, while reporting is, however, set to take place by 31 March each year. For equipment, it is 31 March for both. The option relaxes the time to deliver the verification to may (for equipment) and anticipates it for bulk. The additional costs for companies is expected to be minimal as companies will undertake the verification shortly after data has been collected (and reported). It will nominally impact time pressures only and will not represent an additional burden for reporting companies.
Relax the verification threshold for placing pre-charged products and equipment on the market All Options Total: -1428 Large: - 16 Medium: -58 Small: -1354 Large:10 Medium: 8 Small: 5 -7395

- -1.7

- The current threshold is set at >100t CO2e with the policy option set to increase this to >1,000 t CO2. Currently 17% of companies are below the threshold and this number will rise to 52% as the threshold rises. The total number of equipment importers (1024) has been based upon the BDR reporting database. Add legal basis for electronic verification process (separately for bulk and pre- charged products and equipment) Only Options 2 & 3 Total: 6,535 Large: 74 Medium: 265 Small: 6,196 Large:1 Medium: 1 Small:1 -6535

- -1.5

- As a result of the policy option there is expected to be a slight saving for a number of companies that are compliant with current verification rules once the system has been introduced, which is expected to be approximately 10% of current costs. This is due to the auditor’s role and task becoming clearer, and because the relevant data will now be readily available through the electronic process. It is considered inefficient overall for companies to adopt different approaches. Utilising an electronic verification system will enable synergies to be accrued and better help to ensure the availability of auditors. The saving to each company has been

267 Policy Measure Scenario Number of companies Days/Year per Company Total Days (Annual) Total Days (One-off) Total Annual Cost (EUR,M) Total One Off Cost (EUR, M) Explanation based upon expert understanding of the system. Obligation to provide NIL reports for quota holders All Options Total: 300 Large: 3 Medium:12
Small:285 Large:0.25 Medium: 0.25 Small:0.25 75 - 0.02 - The impact upon administrative costs is expected to be very small as the obligation to provide a NIL report will be a straightforward and simple task. Based upon expert judgement and the current number of quota holders this is expected to impact approximately 300 companies. Require Member States to use electronic reporting systems for collection of F-gas service intervention, technicians, sale of non-hermetic equipment and emissions data Only Option 3

Total: 65,717 Large: 5915 Medium: 13,143 Small: 46,559

The reduction of burden is assumed to be similar for large and small companies Large/Me dium/Sma ll: 0.25 recurrent/ 1 initial

+/- 0 65,717 0 15,1 The policy will have an impact upon all companies which are required to currently maintain reporting system records. The requirement to use a common electronic tool at national level will be expected to lead to an initial implementation cost of approximately 1 day, based an understanding of the costs to implement the system in Poland and expert judgment. Upon the implementation of the new system the ongoing annual administrative burden is expected to not change significantly, due to the use of the electronic reporting recording tool vs manual recording and storage. Based upon stakeholder consultation it is estimated that approximately one third of Member States already have some sort of system in place, and therefore no further cost is expected. The number of companies impacted has been based upon the number of reporting companies in Slovakia where detailed data is available and extrapolated across the EU, taking into account the Member States for which a system is in place. The breakdown of company size has been based upon a German industrial survey determining the number of employees at German service operators. Require reporting by companies on new substances
All Options Total: 100 Large: 10 Medium: 10 Small: 80 Existing company: 0.2 day New company: 1 day 68 - 0.02 - A number of substances which are fluorinated greenhouse gases, yet are not yet covered by the Regulation. There will be an increase in administrative costs due to an increase in the number of companies require to report on these additional substances. . Reporting requirements will mainly include production, import, export companies. As a result of the policy option there will be new companies that have to report and there will also be existing reporting companies reporting only on additional substances (lower effort).

268 Table 57. Total additional annual administrative costs to industry (recurrent, in million €)

Option 1 Option 2 Option 3 Objective A - 4.4 4.4 Objective B 0.02 0.02 0.02 Objective C -0.74 5,7 6,2 Objective D -1.1 -2.5 -1.3 Total Cost -1.8 7,6 9,4

The table below shows the aggregated change in one-off administrative costs as a result of implementing the policy measures under each of the three ambition scenarios.

Table 58. Total additional administrative costs to industry (one-off, in million €)

Option 1 Option 2 Option 3 Objective A - 3 3 Objective B - - - Objective C - - 3 Objective D - - 15.1 Total Cost - 3 21.1

269 A14.3 Costs to authorities – current Regulation A14.3.1 At Member State level Figure 32 shows the range of financial estimates (€) and

270 Figure 33 presents the range of working day estimates reported by Member States through the targeted interviews associated with ongoing annual costs, split by measure. The tables below each figure show numerically the upper and lower range illustrated. For the measures where only one Member State has provided a value this has been listed as both the upper and lower range.
Figure 32: Financial estimates of recurrent administrative costs per MS per annum, linked to the implementation and enforcement of the Regulation

Table 59 Financial estimates of recurrent administrative costs per MS per annum, linked to the implementation and enforcement of the Regulation
Measure Lower (€) Median (€) Upper (€) Storing of records in a national database 10,000 25,000 50,000 Detecting non-compliance with respect to POM and use restrictions 600 600 600 Encouraging the development of producer responsibility schemes 43,000 43,000 43,000 Adapting certification and training programmes 1,000 5,000 25,000 Checking imports of HFCs 2,000 15,400 29,200 Controlling leak check obligations and record keeping 425 425 425 Guidance and awareness raising 5,000 23,500 100,000

271 Figure 33: Time estimates of recurrent administrative costs per MS per annum, linked to the implementation and enforcement of the Regulation

Table 60. Time estimates of recurrent administrative costs per MS per annum, linked to the implementation and enforcement of the Regulation Measure Lower (days/pa) Median (days/pa) Upper (days/pa) Storing of records in a national database 1 23 180 Encouraging the development of producer responsibility schemes for the recovery, recycling, reclamation and destruction of F-gases 3 25 170 Detecting non-compliance with respect to POM and use restrictions 2 30 120 Detecting non-compliance with respect quota authorisations and HFC phase-down 10 10 100 Checking imports of HFCs 5 5 240 Adapting certification and training programmes 5 5 5 Controlling leak check obligations and record keeping 4 50 40 Controlling end-of-life measures 20 50 20 Guidance and awareness raising 3 40 250

In addition to the annual costs outlined, respondents provided estimates for a range of one-off costs, including: for setting up a database for storing records (Article 6 of the Regulation), establishing a reporting system for emissions data or a joined database. It should be noted, however, that the cost of establishing the reporting system for emissions is not unique to the F-gas Regulation, nor is it fully prescribed, but will also be incurred as a result of the EU Monitoring Mechanism regulation.

272 In total, €1.5m of one-off upfront costs were reported (figure not extrapolated to all MS). The table below shows the one-off costs or ranges reported by the respondents. Given that Member States had the opportunity to report either financial estimates or working days, the ranges for a measure can vary dependent upon the costs provided by different Member States.
To note: - Italy reported significant costs (€560,000) for the storing of records in a national database and establishing reporting systems for emissions data. The costs have not been included in the table below as it was noted that the costs also included the ongoing management of the databases.
Table 61: Examples of one-off administrative costs reported by national competent authorities
Measure
Cost (Range Reported)
Reporting to the EU Commission (e.g. Articles 9, 10, 25) 320 – 1,000 (EUR) 2 – 50 (days) Storing of records in a national database
50,000 (EUR) Establishing training and certification programmes for service technicians carrying out F-gas related activities 15,000 - 170,000 (EUR) 2.5 – 300 (days) Establishing reporting systems for emissions data (Article 20) and national database
20,000 - 200,000 (EUR) 2.5 – 180 (days)

Total costs To arrive at total costs, the costs from those MS that provided cost data were aggregated and extrapolated to an overall total using the number of reporting companies in each Member State104. This approach considering the total number of reporting companies has been applied to the majority of measures as this was considered to provide the most accurate basis for extrapolating the costs. However, where appropriate, in some cases the extrapolation has been based upon the number of reporting importers within Member States. This results in the following estimates: - Using monetary cost data provided, the total yearly costs across all Member State competent authorities and across all measures is estimated to be €8.8 million.
- Using working days data provided, the total yearly costs across all Member State competent authorities and across all measures is estimated to be 58,300 working

104 EEA report - Fluorinated greenhouse gases: Data reported by companies on the production, import, export and destruction of fluorinated greenhouse gases in the European Union, 2007-2019, 2020, 2020, EEA

273 days to ensure compliance with the Regulation (including small costs associated with guidance and awareness raising). The latter value would give, based on an illustrative cost per day of €230 per day, a total cost estimate of €13.4 million. Both estimation are therefore giving comparable results, but a larger dataset was gathered for the working days estimations. Some of the following may be only partially or not included in these totals: - Environmental inspections. This is one of the most significant costs reported. Such inspections are rarely just focusing on Fgas requirements alone, but also check other environmental obligations at the same time. By way of example, the Netherlands reported around €3million per year with only €0.6 million linked to the activities of the national Environmental Inspectorate in relation to illegal trade and leakages. The bulk of the cost is often associated with the need for local authorities to check smaller companies on leakage-related aspects while undertaking other environmental checks. Sweden, for example, reported the involvement of 280 local and 20 regional authorities with a total estimate for inspection work of around 1,450 working days per year, with Poland also estimating a high cost for this measure. In Sweden, these costs comprised of implementation and enforcement activities associated with controlling leak checks obligations, record keeping and controlling end-of-life measures. A respondent from Bavaria suggested that the equivalent of three full time employees (person days) is deployed on F-gas related inspections in this German State. The time requirement per inspection varies by Member State. One of the drivers appears to be the approach to any legal issues arising. Considering this, and given that some Member States only included national costs linked to inspections while others covered local and regional authorities, the enforcement cost category is excluded from the overview in Figure 24 and 25.
- Existing obligations. Prior to the 2014 Regulation, requirements existed around some of the measures, such as the controlling leak check obligations, record keeping and controlling end-of-life measures. As such, where Member States report such costs, it may be that not all of these are ‘additional’ relative to the activities they had to undertake under the previous 2006 Regulation. There are also some synergies with Waste regulation, e.g. with respect to encouraging producer responsibility schemes. As such, costs reported by Member States in order to encourage the development of producer responsibility schemes for the recovery, recycling, reclamation and destruction of F-gases (Article 9) may not strictly be attributable to the F-gas Regulation specifically.
- Customs checking. Custom costs depend mostly on the risk profiling of the goods, and thus the controls actually carried out. In theory, illegal imports should already be dealt with in an effective way – i.e. confiscation and destruction. Such costs relate to the day-to-day of customs and are likely not fully captured in the numbers above.

274 A14.3.2 At the European level An overview of the administrative costs incurred by the EU Commission is provided in Table 62 below. The costs focus on those borne by DG CLIMA and do not cover those of other services, e.g. DG TAXUD and others on illegal trade issues and building CERTEX (EU Single Window for Customs). Also, it does not include the costs of external support to DG CLIMA. Table 62. Administrative costs incurred by the EU Commission
Measure
Working days per year Derogation decisions (Article 11)
/ Calculation of reference values / allocation of quota (Article 16)
30 days
IT-related aspects of the HFC Registry (Article 17)
(including development & set-up, maintenance, hosting)
330 (1.5 person years) Plus hosting costs (€12.500) Ensuring smooth functioning of the HFC Registry and the quota system:
 Assessing registrations and declarations
 Exclusion of illegitimate market actors
 Helpdesk (“how do I?” support on using the system)

100 120
60 Enforcement of compliance with bulk quota
80 Enforcement of compliance of equipment importers (authorisations)
20 Publication of reports (Article 21)
20
F-gas Consultation Forum (Article 23)
10
Assuring compliance by EU Member States (e.g. infringement proceedings, EU pilots)
60 Notifications to EU Member State competent authorities (e.g. cases of non-compliance)
20 Providing information on the implementation of the Regulation (including compliance) to stakeholders
230
Illegal Trade incl. Single Window
60 Legal Issues incl. Court cases
160 Reporting
10
Monitoring the phase-down
10
Access to files
20 Committee meetings, implementing acts,
60 Meeting with stakeholders
30 Total
1100 person days EC: 5+ people: 1100 days + 330 days (IT)

275 An overview of the administrative costs incurred by the EEA is provided in Table 63 below. The costs provided also highlight a spike in costs for External IT consultancy support in the year 2018. The EEA have noted that after the 2017 reporting round the old MS Access F-gas database suffered from the increased volume of data from many new companies. It was hence re-developed into MS SQL during 2018, which required a significant number of extra IT-development days. Table 62Table 61 below. The data provided from the EEA on their costs are based on EEA time recording and invoice information from EEA’s contractors. With regard to the BDR helpdesk work, the vast majority of work is related to F-gases (approximately 80 %). The costs provided also highlight a spike in costs for External IT consultancy support in the year 2018. The EEA have noted that after the 2017 reporting round the old MS Access F-gas database suffered from the increased volume of data from many new companies. It was hence re-developed into MS SQL during 2018, which required a significant number of extra IT-development days. Table 63. Administrative costs incurred by the EEA

Unit 2012 2013 2014 2015 2016 2017 2018 2019 2020 EEA in-house F-gas thematic project management pers on days 0.25 0.30 0.40 0.50 0.50 0.50 0.50 0.50 0.50 EEA in-house BDR Helpdesk support (both ODS and F-gases) pers on days 0.10 0.10 0.10 0.20 0.20 0.25 0.30 0.30 0.25 EEA in-house IT project management pers on days 0.20 0.20 0.20 0.20 0.20 0.20 0.25 0.25 0.25 European Topic Centre (F-gases thematic consultancy support) days 85 95 89 135 140 116 100 100 103 External IT consultancy support (F-gases webform) days n.a. n.a n.a. 86 133 58 710 121 158 External IT consultancy support for BDR development and maintenance days n.a. n.a n.a. 87 179 191 120 51 148

276 A14.4 Costs to authorities – policy options A14.4.1 At the European level Estimated administrative burden for the European Commission related to the individual measures is given in Table 63. Detail of the calculation and assumptions Table 64. Detail of the calculation and assumptions for administrative burden of the European Commission Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation Increase ambition of the EU HFC phase-down beyond the requirements under the Montreal Protocol by tightening reduction steps until 2030 and introducing additional reduction steps beyond 2030 All Options 28 0 There is a lot of compliance checking also on EC side to ensure compliance with the phase down, alongside support provided to and communications with stakeholders to support compliance. Assume 10% increase in enforcement and support efforts for EC relative to evaluation baseline (expert judgement). Additional prohibitions Introduce a placing on the market prohibition for small stationary refrigeration hermetic units for commercial and household use that contain or whose functioning relies upon fluorinated greenhouse gases from 1 January 2024 Introduce a placing on the market prohibition for fire protection equipment containing or relying on HFCs, except when required to meet national safety standards from 1 January 2024 Introduce a placing on the market prohibition for RACHP equipment which use PFCs and blends containing PFCs from 1 January 2024 Prohibit placing on the market of skin cooling equipment with F-gases used for purposes that are not required for strictly medical reasons and whose functioning relies upon F-gases All Options 9 0 For each prohibition, CLIMA incurs costs for communicating with Member States and stakeholders. There will also be additional costs for additional advice and traffic through the Help Desk. Cost data was taken from the evaluation for these items under the existing Regulation, combined with the number of existing prohibitions to calculate a cost per prohibition. It is assumed that half of the costs related to these activities from the evaluation are for prohibitions (expert judgement).
In addition, further derogations are anticipated in the future due to more complex rules. Time required per derogation is taken from the ODS IA (40 days per derogation). It is assumed there is roughly one derogation every 3 years, split across the 9 new prohibition proposals.

Additional prohibitions Introduce a placing in the market prohibition for stationary air conditioning and heat pump equipment from 1 January 2025 Remove the existing exemption for servicing Options 2 and 3 36 0

277 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation and maintenance of refrigeration equipment with a charge size below 40 tonnes of CO2 eq with virgin fluorinated gases from 1 January 2024 Introduce a placing on the market prohibition for personal care products containing fluorinated greenhouse gases from 1 January 2024 Introduce a placing on the market prohibition for new medium voltage electrical switchgear for primary and secondary distribution, differentiated by voltage level, from 1 January 2030, using SF6 as insulating or breaking medium; other fluorinated compounds with GWP > 500 can be used; unless evidence is provided that no other suitable alternative is available on technical grounds Introduce a placing on the market prohibition for new high voltage electrical switchgear, differentiated by voltage level, from 1 January 2028 or 2031, respectively , using SF6 as insulating or breaking medium; other fluorinated compounds with GWP > 1,000 can be used, unless evidence is provided that no other suitable alternative is available on technical grounds Introduce a use prohibition for some inhalation anesthetics containing other fluorinated greenhouse gases listed in Annex II with GWP > 500 from 1 January 2024 Removal of exemptions and thresholds Remove exemption from placing on the market restrictions under the phase-down for HFCs for use in metered dose inhalers
Remove limit of 100 tonnes of CO2 eq for producers or importers that place HFCs on the market Remove the limit for reporting on production, import, export and destruction of F-gases and All Options 23 0 Measures will incur minor additional costs for CLIMA. Some companies are already receiving quota, but there will be some new companies that require quota. Additional administrative costs will be incurred as more companies come under the reporting requirements. In addition, there will be additional helpdesk traffic and compliance cases. Cost estimates are based on expert judgement uplift from baseline costs calculated in the evaluation.
The main cost increases are linked to the MDI exemption as exempted sectors (MDIs, military, semiconductors) comprise > 10%

278 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation other gases listed in Annex II of the total market (with MDIs representing the vast majority of this exempted proportion). As such it is assumed that phase-down compliance costs (e.g. calculation of reference values, and enforcement of compliance with bulk quota) from the evaluation would increase by around 10% Removal of exemptions and thresholds Remove POM exemption for military equipment
Remove the exemption from placing on the market restrictions under the phase-down for HFCs for etching of semiconductor material or cleaning of chemicals vapour deposition chambers within the semiconductor manufacturing sector
Only Option 3 2.3

0 Measures will incur minor additional costs for CLIMA. Some companies are already receiving quota, but there will be some new companies that require quota. Additional administrative costs will be incurred as more companies come under the reporting requirements. In addition, there will be additional helpdesk traffic and compliance cases. The additional removal of exemptions would add very little additional admin burden, as quantities and companies are low.
Cost estimates are based on expert judgement – assume 10% of the costs of other “removals” above.

Implement an EU-wide HFC production phase- down
All Options 10 10 CLIMA would incur additional costs, but these are anticipated to be smaller than for the POM phase down. No yearly allocation would be required. Costs would be driven by compliance with the new rules, awareness raising and discussion with industry. To calculate the costs, we have assumed these are 10% of the evaluation costs of enforcing compliance with the POM phase-down. There would also be initial one-off costs of communicating the phase-down obligations to affected stakeholders (expert judgement – assume same as ongoing cost). Introduce prohibition for HFC bulk imports to/exports from the EU to any country not Party to the Montreal Protocol (Kigali Amendment)
All Options Without automisation105: 10

With automisation: 248 Without automisation210: 0

With automisation: 667 Several measures imply additional costs for CLIMA if controls are to be automised and thus require further development of Certex. There will be additional costs for development and maintenance (assume 100 days/year), plus external assistance per year (assume €100,000), plus a one-time costs to develop the expert function and adjust to the new Regulation (assume €500,000) (all values based on expert judgement). In addition, these changes will also imply additional data security costs. Quantitative estimates (15 days pa) were taken from the Better control on some special procedures
a) Goods released at particular destination custom offices b) Transactions where the minimum of 8- digit CN codes are indicated by the All Options

105 I.e. with the CERTEX/European Single Windows for Customs Environment

279 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation importer or exporter ODS IA). The costs without automising (which is not necessarily required by the Regulation) would be significantly more moderate and do not exceed much current costs (expert judgement suggests 10 days additional p.a.).

Add requirement for producers and importers to be registered and hold sufficient quota at the time of release for free circulation/placing on the market / physical entry into territory
All Options Prohibition for (offline and online) sales and possession of HFCs/F-gases that were illegally placed on the market All Options 10 0 Costs will mainly be for MS enforcement, although in practice some costs may fall on CLIMA (e.g. through OLAF or industry, consulting or providing advice to MS, potential engagement with website hosts). Assume implementation of 5-10 days per annum (expert judgement). Include minimum penalties to be enforced by EU Member States for quota exceedance, quota authorization deficits, illegal issuance of authorizations, non-compliance with reporting deadlines and verification obligations and transport, storage and use of HFCs not covered by quota All Options 40 0 Will imply additional costs to CLIMA of around 30-50 days per annum on an ongoing basis to enforce the Regulation (infringement procedures). Limit issuing quota authorizations to incumbents, i.e. based on reference-based quota All Options -1 0 Issuing authorizations to incumbents only may lead to some cost savings through reduced compliance checks (less undertakings to check), although savings will be limited (expert judgement suggests savings of around 5% of 20 days per annum). Introduction of a registration fee and/or quota allocation price linked to CO2 equivalents Options 2 & 3 2,200 2,200 This measure could increase costs significantly. Costs would be incurred for collection and distribution of funds, in addition to systems design and construction, registration and tracking, relying on a suitable IT system. Many of these costs may be outsourced, and will be fully offset by revenues collected. But these still imply a significant administrative burden. Expert judgement suggests this may be equivalent to as many as 10 full-time equivalents (i.e. 2200 person days) on an upfront as well as ongoing (annual) basis plus IT costs. This would not include additional IT staff for running the system and ensuring the enhanced data protection and security needed.
Registration and reporting obligation for exporters of products and equipment containing F-gases and other fluorinated substances Only Option 3 7.1 0 Costs will be linked to advising company on legal obligations. Existing reporting costs for CLIMA are taken from the evaluation and scaled by the number of new companies that would potentially fall under the new requirement. In this case, expert judgement suggests there may be around 1,000 – 2,000 additional companies (relative to around 2,100 existing companies that are

280 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation obliged to report). Reporting obligation for recipients of quota- exempted HFCs Options 2 & 3 0.3 0 Reporting costs for CLIMA (i.e. providing guidance) are taken from the evaluation and scaled by the number of new companies that would potentially fall under the new requirement. In this case, expert judgement suggests there may be around 65 additional companies (relative to around 2,100 existing companies that are obliged to report). Reporting obligation for undertakings performing reclamation of F-gases Options 2 & 3 0.2 0 Reporting costs for CLIMA are taken from the evaluation and scaled by the number of new companies that would potentially fall under the new requirement. In this case, expert judgement suggests there may be around 50 additional companies (relative to around 2,100 existing companies that are obliged to report). Reporting obligation for undertakings performing recycling of F-gases Only Option 3 3.6 0 Reporting costs for CLIMA are taken from the evaluation and scaled by the number of new companies that would potentially fall under the new requirement. In this case, expert judgement suggests there may be around 750 additional companies (relative to around 2,100 existing companies that are obliged to report). Reporting obligation for operators of HV switchgear and electrical equipment (< 52 kV) with regard to SF6 emissions during lifetime and for operators in cooperation with certified personnel of electrical equipment for decommissioning of such equipment Only Option 3 12 0 Reporting costs for CLIMA are taken from the evaluation and scaled by the number of new companies that would potentially fall under the new requirement. In this case, expert judgement suggests there may be around 50-100 additional companies , in addition to ~50 transmission and 2400 distribution companies
(relative to around 2,100 existing companies that are obligated to report). Align reporting and verification thresholds for placing on the market products and equipment: a) Raising threshold to 1000 tCO2e for equipment
b) Verification obligation for POM of HFCs in line with reporting

All Options

-21.1 0 Measure would result in a saving for CLIMA. Raising the threshold from 100 to 1000 tCO2e would reduce the coverage from 83% to either 48% of the 1,500 relevant companies. Analysis scales the costs from the evaluation covering assessment of registrations and declarations (assuming half of these costs are relevant for verification).
Clarify verification obligation to apply to both Art 19 report & DoCs implies no additional cost Reporting threshold for product and equipment imports is slightly lower than in the present F-gas Regulation, should lead to slightly higher cost for BDR submission of the report. Additional data collection does not take place as all affected companies are already under the verification obligation.

281 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation Add electronic verification process (separately for bulk and pre-charged products and equipment) Options 2 & 3 -25 5 Measure would result in a saving for CLIMA. Analysis scales the costs from the evaluation covering compliance checking of verification reports (assuming half of these costs are relevant for verification). Expert judgement assumes a reduction in verification costs of 25% There will also be some costs linked to conceptual development – assume 5 days (expert judgement) Align quota authorization with reporting thresholds for placing pre-charged products and equipment on the market All Options -3.5 0 Measure would result in a saving for CLIMA. Changing the threshold from 100 to 1,000 tCO2e will reduce the number of companies covered by around 360 (relative to baseline of just over 1,000 companies). Analysis applies this scaling factor to reporting costs captured in the evaluation. Obligation to provide NIL reports for quota holders All Options -5 0 Measure would result in a saving for CLIMA. Analysis scales the costs from the evaluation covering assessment of registrations and declarations (assuming half of these costs are relevant for verification). Expert judgement assumes a reduction in verification costs of 5% TOTAL COSTS for all measures (Option 3)

2338 person days Plus 238 for automation through CERTEX/Single Window 2215 person days Plus 667 for automation through CERTEX/Single Window

Estimated administrative burden for the EEA related to the individual measures is given in Table 64. Detail of calculation and assumptions for administrative burden of the EEA

282 Table 65. Detail of calculation and assumptions for administrative burden of the EEA Policy Measure Scenario Total Days (Annual) Total Days (One- off) Explanation Remove the limit for reporting on production, import, export and destruction of F-gases and other gases listed in Annex II All Options 2.2 0 EEA’s current F-gas reporting system could fairly easily be adapted at low costs if new reporting thresholds are applied and new substances are added. This may result in a small increase in cost through additional traffic for the BDR Helpdesk (Stakeholder feedback). Expert judgement suggests costs could increase by 5% from costs reported in the evaluation for in house Helpdesk support. Implement an EU-wide HFC production phase- down in addition to the POM phase-down which would be quantitatively adapted to the Montreal Protocol (same ambition level), quota allocation at entity level based on HFC production 2011-2013 plus 15 % CFC/HCFC production 2011-2013 All Options 0 21 Stakeholder feedback suggests measure would imply additional, one-off costs for making changes to the web reporting form. Costs were collated in the evaluation for development of the new form alongside the 2014 Regulation. Expert judgement assumes costs will be at most 10% relative to these costs. Registration and reporting obligation for exporters of products and equipment containing F-gases and other fluorinated substances Only Option 3 157 50 Additional reporting obligations could increase EEA’s costs more substantially E.g. for exporters of products and equipment containing F-gases, for recipients of quota- exempted HFCs, and for undertakings performing recycling and reclamation of F-gases, EEA’s system could be extended step-wise as in the past at an envisaged annual cost corresponding to the average for 2015-2019.
This captures an expected increase in a range of EEA activities, including: greater traffic to the BDR helpdesk, more IT troubleshooting, greater project management and external IT consultancy support. Total costs for EEA are scaled up from existing costs (from the Evaluation), based on the number of companies falling under the new obligations (based on expert judgement) relative to those already reporting to the EEA (around 4,750 in 2019 based on EEA data).
Exporters reporting assumes 1500 additional companies, quota exempted 65 additional, reclamation 50 additional and recycling 750 additional companies covered. In addition, there would be a one-off cost associated with the development and implementation of questionnaires to gather the data. No cost estimate was gathered from stakeholders, but expert judgement suggests costs may be around 50 days per new obligation. Reporting obligation for recipients of quota- exempted HFCs Option 2
& 3 7 50 Reporting obligation for undertakings performing reclamation of F-gases Option 2
& 3 5 50 Reporting obligation for undertakings performing recycling of F-gases Only Option 3 78 50 Reporting obligation for operators of HV switchgear and electrical equipment (< 52 kV) with regard to SF6 emissions during lifetime and for operators in cooperation with certified personnel of electrical equipment for decommissioning of such equipment Only Option 3 84

50 Align reporting and verification thresholds for placing on the market products and equipment: Align reporting and verification dates (separately for bulk and pre-charged products and equipment) Add legal basis for electronic verification process (separately for bulk and pre-charged products and equipment) All Options -4 0 Measure could result in cost saving for EEA. Reduced complexity will result in less BDR helpdesk traffic (Stakeholder feedback). No cost estimates were gathered from stakeholders. Expert judgement suggests savings will be small, around 10% reduction in traffic.

283 Policy Measure Scenario Total Days (Annual) Total Days (One- off) Explanation Align reporting and quota authorisation thresholds for placing pre-charged products and equipment on the market Obligation to provide NIL reports for quota holders Include new substances in Annex I Include new substances in Annex II and require reporting All Options 0 21 EEA’s current F-gas reporting system could fairly easily be adapted at low costs if new F- gases are added to the current F-gas Regulation (Annex I or II). This would incur a one-off cost to adapt the BDR questionnaire and the QC rules (Stakeholder feedback). No quantitative estimates were put forward by EEA. Expert judgement suggests costs could increase in a similar order of magnitude to measure b3.1. TOTAL COSTS for all measures (Option 3)

327 292

A14.4.2 At Member State level Estimated administrative burden for the Member States related to the individual measures is given in Table 65.
Table 66. Details of the calculation and assumptions for administrative burden of the Member States Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation Increase ambition of the HFC phase-down beyond the requirements under the Montreal Protocol by tightening reduction steps until 2030 and introducing additional reduction steps beyond 2030
All Options 2,134 0 Additional costs for compliance checking of companies. No insights or estimation provided by stakeholders. Expert judgement – assumes 20% increase in costs of checking non-compliance with quota authorizations and phase down (as presented in the evaluation for existing Regulation).
Additional prohibitions
Introduce a placing on the market prohibition for small stationary refrigeration hermetic units for commercial and household use that contain or whose functioning relies upon fluorinated greenhouse gases from 1 January 2024 Introduce a placing on the market prohibition for fire protection equipment containing or relying on HFCs, except when required to meet national safety standards from 1 All Options 160 0 Stakeholder feedback suggests costs of new POM prohibitions could range from ‚slight‘ to ‚very significant‘. This would depend on the prohibition. Some resources would be needed for awareness raising alongside compliance. In addition, there may be further costs for derogations.
Where prohibitions are time-staggered, as older prohibitions establish themselves, recurrent costs are likely to go down significantly as the prohibition date passes as most actors will learn to respect the new rules. Resources can be re-invested in new prohibitions.
No estimation of costs was provided by stakeholders.

284 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation January 2024 Introduce a placing on the market prohibition for RACHP equipment which use PFCs and blends containing PFCs from 1 January 2024 Prohibit placing on the market of skin cooling equipment with F-gases used for purposes that are not required for strictly medical reasons and whose functioning relies upon F- gases Analysis takes costs of enforcing prohibitions from the evaluation of the existing Regulation, plus the costs of awareness raising. Additional costs are also added for derogations, based on the evidence developed for the ODS IA (23 days per derogation assumed).
Some prohibitions will be more impactful than others. Costs are then scaled based on expert judgement, depending on how significant the application is in the market, relative to existing prohibitions.

Additional prohibitions Introduce a placing in the market prohibition for stationary air conditioning and heat pump equipment from 1 January 2025 Remove the existing exemption for servicing and maintenance of refrigeration equipment with a charge size below 40 tonnes of CO2 eq with virgin fluorinated gases from 1 January 2024 Introduce a placing on the market prohibition for personal care products containing fluorinated greenhouse gases from 1 January 2024 POM prohibition for new medium voltage electrical switchgear
 for primary distribution, differentiated by voltage level – up to 24 kV from 2026 and 24-52 kV from 2030, using F-gases with GWP > 2000 as insulating or breaking medium;
for secondary distribution, differentiated by voltage level – up to 24 kV from 2026 and 24- 52 kV from 2030, using F-gases with GWP >2000 as insulating or breaking medium. POM prohibition for new high voltage electrical switchgear
 in the range of 52-145 kV and up to 50 kA short circuit current from 2028, using F-gases with GWP >2000 as insulating or Options 2 & 3

2,475 0

285 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation breaking medium;  in the range of more than 145 kV or more than 50 kA short circuit current from 2031, using F-gases with GWP >2000 as insulating or breaking medium.

Introduce a use prohibition for some inhalation anesthetics containing other fluorinated greenhouse gases listed in Annex II with GWP > 500 from 1 January 2024 Apply requirements for prevention of emissions of fluorinated gases to substances listed in Annex II All Options 51 0 No insights or estimation provided by stakeholders. Quantification based on expert judgement. Annex II gases represent around 6% of total supply in 2019, hence scale up MS compliance costs for enforcing containment measures from evaluation by this factor. This measure only relates to Article 3 – data not available for costs of Article 3 specifically. Expert judgement anticipates that the majority of the costs for MS are related to leak checks and reporting (Articles 4-6), with Article 3 presenting only minor costs. Hence assume 10% of reported costs for containment measures from evaluation relate to Article 3. Apply requirements for prevention of emissions of F-gases to manufacturing, transport, transfer and storage of bulk gases also to non-producers
Options 2 & 3

34 0 No insights or estimation provided by stakeholders. Member States incur additional costs to check and enforce compliance with the extended requirements. Extension is being considered to equipment manufacturers & upstream companies (e.g. gas traders). These costs will be an order far below the number of equipment operators. For industry admin burden, assume additional 1,000 companies. Number of producers and equipment operators (covered by existing requirements) is unknown, estimates for operators suggest this could be around 230,000. Expert judgement, assume 0.4% additional cost for enforcing compliance with containment measures. Destruction of HFCs from metal-faced panels or reuse, from 2024 All Options No quantitative estimate No quantitative estimate For Member States, costs are expected due to the need for awareness raising, monitoring and enforcement activities (of thousands of demolition projects a year).
Destruction (or reuse) of HFCs in laminated boards in built-up structures and cavities, unless feasibility is proven by the building owner / demolition company, from 2024 Options 2 & 3

Remove POM exemption for military equipment Option 3 only 20 0 Quota system is run by DG CLIMA, but in practice MS still incur costs of compliance checking. Stakeholders suggest measure could imply

286 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation increase in costs, but did not provide estimation. MS spend around 8,000 days pa checking compliance with phase down covering ~2,000 companies – assume 4 days per company. Around 5 military undertakings currently received quota exempted supply Remove the exemption from placing on the market restrictions under the phase-down for HFCs for etching of semiconductor material or cleaning of chemicals vapour deposition chambers within the semiconductor manufacturing sector
Option 3 only 120 0 Quota system is run by DG CLIMA, but in practice MS still incur costs of compliance checking. Stakeholders suggest measure could imply increase in costs, but did not provide estimation. Analysis scales up costs from evaluation associated with non-compliance with the phase-down. MS spend around 8,000 days pa checking compliance with phase down covering ~2,000 companies – assume 4 days per company. Around 60 semiconductors currently received quota exempted supply. Given activity is concentrated in few MS< expert judgement assumes there may be efficiencies of scale, so costs would be around half if they were spread across many MS. Remove exemption from placing on the market restrictions under the phase-down for HFCs for use in metered dose inhalers All Options 100 0 Quota system is run by DG CLIMA, but in practice MS still incur costs of compliance checking. Stakeholders suggest measure could imply increase in costs, but did not provide estimation. MS spend around 8,000 days pa checking compliance with phase down covering ~2,000 companies – assume 4 days per company. Around 25 MDI undertakings currently received quota exempted supply Implement an EU-wide HFC production phase- down
All Options 30 0 No insights provided by stakeholders. Production has always been centered in few countries which have high expenses. Expert judgement suggests there may be around 5 companies across 2 MS which undertake production at present. Hence additional burden likely to be small. Estimate based on existing costs of non-compliance with POM phase-down, but scaled down by smaller number of companies that will be covered (5 vs 1,800 under POM phase down). Introduce prohibition for HFC bulk imports to/exports from the EU to any country not Party to the Montreal Protocol (Kigali Amendment)
All Options 109 0 No insights provided by stakeholders. Costs for MS will increase associated with additional import compliance checks. That said, most countries are anticipated to be signatories to Kigali by 2030. Expert judgement: assume 1% increase in costs of checking imports (as reported in the evaluation). Only from 2028 onwards. Can be done automatically with Single Window, which would reduce these costs very significantly Certification requirement for unsaturated HFCs and H(C)FCs and other F-gas free alternatives, while F-gas certification programmes also to include practical training on all alternatives and add energy efficiency issues to be part of training (stationary Options 2 & 3

1,924 0 Stakeholder feedback suggested costs would increase, with a range of opinions from ‚no change‘ to ‚significant increase (40%)‘. Scheme is extension of existing programmes. Expert judgement – take mid-point of stakeholder opinion and assume 20% increase in costs of training and certification for MS from evaluation.

287 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation RACHP) Installation/servicing/repair/maintenance of equipment that contains fluorinated greenhouse gases or whose functioning relies upon those gases for which certification or attestation is required under Article 10 only by certified personnel
Options 2 & 3

27 0 This measure will imply additional compliance checking cost for MS. No feedback or cost information provided by stakeholders. This measure implies an extension of the requirements of Article 11(4) to include other substances, in particular HCFOs. However, this extension is anticipated to be relatively minor, given many HCFOs are used in blends which are already covered by the Regulation. Pure use of HCFOs is fairly negligible. Assume 1 day per MS additional effort required.
Include specific requirements for customs regarding the treatment of products and equipment illegally placed on the market and illegal F-gas containers once confiscated All Options 2,174 0 Stakeholder feedback suggested this measure would pace additional administrative burden on customs. Costs estimates by stakeholders ranged from ‚no change‘ to ‚significant increase‘ (40%).
Costs can be kept low by requiring non-compliant company to cover destruction (standard procedure under customs law) and by auctioning – i.e. costs should be put on the illegal importer, but in practice this might not be possible.
Custom costs depend mostly on the risk profiling of the goods, and thus the controls actually carried out. In theory, illegal imports should already be dealt with in an effective way – i.e. confiscation and destruction, but in practice this does not always happen. Hence these costs in theory should already be incurred today, and hence are not truly additional to the option considered here, but are not in practice. Expert judgement – take mid-point of stakeholder opinion and assume 20% increase in costs of checking imports from evaluation.
Better control on some special procedures
a) Goods released at particular destination custom offices b) Transactions where the minimum of 8-digit CN codes are indicated by the importer or exporter All Options 109 0 Administrative costs for Member States may change at customs offices as a result of the changes. If implemented in the CERTEX/Single Window, the SW system may already provide with the procedures that enable better control. If illegal trade reduces, then this may also reduce the use of some customs procedures, resulting in a lower cost. Any additional cost would be associated with follow-up, which would be performed on the basis of risk profiles. Stakeholder comments suggests costs range from ‚no change‘ to ‚slight increase‘. On the basis of evidence provided, a slight increase in costs (1%) has been quantified, scaling up from the costs presented in the evaluation for checking imports. Costs for administrations and business could arise due to bottleneck issues in case transit would, hypothetically, also be limited to certain custom offices. General prohibition of entry into EU territory of non-refillable F-gas containers and other illegal goods under the Regulation and extend All Options 544 0 Stakeholder feedback varied around this measure. Some suggested this measure may lead to a cost reduction (due to the introduction of clearer Regulations) to a significant cost increase (due to the need for

288 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation the scope to unsaturated HFCs and unsaturated HCFCs complementary awareness raising, and greater checking as well as the extension to gases that were not covered so far).
Under the existing Regulation, the prohibition relates to placing non- refillable containers on the market. This extends the prohibition into the territory, which in theory is a small change with negligible costs. Given this is a small change, most importers are anticipated to already comply. But a small number (estimated to be approximately 5% of importers are) not currently conducting this practice and will therefore incur additional administrative cost. That said, given these actors should already comply with the Regulation, these costs are not truly additional and associated with this measure. Expert judgement – costs for checking imports will also increase by at most 5%, but generally also depend on risk profiling The second part of this measure is to extend the requirements to HCFOs. However, given the majority of HCFOs are used in blends already covered by the Regulation, these additional costs are anticipated to be negligible. Prohibition for (offline and online) sales and possession of HFCs/F-gases that were illegally placed on the market All Options 364 0 Stakeholder feedback suggested that the costs of this measure could range from a slight decrease to a significant increase (with the latter due to the complexity of the checks required, plus additional awareness raising that would be needed). That said, MS should already be monitoring the market for illegal goods to a sufficient degree already. This measure would add more legal certainty around taking enforcement action, and in that way could lead to cost savings. Only additional costs would arise only from enforcement of internet sales. Expert judgement – assume additional (net) cost of around 10 days per MS per annum, in addition to additional costs for awareness raising (10% of those reported in the evaluation associated with existing Regulation). Add obligation for documentation for downstream sales for bulk HFC/F-gases (e.g.  “declaration of conformity”) and record keeping Option 3 only No additional costs if implemented with electronic reporting systems on leakage data established by Member States (without, additional days required could be around 3,600) No additional if implemented with electronic reporting systems Stakeholder feedback suggests costs could range from no change to significant cost (20-30%). However, expert judgement suggests this measure will incur no additional costs on top of the electronic reporting system developed on leakage data.

Add obligation for importers to have quota- exempted quantities labelled as exempted during POM
All Options 109 0 Stakeholder feedback suggests costs could range from no change to ‚increase‘, but predominant qualitative responses was ‚slight increase‘. No quantitative estimation provided by stakeholders.
Quota-exemptions represent around 10% of current quota. That said, not all quota is checked, so controls would not increase by the same amount. Expert judgement assumes costs of checking imports could

289 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation increase by 1% relative to the baseline (i.e. costs reported in the evaluation) Costs depend greatly on risk profiling. Strengthen the obligation on destruction of HFC-23 by-production Options 2 & 3

109 0 No stakeholder feedback or estimation regarding this measure. Expert judgement assumes costs of could be around 1% of overall baseline customs checks (i.e. costs reported in the evaluation) Include minimum penalties to be enforced by EU Member States for quota exceedance, quota authorization deficits, illegal issuance of authorizations, non-compliance with reporting deadlines and verification obligations and transport, storage and use of HFCs not covered by quota All Options 0 246 Stakeholder feedback suggested costs could range from ‚no change‘ to ‚slight increase‘. No estimation provided. The majority of Member States should have legislation in place to facilitate the issuance of penalties under the existing Regulation. As such, it is anticipated that to strengthen penalties and/or set a minimum level would imply a minor change to the legislation. Expert judgement suggests could result in one- off costs to change legislation. Assume 1% of baseline compliance costs
Extend labelling requirement to Annex II gases Options 2 & 3

694 0 Stakeholder feedback suggested costs could range from ‚no change‘ to ‚increase‘ – predominant response was ‚slight increase‘. Annex II gases represent around 6% of total F-gas supply in 2019. Analysis applies expert judgement to scale up baseline (i.e. from evaluation) labelling costs by this factor Align reporting and verification thresholds for placing on the market products and equipment

All Options -2,250 0 No stakeholder feedback provided on this measure. In practice, MS incur costs for follow-up on quota compliance issues. Analysis has applied expert judgement to scale down baseline (i.e. from the evaluation) compliance costs for quota authorizations and Phase-down.
Raising the threshold from 100 to 1000 tCO2e would reduce the coverage from 83% to 48% of the 1,500 relevant companies.
Obligation to provide NIL reports for quota holders All Options -533 0 No stakeholder feedback provided on this measure. In practice, MS incur costs for follow-up on ‚NIL‘ reports. CLIMA passes a list to MS to follow- up. Analysis has applied expert judgement to scale down baseline (i.e.  from the evaluation) compliance costs for quota authorizations and Phase-down. Costs are scaled down by 5% (expert judgement) Encourage / require Member States to use electronic reporting systems for collection of F-gas service intervention, technicians, sale of non-hermetic equipment and emissions data Options 2 & 3

4,140 8,846 The evaluation identified that 4 MS already have electronic reporting systems in place, each collecting different coverage of metrics. A further 2 MS have data collection systems in place, but it unclear if these are electronic. Of these MS, only one MS (PL) provided quantitative cost estimates in the evaluation, both upfront and ongoing. Analysis assumes costs for MS with existing electronic systems are negligible, and applies the costs for PL to the remaining 23 MS. However, it is important to note that implementation costs in PL are generally lower than in other MS, hence using this as a basis from which to scale could produce an underestimation of costs.

290 Policy Measure Scenario Total Days (Annual) Total Days (One-off) Explanation Full cost is only assumed for Option 3, as use of these systems is not mandated under Option 2. For the latter, costs will scale depending on the number of MS who take up these systems, which is uncertain (in particular given only a small sample of MS have unilaterally taken up systems to date). As such no additional costs are assumed. TOTAL for all measures (Option 3)

12644 9092

291 A15 Detailed information on foams recovery A15.1 Feasibility of HFC foam recovery and treatment It is more costly to separate, transport and destroy the HFC contained in the foam than standard disposal via landfilling without HFC recovery. There are a number of constraints that make effective recovery and treatment difficult and/or costly. These include: • Demolition companies may have difficulties to ascertain whether there is HFCs or not in a panel, and therefore judge how it should be handled (e.g., whether it can be crushed on-site or not). Building audits are expensive and take time, but are required to ascertain level of HFCs present. • Transportation is expensive per tonne of material handled as HFC foams are considered hazardous materials.106 • Foam material with HFCs cannot be crushed on site without emitting the HFC, increasing transportation cost for relatively light materials such as laminated boards panels. • Costs of waste segregation are high for some materials, especially if contaminated with bitumen. For some laminated boards, segregation is required to avoid contamination by other substances or building materials • The recycling technology may require significant energy input. • For metal-faced panels, the capacity of nearby recycling facilities may be too limited to process all metal-faced panels • National capacity of special waste recycling plants capable of preventing HFC escape is not evenly distributed across Member States. • Lack of enforcement is a driver for demolition companies to avoid separation of CDW fractions and reduce costs. On the other hand, there are strong synergies with ODS policies, where an identical measure is considered under the review of the ODS Regulation (Regulation (EC) No 1005/2009). Foams containing both substance groups (ODS and HFCs) can be collected and destroyed together, without need for separation. For the short and medium-term, most foams collected may be expected to be ODS foams rather than HFC foams, due to the long lifetimes. Also, most of the overall emission savings would be expected from the destruction/recovery of ODS foams. However, an identical measure in the F-gas and ODS Regulations is desirable to encourage more generic recycling of foams, without the need to identify the blowing agent during the building audit or in the recycling plant. An identical measure would also prevent the perverse incentive of mislabelling.
The technical and economic feasibility also strongly depends on the type of foam (e.g.  panels, boards, spray or block), and where it is installed (see table A6.1).

106 Commission notice on technical guidance on the classification of waste (2018/C 124/01)

292 Table 67. Feasibility of building foams recovery by material Material

Current feasibility Justification Metal-faced panels

Medium-High

Refurbished recycling facilities that have so far been treating old refrigeration equipment can treat metal-faced panels. And new recycling facilities are already being built that focus on recycling foam panels, with at least two examples in the Netherlands. According to experts interviewed107, it is economically and technically feasible to recover Metal-faced panels. The Metal component accounts for approx. 50-80% by weight (depending on panel thickness) and is easy to segregate and can be treated by existing refrigerant panel recycling plants. In this study, the recovery of the metal component of panels is assumed to already be economically viable, and only the foam component is analysed with respect to additional cost. At the moment, without a mandate for separation of panels and separate disposal of the metal and foam elements, there is low natural demand for the use of refrigerator panel recycling plants for this purpose.
Laminated boards

Medium-Low

Laminated boards are more difficult and expensive to recover than metal-faced panels. However, built-up systems108 could be feasible to recover since they are easy to segregate and collect, and they can be cut into smaller pieces to transport and process without losing much ODS content.

Boards in cavity structures109 could also be feasible to recover. Costs in some Member States like Germany, the Netherlands or Austria, would be lower due to existing waste regulations in place and favourable building practices that reduce the contamination level of the materials. There is a knowledge gap on the feasibility of this beyond these countries.

Floor insulation boards are not yet economically feasible to recover since they are contaminated with concrete, removal of which requires more innovation. In a board, the foam is under concrete, hence, it is highly contaminated and costly to collect and

107 Interview with UK-based recycling facility owning several refrigerant plants refurbished for metal-faced panels, and expert knowledge from authors of SKM (2012) 108 Type of laminated boards easily demountable system primarily used for roofing insulation. 109 Type of laminated boards that are introduced in empty cavities of existing panels mainly used for wall insulation

293 segregate. Spray foam

Low

According to the experts interviewed, spray foam recovery is not feasible in the demolition phase. Spray foam is mainly used in walls and roofs. It was often used on top of existing structures for e.g. roof insulation, sprayed against surfaces, pumped into cavity holes. When the walls are demolished, foams are trapped in the wreckage and it would require time- and cost-intensive manual segregation.
Block foam

Low

For block foam, as part of concrete slabs, the recovery is not feasible in the demolition phase as no examples have been identified of successful splitting of this material from the generic demolition waste stream. For block foam part of pipe insulation, recovery opportunities may exist during pipe replacement activities. In particular, block foam used in district heating/cooling system in the pasts is recoverable.

In summary, it is appears feasible to recover about 100% of the waste stream of metal-faced panels. They are the cheapest option given their valuable metal component and because they can be cut into smaller pieces without emitting a significant amount of HFC being released. Thus they can be treated in existing facilities for domestic appliances. It is estimated that approximately 25% of built-up systems and cavity structures (the two sub-types of laminated boards) should also be feasible to recover at the current time given the evidence of suitable construction procedures. Floor insulation boards may still represent too many technical or economic challenges to be a candidate for mandatory recovery because they are trapped into the wreckage in the demolition process and, collection and segregation stage is labour intensive and costly. In floor insulation, the foam is under concrete, hence, it is highly contaminated and costly to collect and segregate. Spray foam is not efficient to recover as it is expected to lose most of its HFC already in the use phase, making the cost-benefit ratio of mandatory recovery very inefficient. The industry is pro-actively exploring further options to divert end-of-life foam from landfill. Recycling and recovery solutions have been developed and have proven their technical feasibility. Raw material prices have been steadily increasing over the past years and are likely to continue this development. The cost for landfill is also going up. This will contribute to the economic viability of recycling and recovery options.

294 A15.2 Potential emissions Table 67 gives potential emissions from the insulation foams blown with HFCs that are presumably taken out of service due to demolition and renovation activities of old buildings. Before 2045 such potential emissions are very low as most foams will contain ODS, rather than HFCs. However, there is a significant potential of avoiding emissions after 2050, with ca. 45 MtCO2e of HFC foams left in buildings. The highest quantities are banked in laminated boards (about two-thirds of the foams). Table 68. Potential emissions from insulation foams with HFCs reaching end-of-life Year Metal-faced
panels Laminated
boards Block foam/ pipe section All foams 2045 0.011 0.011 0.009 0.031 2046 0.025 0.03 0.021 0.076 2047 0.037 0.106 0.032 0.175 2048 0.067 0.215 0.058 0.340 2049 0.094 0.341 0.081 0.516 2050 0.125 0.521 0.107 0.753 Total 0.359 1.224 0.308 1.891

A15.3 Economic Impacts
Economic impacts have been assessed for ODS-containing foams in a previous study110, but very similar costs may be expected for HFC-foams. Costs are assessed only for metal-faced panels, built-up system, and cavity structure laminated boards, as these are part of the policy option assessed. New evidence on the cost of recovery is based on data from two case studies and an expert interview from stakeholders engaging with waste streams in Netherlands, Germany, Austria and the United Kingdom. The abatement costs in Table 68 are based on indicative prices (€/CO2) from the two case studies. The total cost of around 6.4 million are distributed over a high number of building owners and/or real estate developers. As said above, there are important synergies with a similar considered measure for ozone-depleting substances, whose environmental impact is significantly larger as the ones proposed here for HFCs. Policy Measure
Scenario Costs
Explanation Destruction of HFCs in metal- faced panels or reuse from 2024
All Options
EUR 5.37 per The cost estimation is based upon the economic assumptions used for the analysis of the ODS

110 Ricardo et al. (2021). Support study for the impact assessment of the Regulation on ozone-depleting substances.

295 panel Regulation. The compliance costs calculated in the ODS have been amended to take into account only HFCs.
Destruction (or reuse) of HFCs in laminated boards in built-up structures and cavities, unless infeasibility is proven by the building owner/demolition company Options 2 and 3 EUR 35 per board

Table 69. Overview of the total costs of foam recovery/destruction as envisaged by the policy options111

Policy Option
target Estimate of abatement GHG
(kt CO2e) Total cost
(2045 – 2050) Abatement cost Unaddressed potential Estimate of untargeted emissions (2020 - 2050) EUR EUR/t CO2e

GHG (kt CO2e) Metal-faced panels 100% All options 359 €1.8 MIO 5.1
0% 0 Laminated boards in built-up systems or cavity structures 25% of total boards options 2 & 3 306
€4.6 MIO 15.0
75% 918 Spray & Block foam 0% 0

100% 308 Total

665 €6.4 MIO 9.6

1,226

Based on evidence from the stakeholder consultation, for those countries with an available waste treatment stream, technical progress achieved over the last decade resulted in a significant likely decrease in recovery costs. The final cost of the option will however be Member State specific, as not only waste treatment practices, but also building practices differ across the EU Member States. Therefore, these costs may be higher in other Member States than suggested for the Netherlands or Germany (where existing waste separation policy means that less additional cost is borne by the recycling plant or incinerator to obtain foam material, as it is already separated out and classified as a hazardous mono-fraction). As

111 It is assumed that 10% content of blowing agent out of the total foam weight (German Federal Environmental Agency, 2012) excluding the metal cladding.

296 a way of estimating the absolute worst case scenario and since data for ODS/HFC foams was very difficult to obtain form other countries than the ones mentioned, data on asbestos recovery and destruction from building wastes were collected. Given the health implications of asbestos, there are expensive measures on worker safety to be taken which would not be the case for ODS/HFC foams, and thus these number would indicate how much the recovery and destruction of ODS/HFC will most certainly not cost. A15.4 Social Impacts Research and development According to interviewed experts the recovery of foam banks can be expected to spur innovation since it will create an incentive to reduce costs of reclamation via research and development into demolition and recycling technologies. Based also on the experience related to the mandatory recovery from domestic refrigeration appliances, such a policy is likely to result in better and cheaper ways to ensure recovery. Moreover, given that transport costs are high, research and development is likely to be carried out by domestic companies, creating added value within the European Union. Consumer prices The implementation could potentially increase consumer prices, i.e. for consumers renovating or constructing a building. If new construction in a building site must be preceded by incurring in the recovery of ODS/HFC from the decommissioned building, real estate prices could increase slightly as a result. However, there is evidence in the literature suggesting that construction prices have a low influence on the evolution of real estate prices (Martins et al., 2020). New buildings are more expensive on average, and hence mostly bought by households with high purchasing power or by companies as office space. Thus vulnerable consumers are less likely to be affected by price increases. Moreover, richer households pay high premiums (e.g. for “good neighbourhood”) hence the potential increase in consumer prices due to additional costs of recycling, even if realised, would be very marginal compared to the final housing price. The higher demolition costs are expected to be borne by the building owners, as demolition companies would pass these on. However, it is unlikely for consumer prices to increase in a perceptible way due to additional construction costs resulting from the implementation of this policy.
Employment The policy option may increase employment due to the labour-intensive and complex nature of the demolition and reclamation processes. Currently demolition, segregation and insulation foam recovery processes are largely mechanised and are not labour-intensive activities,

297 although there are differences among Member States. According to the literature112 it is unlikely that recycling will add labour time (or cost). In fact, in many cases recycling would save time spent on waste management.

112 Kameswari (2015). Construction and Demolition Waste Management - A Review. International Journal of Advanced Science and Technology, Vol 84.